SEZNAM HARMONIZIRANIH STANDARDOV ZA DVIGALA. Oznaka direktive:; 2014/33/EU. Naslov direktive:; Directive 2014/33/EU of the European Parliament and of the Council of 26 February 2014 on the harmonisation of the laws of the Member States relating to lifts and safety components for lifts (recast). Slo. naslov direktive:; Direktiva 2014/33/EU Evropskega parlamenta in Sveta z dne 26. februarja 2014 o harmonizaciji zakonodaje držav članic v zvezi z dvigali in varnostnimi komponentami za dvigala (prenovitev). Datum izdaje:. Začetek uporabe:. Uradni list EU:; L 27; Datum objave:; 27-Jan-2021. Oznaka standarda; Naslov standarda; Naslov referenčnega standarda v angleškem jeziku; Referenčni standard; Oznaka nadomeščenega standarda; Prva objava referenčnega standarda v UL EU; Datum, po katerem uporaba nadomeščenega standarda ne ustvarja več domneve o skladnosti Opomba 1; Opombe. SIST EN 81-20:2014; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Dvigala za prevoz oseb in blaga - 20. del: Osebna in tovorno-osebna dvigala; Safety rules for the construction and installation of lifts - Lifts for the transport of persons and goods - Part 20: Passenger and goods passenger lifts; EN 81-20:2014; -; 27-Jan-2021; 27-Jul-2022; -. SIST EN 81-20:2020; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Dvigala za prevoz oseb in blaga - 20. del: Osebna in tovorno-osebna dvigala; Safety rules for the construction and installation of lifts - Lifts for the transport of persons and goods - Part 20: Passenger and goods passenger lifts; EN 81-20:2020; -; 27-Jan-2021; -. SIST EN 81-21:2009+A1:2012; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Dvigala za prevoz oseb in blaga - 21. del: Nova osebna in tovorno-osebna dvigala v obstoječih stavbah (vključno z dopolnilom A1); Safety rules for the construction and installation of lifts - Lifts for the transport of persons and goods - Part 21: New passenger and goods passenger lifts in existing buildings; EN 81-21:2009+A1:2012; -; -. SIST EN 81-22:2014; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Dvigala za prevoz oseb in blaga - 22. del: Električna poševna dvigala; Safety rules for the construction and installation of lifts - Lifts for the transport of persons and goods - Part 22: Electric lifts with inclined path; EN 81-22:2014; -; -. SIST EN 81-28:2004; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Dvigala za prevoz oseb in blaga - 28. del: Alarmi v osebnih in osebno-tovornih dvigalih; Safety rules for the construction and installation of lifts - Lifts for the transport of persons and goods - Part 28: Remote alarm on passenger and goods passenger lifts; EN 81-28:2003; -; -. SIST EN 81-50:2014; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Pregledi in preskusi - 50. del: Pravila konstruiranja, izračuni, pregledi in preskusi sestavnih delov dvigal; Safety rules for the construction and installation of lifts - Examinations and tests - Part 50: Design rules, calculations, examinations and tests of lift components; EN 81-50:2014; -; 27-Jan-2021; 27-Jul-2022; -. SIST EN 81-50:2020; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Pregledi in preskusi - 50. del: Pravila konstruiranja, izračuni, pregledi in preskusi sestavnih delov dvigal; Safety rules for the construction and installation of lifts - Examinations and tests - Part 50: Design rules, calculations, examinations and tests of lift components; EN 81-50:2020; -; 27-Jan-2021; -. SIST EN 81-58:2004; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Pregled in preskusi - 58. del: Preskus odpornosti vrat proti požaru; Safety rules for the construction and installation of lifts - Examination and tests - Part 58: Landing doors fire resistance test; EN 81-58:2003; -; -. SIST EN 81-70:2004; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Posebne izvedbe osebnih in osebno-tovornih dvigal - 70. del: Dostopnost dvigal za osebe, vključno z invalidi; Safety rules for the construction and installations of lifts - Particular applications for passenger and good passengers lifts - Part 70: Accessibility to lifts for persons including persons with disability; EN 81-70:2003; -; -. SIST EN 81-70:2004/A1:2005; Dopolnilo A1:2005 k standardu SIST EN 81-70:2004; Amendment A1:2004 to EN 81-70:2003; EN 81-70:2003/A1:2004; -; Opomba 3. SIST EN 81-71:2005+A1:2007; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) – Posebne izvedbe osebnih in osebno-tovornih dvigal – 71. del: Dvigala, odporna proti vandalizmu; Safety rules for the construction and installation of lifts - Particular applications to passenger lifts and goods passenger lifts - Part 71: Vandal resistant lifts; EN 81-71:2005+A1:2006; EN 81-71:2005; -. SIST EN 81-72:2015; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Posebne aplikacije za osebna in osebno-tovorna dvigala - 72. del: Dvigala za gasilce; Safety rules for the construction and installation of lifts - Particular applications for passenger and goods passenger lifts - Part 72: Firefighters lifts; EN 81-72:2015; -; 31-Avg-2017; Opomba 2.1. SIST EN 81-73:2016; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Posebne izvedbe osebnih in osebno-tovornih dvigal - 73. del: Obnašanje dvigal v primeru požara; Safety rules for the construction and installation of lifts - Particular applications for passenger and goods passenger lifts - Part 73: Behaviour of lifts in the event of fire; EN 81-73:2016; -; 31-Avg-2018; Opomba 2.1. SIST EN 81-77:2014; Varnostna pravila za konstruiranje in vgradnjo dvigal (liftov) - Posebne izvedbe osebnih in tovorno-osebnih dvigal - 77. del: Dvigala (lifti) za potresne razmere; Safety rules for the construction and installations of lifts - Particular applications for passenger and good passengers lifts - Part 77: Lifts subject to seismic conditions; EN 81-77:2013; -; -. SIST EN 12016:2013; Elektromagnetna združljivost - Standard skupine izdelkov za dvigala (lifte), tekoče stopnice in tekoče steze - Odpornost proti motnjam; Electromagnetic compatibility - Product family standard for lifts, escalators and moving walks - Immunity; EN 12016:2013; -; 20-Apr-2016; -. SIST EN 12385-3:2004+A1:2008; Jeklene žične vrvi - Varnost - 3. del: Podatki za uporabo in vzdrževanje; Steel wire ropes - Safety - Part 3: Information for use and maintenance; EN 12385-3:2004+A1:2008; EN 12385-3:2004; 20-Apr-2016; -. SIST EN 12385-5:2003; Jeklene žične vrvi - Varnost - 5. del: Pramenaste vrvi za dvigala (lifte); Steel wire ropes - Safety - Part 5: Stranded ropes for lifts; EN 12385-5:2002; -; -. SIST EN 12385-5:2003/AC:2006; Popravek AC:2006 k standardu SIST EN 12385-5:2003; Corrigendum AC:2005 to EN 12385-5:2002; EN 12385-5:2002/AC:2005; -; -. SIST EN 13015:2002+A1:2008; Vzdrževanje dvigal (liftov) in tekočih stopnic - Pravila za vzdrževalna navodila; Maintenance for lifts and escalators - Rules for maintenance instructions; EN 13015:2001+A1:2008; EN 13015:2001; 20-Apr-2016; -. SIST EN 13411-7:2006+A1:2008; Zaključki jeklenih žičnih vrvi - Varnost - 7. del: Simetrični zagozdni spoji; Terminations for steel wire ropes - Safety - Part 7: Symmetric wedge socket; EN 13411-7:2006+A1:2008; EN 13411-7:2006; 20-Apr-2016; -. SIST EN ISO 19011:2018; Smernice za presojanje sistemov vodenja (ISO 19011:2018); Guidelines for auditing management systems (ISO 19011:2018); EN ISO 19011:2018; -; 16-Okt-2019; -.

Opomba 1:; Običajno bo datum, ko preneha veljati domneva o skladnosti, datum preklica („dow“), ki ga določi Evropska organizacija za standardizacijo, vendar je treba opozoriti uporabnike teh standardov na dejstvo, da je v nekaterih izjemnih primerih to lahko drugače.. Opomba 2.1:; Področje uporabe novega (ali dopolnjenega) standarda ostaja nespremenjeno (enako kot pri nadomeščenem standardu). Domneva o skladnosti z bistvenimi zahtevami direktive, ki jo navaja nadomeščeni standard, preneha veljati z navedenim datumom.. Opomba 2.2:; Področje uporabe novega standarda je obširnejše kot področje uporabe nadomeščenega standarda. Domneva o skladnosti z bistvenimi zahtevami direktive, ki jo navaja nadomeščeni standard, preneha veljati z navedenim datumom.. Opomba 2.3:; Področje uporabe novega standarda je manj obsežno kot področje uporabe nadomeščenega standarda. Z navedenim datumom preneha v (delno) nadomeščenem standardu veljati domneva o skladnosti z bistvenimi zahtevami direktive za tiste proizvode, ki spadajo v področje uporabe novega standarda. Domneva o skladnosti z bistvenimi zahtevami direktive ostane veljavna za proizvode, ki ne spadajo v področje uporabe novega standarda, spadajo pa v področje uporabe (delno) nadomeščenega standarda.. Opomba 3:; V primeru dopolnil je referenčni standard EN CCCCC:YYYY, njegova prejšnja dopolnila, če le-ta obstajajo, in novo, navedeno dopolnilo. Nadomeščeni standard (stolpec 3) torej vsebuje le EN CCCCC:YYYY in njegova predhodna dopolnila, če le-ta obstajajo, brez novega navedenega dopolnila. Z navedenim datumom preneha veljati domneva o skladnosti z bistvenimi zahtevami direktive, podana v nadomeščenem standardu..