| ESO (1) | Reference and title of the standard (and reference document) | Reference of superseded standard | Date of cessation of presumption of conformity of superseded standard Note 1 |
| --- | --- | --- | --- |
| CEN | EN 26:1997 Gas-fired instantaneous water heaters for sanitary uses production, fitted with atmospheric burners (Including Corrigendum 1998) |  |  |
|  | EN 26:1997/AC:1998 |  |  |
|  | EN 26:1997/A1:2000 | Note 3 | 18/07/2001 |
|  | EN 26:1997/A3:2006 | Note 3 | 30/06/2007 |
|  | EN 26:1997/A2:2004 | Note 3 | 18/11/2009 |
| CEN | EN 30-1-1:2008+A1:2010 Domestic cooking appliances burning gas - Part 1-1: Safety - General | EN 30-1-1:2008 Note 2.1 | 31/01/2011 |
| CEN | EN 30-1-2:1999 Domestic cooking appliances burning gas - Part 1-2: Safety - Appliances having forced-convection ovens and/or grills |  |  |
| CEN | EN 30-1-3:2003+A1:2006 Domestic cooking appliances burning gas - Part 1-3: Safety - Appliances having a glass ceramic hotplate | EN 30-1-3:2003 Note 2.1 | 30/06/2007 |
| CEN | EN 30-1-4:2002 Domestic cooking appliances burning gas - Part 1-4: Safety - Appliances having one or more burners with an automatic burner control system |  |  |
|  | EN 30-1-4:2002/A1:2006 | Note 3 | 30/06/2007 |
| CEN | EN 30-2-1:1998 Domestic cooking appliances burning gas - Part 2-1: Rational use of energy - General |  |  |
|  | EN 30-2-1:1998/A1:2003 | Note 3 | 10/12/2004 |
|  | EN 30-2-1:1998/A2:2005 | Note 3 | 11/11/2005 |
|  | EN 30-2-1:1998/A1:2003/AC:2004 |  |  |
| CEN | EN 30-2-2:1999 Domestic cooking appliances burning gas - Part 2-2: Rational use of energy - Appliances having forced-convection ovens and/or grills |  |  |
| CEN | EN 88-1:2007 Pressure regulators and associated safety devices for gas appliances - Part 1: Pressure regulators for inlet pressures up to and including 500 mbar | EN 88:1991 Note 2.1 | 31/05/2008 |
| CEN | EN 88-2:2007 Pressure regulators and associated safety devices for gas appliances - Part 2: Pressure regulators for inlet pressures above 500 mbar up to and including 5 bar |  |  |
| CEN | EN 89:1999 Gas-fired storage water heaters for the production of domestic hot water |  |  |
|  | EN 89:1999/A4:2006 | Note 3 | 30/06/2007 |
|  | EN 89:1999/A3:2006 | Note 3 | 30/06/2007 |
|  | EN 89:1999/A2:2000 | Note 3 | 18/07/2001 |
|  | EN 89:1999/A1:1999 | Note 3 | 17/10/2000 |
| CEN | EN 125:2010 Flame supervision devices for gas burning appliances - Thermoelectric flame supervision devices | EN 125:1991 Note 2.1 | 22/12/2010 |
| CEN | EN 126:2004 Multifunctional controls for gas burning appliances | EN 126:1995 Note 2.1 | 10/12/2004 |
| CEN | EN 161:2007 Automatic shut-off valves for gas burners and gas appliances | EN 161:2001 Note 2.1 | 31/07/2007 |
| CEN | EN 203-1:2005+A1:2008 Gas heated catering equipment - Part 1: General safety rules | EN 203-1:2005 Note 2.1 | 18/11/2009 |
| CEN | EN 203-2-1:2005 Gas heated catering equipment - Part 2-1: Specific requirements - Open burners and wok burners | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-2:2006 Gas heated catering equipment - Part 2-2: Specific requirements - Ovens | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-3:2005 Gas heated catering equipment - Part 2-3: Specific requirements - Boiling pans | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-4:2005 Gas heated catering equipment - Part 2-4: Specific requirements - Fryers | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-6:2005 Gas heated catering equipment - Part 2-6: Specific requirements - Hot water heaters for beverage | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-7:2007 Gas heated catering equipment - Part 2-7: Specific requirements - Salamanders and rotisseries | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-8:2005 Gas heated catering equipment - Part 2-8: Specific requirements - Brat pans and paëlla cookers | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-9:2005 Gas heated catering equipment - Part 2-9: Specific requirements - Solid tops, warming plates and griddles | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-10:2007 Gas heated catering equipment - Part 2-10: Specific requirements - Chargrills | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-2-11:2006 Gas heated catering equipment - Part 2-11: Specific requirements - Pasta cookers | EN 203-2:1995 Note 2.1 | 31/12/2008 |
| CEN | EN 203-3:2009 Gas heated catering equipment - Part 3: Materials and parts in contact with food and other sanitary aspects |  |  |
| CEN | EN 257:2010 Mechanical thermostats for gas-burning appliances | EN 257:1992 Note 2.1 | 31/12/2010 |
| CEN | EN 297:1994 Gas-fired central heating boilers - Type B11 and B11BS boilers fitted with atmospheric burners of nominal heat input not exceeding 70 kW |  |  |
|  | EN 297:1994/A3:1996 | Note 3 | 24/02/1998 |
|  | EN 297:1994/A6:2003 | Note 3 | 23/12/2003 |
|  | EN 297:1994/A5:1998 | Note 3 | 31/12/1998 |
|  | EN 297:1994/A4:2004 | Note 3 | 11/06/2005 |
|  | EN 297:1994/A2:1996 | Note 3 | 29/10/2002 |
|  | EN 297:1994/A2:1996/AC:2006 |  |  |
| CEN | EN 298:2003 Automatic gas burner control systems for gas burners and gas burning appliances with or without fans | EN 298:1993 Note 2.1 | 30/09/2006 |
| CEN | EN 303-3:1998 Heating boilers - Part 3: Gas-fired central heating boilers - Assembly comprising a boiler body and a forced draught burner |  |  |
|  | EN 303-3:1998/AC:2006 |  |  |
|  | EN 303-3:1998/A2:2004 | Note 3 | 11/06/2005 |
| CEN | EN 303-7:2006 Heating boilers - Part 7: Gas-fired central heating boilers equipped with a forced draught burner of nominal heat output not exceeding 1 000 kW |  |  |
| CEN | EN 377:1993 Lubricants for applications in appliances and associated controls using combustible gases except those designed for use in industrial processes |  |  |
|  | EN 377:1993/A1:1996 | Note 3 | 11/06/2005 |
| CEN | EN 416-1:2009 Single burner gas-fired overhead radiant tube heaters for non-domestic use - Part 1: Safety | EN 416-1:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 416-2:2006 Single burner gas-fired overhead radiant tube heaters for non-domestic use - Part 2: Rational use of energy |  |  |
| CEN | EN 419-1:2009 Non-domestic gas-fired overhead luminous radiant heaters - Part 1: Safety | EN 419-1:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 419-2:2006 Non-domestic gas-fired overhead luminous radiant heaters - Part 2: Rational use of energy |  |  |
| CEN | EN 437:2003+A1:2009 Test gases - Test pressures - Appliance categories | EN 437:2003 Note 2.1 | 18/11/2009 |
| CEN | EN 449:2002+A1:2007 Specification for dedicated liquefied petroleum gas appliances - Domestic flueless space heaters (including diffusive catalytic combustion heaters) | EN 449:2002 Note 2.1 | 23/12/2008 |
| CEN | EN 461:1999 Specification for dedicated liquefied petroleum gas appliances - Flueless non-domestic space heaters not exceeding 10 kW |  |  |
|  | EN 461:1999/A1:2004 | Note 3 | 10/12/2004 |
| CEN | EN 483:1999 Gas-fired central heating boilers - Type C boilers of nominal heat input not exceeding 70 kW |  |  |
|  | EN 483:1999/A2:2001/AC:2006 |  |  |
|  | EN 483:1999/A2:2001 | Note 3 | 31/01/2002 |
| CEN | EN 484:1997 Specification for dedicated liquefied petroleum gas appliances - Independent hotplates, including those incorporating a grill for outdoor use |  |  |
| CEN | EN 497:1997 Specification for dedicated liquefied petroleum gas appliances - Multi purpose boiling burners for outdoor use |  |  |
| CEN | EN 498:1997 Specification for dedicated liquefied petroleum gas appliances - Barbecues for outdoor use |  |  |
|  | EN 498:1997/AC:2000 |  |  |
| CEN | EN 509:1999 Decorative fuel-effect gas appliances |  |  |
|  | EN 509:1999/A1:2003 | Note 3 | 31/12/2003 |
|  | EN 509:1999/A2:2004 | Note 3 | 30/06/2005 |
| CEN | EN 521:2006 Specifications for dedicated liquefied petroleum gas appliances - Portable vapour pressure liquefied petroleum gas appliances | EN 521:1998 Note 2.1 | 31/08/2006 |
| Warning (1): This publication does not cover portable flat gas stoves (2). (1) In accordance with Commission Implementing Decision (EU) 2015/2414 of 17 December 2015 on the publication with a restriction in the Official Journal of the European Union of the reference of harmonised standard EN 521:2006 "Specifications for dedicated liquefied petroleum gas appliances – Portable vapour pressure liquefied petroleum gas appliances" in accordance with Directive 2009/142/EC of the European Parliament and of the Council (OJ L 333, 19.12.2015, p. 120). (2) Flat gas stoves consist of a burner assembly fitted on a horizontal body containing an integrated compartment for a gas cartridge beside the burner. |  |  |  |
| CEN | EN 525:2009 Non-domestic direct gas-fired forced convection air heaters for space heating not exceeding a net heat input of 300 kW | EN 525:1997 Note 2.1 | 30/11/2009 |
| CEN | EN 549:1994 Rubber materials for seals and diaphragms for gas appliances and gas equipment | EN 279:1991 EN 291:1992 Note 2.1 | 31/12/1995 |
| CEN | EN 613:2000 Independent gas-fired convection heaters |  |  |
|  | EN 613:2000/A1:2003 | Note 3 | 23/12/2003 |
| CEN | EN 621:2009 Non-domestic gas-fired forced convection air heaters for space heating not exceeding a net heat input of 300 kW, without a fan to assist transportation of combustion air and/or combustion products | EN 621:1998 Note 2.1 | 31/05/2010 |
| CEN | EN 624:2000 Specification for dedicated LPG appliances - Room sealed LPG space heating equipment for installation in vehicles and boats |  |  |
|  | EN 624:2000/A2:2007 | Note 3 | 05/06/2009 |
| CEN | EN 625:1995 Gas-fired central heating boilers - Specific requirements for the domestic hot water operation of combination boilers of nominal heat input not exceeding 70 kW |  |  |
| CEN | EN 656:1999 Gas-fired central heating boilers - Type B boilers of nominal heat input exceeding 70 kW but not exceeding 300 kW |  |  |
|  | EN 656:1999/A1:2006 | Note 3 | 18/11/2009 |
| CEN | EN 676:2003+A2:2008 Automatic forced draught burners for gaseous fuels | EN 676:2003 Note 2.1 | 30/06/2010 |
|  | EN 676:2003+A2:2008/AC:2008 |  |  |
| CEN | EN 677:1998 Gas-fired central heating boilers - Specific requirements for condensing boilers with a nominal heat input not exceeding 70 kW |  |  |
| CEN | EN 732:1998 Specifications for dedicated liquefied petroleum gas appliances - Absorption refrigerators |  |  |
| CEN | EN 751-1:1996 Sealing materials for metallic threaded joints in contact with 1st, 2nd and 3rd family gases and hot water - Part 1: Anaerobic jointing compounds |  |  |
| CEN | EN 751-2:1996 Sealing materials for metallic threaded joints in contact with 1st, 2nd and 3rd family gases and hot water - Part 2: Non-hardening jointing compounds |  |  |
| CEN | EN 751-3:1996 Sealing materials for metallic threaded joints in contact with 1st, 2nd and 3rd family gases and hot water - Part 3: Unsintered PTFE tapes |  |  |
|  | EN 751-3:1996/AC:1997 |  |  |
| CEN | EN 777-1:2009 Multi-burner gas-fired overhead radiant tube heater systems for non-domestic use - Part 1: System D - Safety | EN 777-1:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 777-2:2009 Multi-burner gas-fired overhead radiant tube heater systems for non-domestic use - Part 2: System E - Safety | EN 777-2:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 777-3:2009 Multi-burner gas-fired overhead radiant tube heater systems for non domestic use - Part 3: System F - Safety | EN 777-3:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 777-4:2009 Multi-burner gas-fired overhead radiant tube heater systems for non-domestic use - Part 4: System H - Safety | EN 777-4:1999 Note 2.1 | 18/11/2009 |
| CEN | EN 778:2009 Domestic gas-fired forced convection air heaters for space heating not exceeding a net heat input of 70 kW, without a fan to assist transportation of combustion air and/or combustion products | EN 778:1998 Note 2.1 | 06/05/2010 |
| CEN | EN 1020:2009 Non-domestic forced convection gas-fired air heaters for space heating not exceeding a net heat input of 300 kW incorporating a fan to assist transportation of combustion air or combustion products | EN 1020:1997 Note 2.1 | 31/05/2010 |
| CEN | EN 1106:2010 Manually operated taps for gas burning appliances | EN 1106:2001 Note 2.1 | 22/12/2010 |
| CEN | EN 1196:1998 Domestic and non-domestic gas-fired air heaters - Supplementary requirements for condensing air heaters |  |  |
| CEN | EN 1266:2002 Independent gas-fired convection heaters incorporating a fan to assist transportation of combustion air and/or flue gases |  |  |
|  | EN 1266:2002/A1:2005 | Note 3 | 28/02/2006 |
| CEN | EN 1319:2009 Domestic gas-fired forced convection air heaters for space heating, with fan-assisted burners not exceeding a net heat input of 70 kW | EN 1319:1998 Note 2.1 | 30/06/2010 |
| CEN | EN 1458-1:1999 Domestic direct gas-fired tumble dryers of types B22D and B23D, of nominal heat input not exceeding 6 kW - Part 1: Safety |  |  |
| CEN | EN 1458-2:1999 Domestic direct gas-fired tumble dryers of types B22D and B23D, of nominal heat input not exceeding 6kW - Part 2: Rational use of energy |  |  |
| CEN | EN 1596:1998 Specification for dedicated liquefied petroleum gas appliances - Mobile and portable non-domestic forced convection direct fired air heaters |  |  |
|  | EN 1596:1998/A1:2004 | Note 3 | 10/12/2004 |
| CEN | EN 1643:2000 Valve proving systems for automatic shut-off valves for gas burners and gas appliances |  |  |
| CEN | EN 1854:2010 Pressure sensing devices for gas burners and gas burning appliances | EN 1854:2006 Note 2.1 | 31/05/2012 |
| CEN | EN 12067-1:1998 Gas/air ratio controls for gas burners and gas burning appliances - Part 1: Pneumatic types |  |  |
|  | EN 12067-1:1998/A1:2003 | Note 3 | 23/12/2003 |
| CEN | EN 12067-2:2004 Gas/air ratio controls for gas burners and gas burning appliances - Part 2: Electronic types |  |  |
| CEN | EN 12078:1998 Zero governors for gas burners and gas burning appliances |  |  |
| CEN | EN 12244-1:1998 Direct gas-fired washing machines, of nominal heat input not exceeding 20 kW - Part 1: Safety |  |  |
| CEN | EN 12244-2:1998 Direct gas-fired washing machines of nominal heat input not exceeding 20 kW - Part 2: Rational use of energy |  |  |
| CEN | EN 12309-1:1999 Gas-fired absorption and adsorption air-conditioning and/or heat pump appliances with a net heat input not exceeding 70 kW - Part 1: Safety |  |  |
| CEN | EN 12309-2:2000 Gas-fired absorption and adsorption air-conditioning and/or heat pump appliances with a net heat input not exceeding 70 kW - Part 2: Rational use of energy |  |  |
| CEN | EN 12669:2000 Direct gas-fired hot air blowers for use in greenhouses and supplementary non-domestic space heating |  |  |
| CEN | EN 12752-1:1999 Gas-fired type B tumble dryers of nominal heat input not exceeding 20 kW - Part 1: Safety |  |  |
| CEN | EN 12752-2:1999 Gas-fired type B tumble dryers of nominal heat input not exceeding 20 kW - Part 2: Rational use of energy |  |  |
| CEN | EN 12864:2001 Low-pressure, non adjustable regulators having a maximum outlet pressure of less than or equal to 200 mbar, with a capacity of less than or equal to 4 kg/h, and their associated safety devices for butane, propane or their mixtures |  |  |
|  | EN 12864:2001/A1:2003 | Note 3 | 10/12/2004 |
|  | EN 12864:2001/A2:2005 | Note 3 | 28/02/2006 |
|  | EN 12864:2001/A3:2009 | Note 3 | 28/02/2010 |
| CEN | EN 13278:2003 Open fronted gas-fired independent space heaters |  |  |
| CEN | EN 13611:2007 Safety and control devices for gas burners and gas burning appliances - General requirements | EN 13611:2000 Note 2.1 | 31/05/2008 |
| CEN | EN 13785:2005+A1:2008 Regulators with a capacity of up to and including 100 kg/h, having a maximum nominal outlet pressure of up to and including 4 bar, other than those covered by EN 12864 and their associated safety devices for butane, propane or their mixtures | EN 13785:2005 Note 2.1 | 05/06/2009 |
| CEN | EN 13786:2004+A1:2008 Automatic change-over valves having a maximum outlet pressure of up to and including 4 bar with a capacity of up to and including 100 kg/h, and their associated safety devices for butane, propane or their mixtures | EN 13786:2004 Note 2.1 | 05/06/2009 |
| CEN | EN 13836:2006 Gas fired central heating boilers - Type B boilers of nominal heat input exceeding 300 kW, but not exceeding 1 000 kW |  |  |
| CEN | EN 14438:2006 Gas-fired insets for heating more than one room |  |  |
| CEN | EN 14543:2005+A1:2007 Specification for dedicated liquefied petroleum gas appliances - Parasol patio heaters - Flueless radiant heaters for outdoor or amply ventilated area use | EN 14543:2005 Note 2.1 | 24/05/2008 |
| CEN | EN 14829:2007 Independent gas-fired flueless space heaters for nominal heat input not exceeding 6 kW |  |  |
| CEN | EN 15033:2006 Room sealed storage water heaters for the production of sanitary hot water using LPG for vehicles and boats |  |  |
|  | EN 15033:2006/AC:2008 |  |  |

(1) ESO: European standardisation organisation:

CEN: Avenue Marnix 17, B-1000, Brussels, Tel.+32 2 5500811; fax +32 2 5500819 (http://www.cen.eu)

CENELEC: Avenue Marnix 17, B-1000, Brussels, Tel.+32 2 5196871; fax +32 2 5196919 (http://www.cenelec.eu)

ETSI: 650, route des Lucioles, F-06921 Sophia Antipolis, Tel.+33 492 944200; fax +33 493 654716, (http://www.etsi.eu)

Note 1: Generally the date of cessation of presumption of conformity will be the date of withdrawal (“dow”), set by the European Standardisation Organisation, but attention of users of these standards is drawn to the fact that in certain exceptional cases this can be otherwise.

Note 2.1: The new (or amended) standard has the same scope as the superseded standard. On the date stated, the superseded standard ceases to give presumption of conformity with the essential requirements of the directive.

Note 2.2: The new standard has a broader scope than the superseded standard. On the date stated the superseded standard ceases to give presumption of conformity with the essential requirements of the directive.

Note 2.3: The new standard has a narrower scope than the superseded standard. On the date stated the (partially) superseded standard ceases to give presumption of conformity with the essential requirements of the directive for those products that fall within the scope of the new standard. Presumption of conformity with the essential requirements of the directive for products that still fall within the scope of the (partially) superseded standard, but that do not fall within the scope of the new standard, is unaffected.

Note 3: In case of amendments, the referenced standard is EN CCCCC:YYYY, its previous amendments, if any, and the new, quoted amendment. The superseded standard (column 3) therefore consists of EN CCCCC:YYYY and its previous amendments, if any, but without the new quoted amendment. On the date stated, the superseded standard ceases to give presumption of conformity with the essential requirements of the directive.