# Kontrolna lista za merilnike hitrosti – priprava na odobritev tipa

Checklist for speedometers preparation for type approval

| Številka: Number |  |
| --- | --- |
| Datum: Date |  |

| Uradna oznaka: Official sign |  |
| --- | --- |
| Tip: Type |  |
| Proizvajalec: Manufacturer |  |

| Pripravil: Prepared by |  |
| --- | --- |

Kazalo/Index

Namen/Purpose	5

Kako izpolniti/How to fill checklist	6

Opis sistema/System description	7

Dokumenti/Documents	8

Zahteve glede testnih poročil/Requirements regarding test reports	9

Zahteve glede odobritev tipa/Requirements regarding type approval	9

Kontrolna lista/Check list	11

3. člen (namen)/article (purpose)	11

4. člen (splošna načela)/article (general principles)	12

5. člen (NDP pri preskušanju na terenu)/article (MPE at field testing)	13

6. člen (NDP pri laboratorijskem preskušanju)/article (MPE at laboratory testing)	14

7. člen (določanje pogreška)/article (determination of errror)	15

8. člen (dopusten učinek motenj)/article (permissible effect of disturbances)	16

9. člen (naznačeni obratovalni pogoji in vplivne veličine)/article (indicated operating conditions and influencing variables)	17

10. člen (pravila za preskušanje in določanje pogreškov)/article (rules for testing and determining errors)	22

11. člen (ponovljivost)/ article(repeatability)	23

12. člen (vzdržljivost)/article (sustainability)	23

13. člen (primernost)/article (suiatability)	24

14. člen (samopreverjanje)/article (selfchecking)	25

15. člen (zaščita pred zlorabo)/article (protection against abuse)	26

16. člen (zahteve za prikaz rezultata)/ article (requirements for displaying the result)	28

17. člen (zahteve za dokumentiranje meritev)/article (requirements for documentation of measurements)	29

18. člen (zahteva za izdelavo drugega posnetka ali video zapisa)/article (requirements for documentation of measurements)	31

19. člen (dodatne zahteve za dokumentiranje meritev iz premične točke, razen za merilnike hitrosti po principu sledenja)/article (additional requirements for documenting measurements from a moving point, except for speedometers based on the tracking principle)	32

20. člen (dodatne zahteve za dokumentiranje meritev pri merilnikih hitrosti na podlagi sledenja)	33

21. člen (dodatne zahteve za dokumentiranje meritev pri detekcijskih merilnikih hitrosti)/article (additional requirements for documenting measurements with detection speedometers)	34

22. člen (dodatne zahteve za dokumentiranje meritev pri odsekovnih merilnikih hitrosti)/article (additional requirements for documenting measurements at sectional speedometers)	35

23. člen (omejitev shranjevanja podatkov)/article (restriction of data storage)	36

24. člen (označitev testnih meritev)/article(marking of test measurements)	36

25. člen (merska enota in razdelek)/article(measurment unit and resolution)	37

26. člen (zahteve za testni vmesnik)/article (requirements for the test interface)	38

27. člen (kosinusni pojav)/article (cosine effect)	39

28. člen (dodatne zahteve za merilnike hitrosti, ki merijo iz premične točke)/article (additional requirements for speedometers that measure from a movable point)	40

29. člen (dodatne zahteve za radarske merilnike hitrosti, ki merijo posamezno vozilo)/article (additional requirements for radar speed meters that measure an individual vehicle)	41

29.a člen (dodatne zahteve za radarske merilnike hitrosti, ki merijo več vozil hkrati)/article (additional requirements for radar speed meters that measure several vehicles at the same time)	42

30. člen (dodatne zahteve za laserske merilnike hitrosti, ki merijo posamezno vozilo)	42

30.a člen (dodatne zahteve za laserske merilnike hitrosti, ki merijo več vozil hkrati)/article  (additional requirements for laser speedometers that measure several vehicles at the same time)	45

31. člen (dodatne zahteve za detekcijske merilnike hitrosti)/article (additional requirements for detection speed meters)	45

32. člen (dodatne zahteve za odsekovne merilnike hitrosti)/ (additional requirements for sectional speedometers)	47

33. člen (zahteve za merilnike hitrosti na podlagi sledenja)/article (requirements for tracking-based speedometers)	48

34. člen (splošna določba o dodatnih funkcionalnosti merilnika hitrosti)/article (general provision on additional functionalities of the speedometer)	49

35. člen (funkcionalnost ugotavljanja vožnje v rdečo luč)/ (red light detection functionality)	49

36. člen (funkcionalnost določanja časovne razlike med voziloma v prometu)/article (functionality of determining the time difference between two vehicles in traffic)	51

37. člen (napisna ploščica)/article (labels)	53

37.a člen (dodatne oznake)	54

38. člen (Navodila za uporabo)/article (Instructions for use)	55

39.a člen (posebna merilna oprema ter dostop do merila)/article  (special measuring equipment and access to the measuring device)	56

40. člen (odobritev tipa)/article (type approval)	57

41. člen (tuja preskusna poročila)/article (foreign test reports)	59

42. člen (prva overitev)	60

44. člen (posebni preskusi za radarske merilnike hitrosti)/article (special tests for radar speed meters)	61

45. člen (posebni preskusi za laserske merilnike hitrosti)/article (special tests for laser speedometers	63

46. člen (posebni preskusi za detekcijske merilnike hitrosti)/article (special tests for detection speedometers)	64

47. člen (posebni preskusi za odsekovne merilnike hitrosti)/ article (special tests for sectional speedometers)	65

48. člen (posebni preskusi za merilnike hitrosti na podlagi sledenja)/ article (Special tests for tracking-based speedometers)	67

49. člen (posebni preskusi za merilnike hitrosti, ki merijo iz premične točke, razen za merilnike na podlagi sledenja)/article  (special tests for speedometers that measure from a moving point, except for tracking-based meters)	68

Ostalo/Other	68

# Namen/Purpose

Kontrolna lista je namenjana za pripravo vložnika ali proizvajalca, da ustrezno pripravi merilnik hitrosti, dokumentacijo o njegovem delovanje ter preskusna poročila, za postopek odobritve tipa.

The purpose of checklist is to prepare speed meter, its documentation and test reports for type approval procedure by applicant of manufacturer.

Kontrolna lista je pripravljena dvojezično v slovenskem ter neformalno v angleškem jeziku.

Checklist is prepared bilingual in Slovenian language and nonformal in English language.

Uradni jezik postopka je slovenski jezik.

Official language of type approval procedure is Slovenian language.

Kontrolna lista je narejena po zahtevah Pravilnika za meroslovne zahteva z merilnike hitrosti v cestnem prometu [Ur.l.št.91/15 in 24/24].

Control list is based on the requirements from Rules for metrological requirements for speed meters published in the National Gazette 91/15 and 24/24.

Povezava/link: https://pisrs.si/pregledPredpisa?id=PRAV11722

Kontrolno listo obvezno priložite obrazcu za zahtevo za odobritev tipa »OB-CEB 4.4-02 Zahteva za odobritev tipa merila« v obliki DOCX [Microsoft Word].

Please include this control list to the form for type approval »OB-CEB 4.4-02 Request for type approval« in DOCX format [Microsoft Word],

# Kako izpolniti/How to fill checklist

Zahteva so razdelane po posameznih alinejah in členih pravilnika v tabeli.

Requirements are collected in the tables according to the rules articles and lines within articles.

V polje »Podroben opis/Detailed Description« obvezno podajte obrazložitev, kako je zahteva izpolnjena oziroma sklic na dokument oziroma poročilo z navedbo strani, kjer je možno najti dokaz za izpolnjevanje te zahteve npr.:   zahteve za izpolnjevanje razreda H3, ki ga  morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki se uporabljajo na prostem – dokazilo akreditiran certifikat laboratorija XXXXX o izpolnjevanju klimatskih okolij mednarodnega dokumenta OIML D11 za razred H3  na strani 15.

In the field »Podroben opis/Detailed Description« you must always give an explanation, how the requirement is fulfilled or cross reference to your documentation or test reports with clead indication of page, where evidence for fulfilment of requirement could be found e.g.: requirements for meeting class H3, which must be met by speedometers or their components used outdoors - evidence: accredited certificate of laboratory XXXXX on compliance with the climatic environments of the international document OIML D11 for class H3 on page 15.

Če zahteva ni relevantna za vaše merilo označite z »-« v polje »OK« in »X« v nasprotnem primeru pustite prazno, da bo ustrezno oceno vnesel sodelavec na MIRSu.

If requirement is not relevant for your speed meter, mark with an "-" in the field “OK” and “X”, otherwise leave blank for evaluation from MIRS personnel.

V primeru nejasnosti glede vprašalnika, se lahko vedno obrnete na nas z vprašanjem, zaradi sledljivosti priporočamo uporabo elektronske pošte.

In case of any doubt regarding the checklist, you can contact us with questions, preferable with email to provide traceability.

# Opis sistema/System description

| # |  |  |  |
| --- | --- | --- | --- |
| 1 | Tip Type |  |  |
|  |  | Od/From | Do/To |
| 2 | Merilno območje hitrosti Speed measurment range |  |  |
| 3 | Temperaturno delovno območje Temperature working range |  |  |
| 4 | Temperaturno območje za skladiščenje Storage temperature range |  |  |
| 5 | Merjenje na razdalji od: Distance measurement |  |  |

# Dokumenti/Documents

Obvezni dokumenti in poročila dodatno glede na OB-CEB 4.4-02 v10

Mandatory documents and reports additional to the OB-CEB 4.4-02 v10

| # | Namen/Purpose | Ime/Name | OK |
| --- | --- | --- | --- |
| 1 | Uporabniška navodila SLO Slovenian user manual |  |  |
| 2 | Uporabniška navodila User manual |  |  |
| 3 | Opis merilnika hitrosti Speed meter description |  |  |
| 4 | Opis principa merjenja hitrosti Speed measurment process description |  |  |
| 5 | Poročilo o preskušanju programske opreme WELMEC 7.2 razed D WELMEC 7.2 risk class D software testing report |  |  |
| 6 | Poročilo o izpolnjevanju NDP v laboratoriju NDP report for laboratory testing |  |  |
| 7 | Poročilo o izpolnjevanju NDP na terenu NDP report for field testing |  |  |
| 8* | Poročilo o klimatski trdnosti na podlagi OIML D11 Clymatic strength report according to OIML D11 |  |  |
| 9* | Poročilo o elektromagnetni trdnosti trdnosti na podlagi OIML D11 EMC strength report according to OIML D11 |  |  |
| 10* | Poročilo o mehanski trdnosti glede na podlagi OMIL D11 Mechanical strength report according to OIML D11 |  |  |

*Glede na zahteve pravilnika v 8. členu morajo poročila vsebovati izjavo glede izpolnjevanja NDP.

According to the article 8, all reports should have a statement regarding fulfilment of MPE during the influential quantities.

# Zahteve glede testnih poročil/Requirements regarding test reports

Poročila o klimatski trdnosti in elektromagnetni trdnosti na po podlagi OIML D11 morajo vsebovati tudi dokazilo glede izpolnjevanja največjih dopustnih pogreškov glede hitrosti – NDP v času prisotnosti motnje oziroma vplivne veličine. Za merilo o mehanski trdnosti na po podlagi OIML D11 je zadosti, da merilnik hitrosti prestane preskus glede največjih dopustnih pogreškov pred in po motnji oziroma vplivni veličin.  V preskusnem poročilu morajo biti jasno navedeni rezultati meritev hitrosti ter identificiran pripomoček ter postopek za simuliranje hitrosti med preskušanjem.  Zahteva izhaja iz 8. člena pravilnika. Nepopolnih poročil ne bomo upoštevali v postopku odobritve tipa.

Reports regarding climate and EMC strengths according to the OIML D11 should include also evidence, that speed meter fulfils in the presence of influence factors or disturbances requirements regarding maximum permissible errors – MPE for speed measurement. It is allowed for reports regarding mechanical strength according to the OIML D11 that speed meter is tested before and after influence factors or disturbances. The test report should also cover results of the speed measurements. A simulator device and testing procedure for speed simulation should be identified and described. Requirement is based on the article 8 of national rules.

# Zahteve glede odobritev tipa/Requirements regarding type approval

Priložena tuja odobritve tipa morajo jasno navesti na podlagi katere katerega nacionalnega zakona so bile izdane.

Enclosed foreign type approvals should clearly state on which national rule was issued.

Ostali dokumenti in poročila za dokazovanje zahtev

Other document and reports to prove requirements

| # | Namen/Purpose | Ime/Name | OK |
| --- | --- | --- | --- |
| 1 | … |  |  |
| 2 | … |  |  |
| … |  |  |  |

# Kontrolna lista/Check list

Kontrolna lista je povzeta po ključnih zahtevah pravilnika.

Check list is based on the rules key requirements.

## 3. člen (namen)/article (purpose)

| # | Zahteva/Requirement | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- |
|  | (1) Merilniki hitrosti so namenjeni merjenju hitrosti vozil v cestnem prometu. Speedometers are intended for measuring the speed of vehicles in road traffic. |  |  |  |
|  | (2) Pri merjenju hitrosti se lahko merjeno vozilo približuje, oddaljuje, vozi mimo ali prehiteva na poljubnem voznem pasu ali se merjenemu vozilu sledi z merilnim vozilom. When measuring speed, the measured vehicle may approach, move away, drive past or overtake in any lane, or the measured vehicle may be followed by the measuring vehicle. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

II. MEROSLOVNE IN TEHNIČNE ZAHTEVE/metrological and technical requirements

## 4. člen (splošna načela)/article (general principles)

| # | Zahteva/Requirement | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- |
|  | (1) Merilnik hitrosti mora zagotavljati visoko raven meroslovne zaščite ter mora biti zasnovan in proizveden na visoki kakovostni ravni merilne tehnologije in varovanja merilnih podatkov. The speedometer must provide a high level of metrological protection and must be designed and manufactured at a high quality level of measurement technology and measurement data protection. |  |  |  |
|  | (2) Zasnova merilnika hitrosti mora upoštevati predvideno uporabo in predvidljive zlorabe merilnika hitrosti. The design of the speedometer must take into account the intended use and foreseeable abuses of the speedometer. |  |  |  |
|  | (3) Merilnik hitrosti mora biti zasnovan tako, da je mogoče izvesti vsak pregled in preskus, ki je predpisan s tem pravilnikom. The speedometer must be designed in such a way that it is possible to carry out every inspection and test prescribed by this regulation. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 5. člen (NDP pri preskušanju na terenu)/article (MPE at field testing)

V okviru naznačenih obratovalnih pogojev in v odsotnosti motenj pogrešek merilnika hitrosti pri preskušanju na terenu ne sme presegati naslednjih NDP:

Within the specified operating conditions and in the absence of disturbances, the error of the speedometer during field testing shall not exceed the following MPEs:

| # | Zahteva/Requirement | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- |
|  | a) NDP za merilnike hitrosti, ki merijo iz nepremične točke, je enak: - ± 3 km/h za hitrosti do vključno 100 km/h in - ± 3% za hitrosti nad 100 km/h. MPE for speedometers that measure from a stationary point is equal to: - ± 3 km/h for speeds up to and including 100 km/h and - ± 3% for speeds above 100 km/h. |  |  |  |
|  | b) NDP za merilnike hitrosti, ki merijo iz premične točke, vključujoč NDP za lastno hitrost, je enak: - ± 5 km/h za hitrosti do vključno 100 km/h in - ± 5% za hitrosti nad 100 km/h. MPE for speedometers that measure from a moving point, including MPE for own speed, is equal to: - ± 5 km/h for speeds up to and including 100 km/h and - ± 5% for speeds above 100 km/h. |  |  |  |
|  | c) NDP za lastno hitrost pri merilnikih hitrosti, ki merijo iz premične točke, je enak: - ± 3 km/h za hitrosti do vključno 100 km/h in - ± 3% za hitrosti nad 100 km/h. MPE for own speed in speedometers that measure from a moving point is equal to: - ± 3 km/h for speeds up to and including 100 km/h and - ± 3% for speeds above 100 km/h. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 6. člen (NDP pri laboratorijskem preskušanju)/article (MPE at laboratory testing)

V okviru naznačenih obratovalnih pogojev in v odsotnosti motenj pogrešek merilnika hitrosti pri laboratorijskem preskušanju ne sme presegati naslednjih NDP:

Within the specified operating conditions and in the absence of disturbances, the error of the speedometer during laboratory testing shall not exceed the following MPEs:

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | a) NDP za merilnike hitrosti, ki merijo iz nepremične točke, je enak: - ± 1 km/h za hitrosti do 100 km/h in - ± 1% za hitrosti nad 100 km/h. MPE for speedometers that measure from a stationary point is equal to: - ± 1 km/h for speeds up to 100 km/h and - ± 1% for speeds above 100 km/h. |  |  |  |
|  |  | b) NDP za merilnike hitrosti, ki merijo iz premične točke, vključujoč NDP za lastno hitrost je enak: - ± 2 km/h za hitrosti do 100 km/h in - ± 2% za hitrosti nad 100 km/h. MPE for speedometers that measure from a moving point, including MPE for own speed is equal to: - ± 2 km/h for speeds up to 100 km/h and - ± 2% for speeds above 100 km/h. |  |  |  |
|  |  | c) NDP za lastno hitrost pri merilnikih hitrosti, ki merijo iz premične točke, je enak: - ± 1 km/h za hitrosti do vključno 100 km/h in - ± 1% za hitrosti nad 100 km/h. The MPE for own speed for speedometers that measure from a moving point is equal to: - ± 1 km/h for speeds up to and including 100 km/h and - ± 1% for speeds above 100 km/h. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 7. člen (določanje pogreška)/article (determination of errror)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Pogrešek merilnika hitrosti se določi na podlagi kazanja, kot ga določa drugi odstavek 25. člena tega pravilnika The error of the speedometer is determined on the basis of the indication, as determined by the second paragraph of Article 25 of these regulations. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 8. člen (dopusten učinek motenj)/article (permissible effect of disturbances)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | V okviru naznačenih obratovalnih pogojev in v prisotnosti motenj iz 9. člena tega pravilnika sprememba merilnega rezultata ne sme biti večja od NDP za ta merilni rezultat. Če je sprememba merilnega rezultata večja od NDP za ta merilni rezultat, mora merilnik hitrosti opozoriti, da meritev ni veljavna ali pa meritve ne izvede. Within the specified operating conditions and in the presence of disturbances from Article 9 of these regulations, the change in the measurement result must not be greater than the MPE for this measurement result. If the change in the measurement result is greater than the MPE for that measurement result, the speedometer must warn that the measurement is not valid or not perform the measurement. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 9. člen (naznačeni obratovalni pogoji in vplivne veličine)/article (indicated operating conditions and influencing variables)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Proizvajalec določi naslednje naznačene vrednosti obratovalnih pogojev merilnika hitrosti ali njegovih posameznih sestavnih delov: a) za merjeno veličino: - merilno območje, ki mora biti najmanj v območju od 30 km/h do 200 km/h, b) za klimatske vplivne veličine: - temperaturno območje, ki mora biti najmanj od –10 °C do + 50 °C, - razred klimatskega okolja c) za mehanske vplivne veličine: - razred mehanskega okolja č) za vplivne veličine električnega napajanja: - vrednost (območja) napajalne napetosti in omrežne frekvence - razred elektromagnetnega okolja. (1) The manufacturer determines the following indicated values of the operating conditions of the speedometer or its individual components: a) for the measured quantity: - measuring range, which must be at least in the range from 30 km/h to 200 km/h, b) for climate influencing variables: the temperature range, which must be at least from –10 °C to + 50 °C, class of climatic environment c) for mechanical influencing quantities: mechanical environment class č) for influential quantities of electrical supply: value (range) of supply voltage and mains frequency - electromagnetic environment class. |  |  |  |
|  |  | (2) Merilniki hitrosti ali njihovi sestavni deli morajo izpolnjevati naslednje zahteve glede klimatskih okolij mednarodnega dokumenta OIML D11 Mednarodne organizacije za zakonsko meroslovje (v nadaljnjem besedilu: OIML D11), ki je dosegljiv na spletni strani te organizacije: - zahteve za razred H1 morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki se uporabljajo v temperaturno nadzorovanih zaprtih oziroma vremensko zaščitenih lokacijah, kjer lokalna vlažnost ni nadzorovana in ki niso izpostavljeni kondenzirani vodi, padavinam ali tvorjenju ledu. Če je potrebno, se za vzdrževanje zahtevanih pogojev okolice uporablja gretje, hlajenje ali vlaženje; - zahteve za razred H2 morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki se uporabljajo v zaprtih oziroma vremensko zaščitenih lokacijah, kjer lokalni klimatski pogoji niso nadzorovani in ki so lahko izpostavljeni kondenzirani vodi ali vodi, ki ne izvira od dežja ali tvorjenju ledu; - zahteve za razred H3 morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki se uporabljajo na prostem. Speedometers or their components must meet the following requirements regarding climatic environments of the international document OIML D11 of the International Organization for Legal Metrology (hereinafter: OIML D11), which is available on the website of this organization: - the requirements for class H1 must be met by speedometers or their components that are used in temperature-controlled closed or weatherprotected locations where the local humidity is not controlled and which are not exposed to condensed water, precipitation or ice formation. If necessary, heating, cooling or humidification is used to maintain the required ambient conditions; - the requirements for class H2 must be met by speedometers or their components that are used in closed or weather-protected locations where local - climatic conditions are not controlled and that may be exposed to condensed water or water that does not originate from rain or ice formation; requirements for class H3 must be met by speedometers or their components used outdoors. Speedometers or their components must meet the following requirements regarding climatic environments of the international document OIML D11 of the International Organization for Legal Metrology (hereinafter: OIML D11), which is available on the website of this organization: - the requirements for class H1 must be met by speedometers or their components that are used in temperature-controlled closed or weatherprotected locations where the local humidity is not controlled and which are not exposed to condensed water, precipitation or ice formation. If necessary, heating, cooling or humidification is used to maintain the required ambient conditions; - the requirements for class H2 must be met by speedometers or their components that are used in closed or weather-protected locations where local climatic conditions are not controlled and that may be exposed to condensed water or water that does not originate from rain or ice formation; - requirements for class H3 must be met by speedometers or their components used outdoors. |  |  |  |
|  |  | (3) Pri klimatskih okoljih iz prejšnjega odstavka se upoštevajo naslednje vplivne veličine: - stalna vlažna vročina (nekondenzirajoča), - ciklična vlažna vročina (kondenzirajoča) in - voda. In the case of climatic environments from the previous paragraph, the following influencing quantities are taken into account: - constant moist heat (non-condensing), - cyclic damp heat (condensing) and - water. |  |  |  |
|  |  | (4) Merilniki hitrosti ali njihovi sestavni deli morajo izpolnjevati naslednje zahteve OIML D11 glede mehanskih okolij: - zahteve za razred M2 morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki merijo iz nepremične točke, - zahteve za razred M3 morajo izpolnjevati merilniki hitrosti ali njihovi sestavni deli, ki merijo iz premične točke. Speedometers or their components must meet the following requirements of OIML D11 regarding mechanical environments: - requirements for class M2 must be met by speedometers or their components that measure from a stationary point, - requirements for class M3 must be met by speedometers or their components that measure from a movable point. |  |  |  |
|  |  | (5) Ne glede na prejšnji odstavek morajo merilniki hitrosti ali njihovi sestavni deli, ki so nameščeni v mehanskih okoljih, kjer ni prisotnih pomembnejših mehanskih motenj, izpolnjevati zahteve za razred M1 iz OIML D11. Notwithstanding the preceding paragraph, speedometers or their components, which are installed in mechanical environments where there are no significant mechanical disturbances, must meet the requirements for class M1 from OIML D11. |  |  |  |
|  |  | (6) Pri mehanskih okoljih iz četrtega in petega odstavka tega člena se upoštevajo naslednje vplivne veličine: - mehanski sunki in - tresljaji. In the case of mechanical environments referred to in the fourth and fifth paragraphs of this article, the following influencing quantities are taken into account: - mechanical shocks and - tremors. |  |  |  |
|  |  | (7) Merilniki hitrosti morajo izpolnjevati naslednje zahteve OIML D11 glede elektromagnetnih okolij: - zahteve za razred E1 morajo izpolnjevati merilniki hitrosti, ki se ne napajajo iz akumulatorja vozila; - zahteve za razred E3 morajo izpolnjevati merilniki hitrosti, ki se napajajo iz akumulatorja vozila. Speedometers must meet the following requirements of OIML D11 regarding electromagnetic environments: - requirements for class E1 must be met by speedometers that are not powered from the vehicle's battery; - the requirements for class E3 must be met by speedometers that are powered from the vehicle's battery. |  |  |  |
|  |  | (9) Za merilnike hitrosti, ki se napajajo iz akumulatorja vozila, se pri elektromagnetnih okoljih poleg vplivnih veličin iz prejšnjega odstavka upoštevajo še naslednje vplivne veličine: - padci napetosti, ki jih povzroča napajanje zaganjalnikov motorjev z notranjim zgorevanjem in - prehodni pojavi ob izpadu bremena, ki se pojavijo ob odklopu izpraznjenega akumulatorja pri delujočem motorju. For speedometers that are powered from the vehicle's battery, in electromagnetic environments, in addition to the influencing quantities from the previous paragraph, the following influencing quantities are taken into account: - voltage drops caused by the supply of internal combustion engine starters and - transient phenomena when the load fails, which occur when the discharged battery is disconnected while the engine is running |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 10. člen (pravila za preskušanje in določanje pogreškov)/article (rules for testing and determining errors)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Skladnost z zahtevami iz 5. oziroma 6. člena in 8. člena tega pravilnika je treba preveriti za vsako primerno vplivno veličino. Te zahteve morajo biti izpolnjene, kadar se uporabi vsaka posamezna vplivna veličina in se njen učinek ocenjuje ločeno ter se druge vplivne veličine ohranjajo konstantne pri referenčnih vrednostih. Compliance with the requirements from Article 5, Article 6 and Article 8 of these regulations must be checked for each suitable influencing quantity. These requirements must be met when each individual influence quantity is used and its effect is assessed separately and other influence quantities are kept constant at the reference values |  |  |  |
|  |  | (2) Meroslovni preskusi se izvajajo med uporabo vplivne veličine ali po njej, pri čemer se upoštevajo tiste razmere, ki ustrezajo običajnemu stanju delovanja merilnika hitrosti. Metrology tests are carried out during or after the application of the influential quantity, taking into account those conditions corresponding to the normal state of operation of the speedometer. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 11. člen (ponovljivost)/ article(repeatability)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Standardni odmik merilnih rezultatov v zaporednih meritvah iste merjene veličine v enakih razmerah mora biti manjši ali enak NDP. The standard deviation of measurement results in consecutive measurements of the same measured quantity under the same conditions must be less than or equal to the MPE. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 12. člen (vzdržljivost)/article (sustainability)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Merilnik hitrosti mora v okoljskih pogojih, za katere je zasnovan, izpolnjevati zahteve glede NDP, ki so določeni v 5. oziroma 6. členu tega pravilnika, najmanj skozi celotno overitveno obdobje, če je pravilno nameščen ter se vzdržuje in uporablja v skladu z navodili proizvajalca. In the environmental conditions for which it is designed, the speedometer must meet the MPE requirements specified in Articles 5 and 6 of this regulation, at least throughout the entire verification period, if it is installed correctly and is maintained and used in accordance with the manufacturer's instructions. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 13. člen (primernost)/article (suiatability)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti ne sme omogočati zlorabe, možnosti za nehoteno napačno uporabo pa morajo biti čim manjše. The speedometer must not allow abuse, and the possibilities for inadvertent misuse must be as small as possible. |  |  |  |
|  |  | (2) Merilnik hitrosti mora biti primeren za predvideno uporabo, glede na delovne pogoje ter uporabniku ne sme postavljati nerazumnih zahtev zato, da bi pridobil pravilne merilne rezultate. The speedometer must be suitable for the intended use, given the working conditions, and must not place unreasonable demands on the user in order to obtain correct measurement results. |  |  |  |
|  |  | (3) Merilnik hitrosti mora biti dovolj vzdržljiv, njegovi konstrukcijski materiali pa morajo biti primerni za razmere, v katerih je predvidena njegova uporaba. The speedometer must be durable enough, and its construction materials must be suitable for the conditions in which it is intended to be used. |  |  |  |
|  |  | (4) Merilnik hitrosti mora biti zasnovan tako, da omogoča meroslovni pregled merila tudi po dajanju v promet in začetku uporabe. The speedometer must be designed in such a way that it enables a metrological inspection of the measure even after it has been placed on the market and started to be used. |  |  |  |
|  |  | (5) Če merilnik hitrosti vsebuje programsko opremo, ki poleg merilnih zagotavlja tudi druge funkcije, mora biti programska oprema, ki je bistvena za meroslovne lastnosti, prepoznavna in nanjo ostala programska oprema ne sme vplivati. If the speedometer contains software that provides other functions in addition to the measuring ones, the software that is essential for the metrological properties must be recognizable and must not be affected by other software. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 14. člen (samopreverjanje)/article (selfchecking)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilniki hitrosti morajo imeti sistem za samopreverjanje, ki se proži samodejno pri vklopu merilnika. Pri samodejnih merilnikih hitrosti, ki se neprekinjeno uporabljajo dlje časa, se mora samopreverjanje samodejno prožiti najmanj enkrat mesečno. Speedometers must have a self-check system that is activated automatically when the meter is turned on. For automatic speedometers that are used continuously for long periods of time, the self-test must be triggered automatically at least once a month. |  |  |  |
|  |  | (2) Če sistem za samopreverjanje iz prejšnjega odstavka pokaže, da merilnik hitrosti ni primeren za uporabo, se mora merjenje samodejno onemogočiti. If the self-checking system from the previous paragraph shows that the speedometer is not suitable for use, the measurement must be disabled automatically. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 15. člen (zaščita pred zlorabo)/article (protection against abuse)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti mora biti zasnovan tako, da se onemogoči vpliv drugih veličin, ki lahko vplivajo na rezultate meritev. The speedometer must be designed in such a way as to exclude the influence of other quantities that may affect the measurement results. |  |  |  |
|  |  | (2) Na meroslovne lastnosti merilnika hitrosti se ne sme vplivati s priključevanjem druge naprave, z lastnostjo priključene naprave ali z drugo oddaljeno napravo, ki komunicira z merilnikom hitrosti. The metrological properties of the speedometer must not be affected by the connection of another device, by the property of the connected device or by another remote device that communicates with the speedometer |  |  |  |
|  |  | (3) Deli strojne opreme, ki so bistvenega pomena za meroslovne lastnosti, morajo biti zasnovani tako, da jih je mogoče zaščititi pred zlorabo. Zaščitni ukrepi morajo omogočiti dokazljivost možnega posega. Parts of hardware essential for metrological properties must be designed in such a way that they can be protected against misuse. The protective measures must enable the provability of a possible intervention. |  |  |  |
|  |  | (4) Programska oprema, ki vpliva na meroslovne lastnosti merilnika hitrosti, mora biti enostavno prepoznavna in zaščitena. Software that affects the metrological properties of the speedometer must be easily identifiable and protected. |  |  |  |
|  |  | (5) Prepoznavnost programske opreme, ki vpliva na meroslovne lastnosti merilnika hitrosti, se zagotovi preko kontrolne vsote, ki se izračuna na zahtevo in nato prikaže na zaslonu merilnika ali izhodu komunikacijskega vmesnika. The recognizability of the software affecting the metrological properties of the speedometer is provided through a checksum, which is calculated on demand and then displayed on the meter screen or the output of the communication interface. |  |  |  |
|  |  | (6) Dokazi o posegu v programsko zaščitene dele merilnika hitrosti morajo biti na voljo najmanj 24 mesecev. Evidence of tampering with software-protected parts of the speedometer must be available for at least 24 months. |  |  |  |
|  |  | (7) Merilni podatki, programska oprema, ki je bistvenega pomena za meroslovne lastnosti, in meroslovno pomembni parametri, ki so shranjeni ali se prenašajo, morajo biti zaščiteni proti namerni ali nenamerni zlorabi ali spremembam. Measurement data, software essential for metrological properties, and metrologically important parameters that are stored or transmitted must be protected against intentional or unintentional misuse or changes |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 16. člen (zahteve za prikaz rezultata)/ article (requirements for displaying the result)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Nesamodejni merilniki hitrosti morajo imeti takojšni prikaz rezultata. Če ima takojšen prikaz rezultata tudi samodejni merilnik hitrosti, mora biti prikaz izveden v skladu z zahtevami tega člena. Non-automatic speedometers must have an immediate display of the result. If the automatic speedometer also has an immediate display of the result, the display must be carried out in accordance with the requirements of this article. |  |  |  |
|  |  | (2) Rezultat meritve mora biti prikazan na prikazovalniku neposredno po zaključku meritve. The measurement result must be shown on the display immediately after the measurement is completed. |  |  |  |
|  |  | (3) Prikaz vsakega merilnega rezultata mora biti jasen in nedvoumen ter opremljen z znaki in napisi za obveščanje uporabnika o pomenu merilnega rezultata. The display of each measurement result must be clear and unambiguous and equipped with signs and inscriptions to inform the user about the meaning of the measurement result. |  |  |  |
|  |  | (4) Pri normalnih pogojih uporabe mora biti odčitavanje rezultata meritve merilnika hitrosti enostavno. Under normal conditions of use, the speedometer measurement result should be easy to read. |  |  |  |
|  |  | (5) Na prikazovalniku se lahko prikažejo tudi drugi podatki, če jih ni mogoče zamenjati z merilnimi rezultati. Other data can also be displayed on the display if they cannot be confused with measurement results. |  |  |  |
|  |  | (6) Na prikazovalniku mora biti izpisan čas meritve. The measurement time must be displayed on the display. |  |  |  |
|  |  | (7) Vsi prikazi morajo biti v slovenskem jeziku oziroma biti podani tako, da je zagotovljeno enoumno razumevanje rezultatov meritev merilnika hitrosti. All displays must be in the Slovenian language or be given in such a way that a clear understanding of the results of the speedometer measurements is ensured. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 17. člen (zahteve za dokumentiranje meritev)/article (requirements for documentation of measurements)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Samodejni merilniki hitrosti in nesamodejni merilniki hitrosti, ki merijo iz premične točke, morajo dokumentirati meritve. Če nesamodejni merilnik hitrosti, ki meri iz nepremične točke, tudi dokumentira meritve, mora biti dokumentiranje izvedeno v skladu z zahtevami tega člena. Automatic speedometers and non-automatic speedometers that measure from a moving point must document the measurements. If a non-automatic speedometer that measures from a fixed point also documents the measurements, the documentation must be carried out in accordance with the requirements of this article. |  |  |  |
|  |  | (2) Merilniki hitrosti morajo dokumentirati meritev hitrosti merjenega vozila z enim ali več slikovnimi zapisi, na katerih je razvidna prometna situacija in nedvoumno prikazano ali označeno merjeno vozilo. Speedometers must document the measurement of the speed of the measured vehicle with one or more pictorial records, on which the traffic situation is visible and the measured vehicle is unequivocally shown or marked. |  |  |  |
|  |  | (3) Dokumentiranje merilnega rezultata mora biti jasno in nedvoumno ter opremljeno z znaki in napisi za obveščanje uporabnika o pomenu merilnega rezultata. The documentation of the measurement result must be clear and unambiguous and equipped with signs and inscriptions to inform the user about the meaning of the measurement result. |  |  |  |
|  |  | (4) Na dokumentirani meritvi morajo biti podatki v slovenskem jeziku oziroma morajo biti podani tako, da je zagotovljena ustrezna informiranost vseh uporabnikov merilnika hitrosti. The data on the documented measurement must be in the Slovenian language or must be given in such a way that all users of the speedometer are adequately informed. |  |  |  |
|  |  | (5) Dokumentirane meritve morajo biti zaščitene pred namernimi in nenamernimi spremembami. Documented measurements must be protected against intentional and unintentional changes. |  |  |  |
|  |  | (6) Dokumentirana meritev hitrosti mora obsegati tudi: - enolično identifikacijo meritve, - čas meritve, - lokacijo meritve, - uradno oznako merilnika hitrosti in - serijsko številko merilnika hitrosti. The documented speed measurement must also include: - unique identification of the measurement, - measurement time, - measurement location, - the official mark of the speedometer and - speedometer serial number. |  |  |  |
|  |  | (7) Na dokumentirani meritvi se lahko prikažejo tudi drugi podatki, če jih ni mogoče zamenjati z merilnimi rezultati. Other data can also be displayed on the documented measurement, if they cannot be confused with the measurement results. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 18. člen (zahteva za izdelavo drugega posnetka ali video zapisa)/article (requirements for documentation of measurements)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Samodejni merilniki hitrosti, ki merijo trenutno hitrost merjenega vozila iz nepremične točke, morajo meritev dokumentirati z najmanj dvema posnetkoma, video zapisom, kombinacijo posnetka ali video zapisa ali na drug zanesljiv način. Automatic speedometers that measure the current speed of the measured vehicle from a stationary point must document the measurement with at least two recordings, a video recording, a combination of recording or video recording, or in another reliable way. |  |  |  |
|  |  | (2) Prvi posnetek ali video zapis se naredi pri izvedbi meritve. The first recording or video recording is made during the measurement. |  |  |  |
|  |  | (3) Drugi posnetek ali video zapis se naredi najmanj 0,1 s po prvem posnetku glede na notranjo uro merilnika hitrosti ali po premiku vozila za najmanj 10 m. The second recording or video recording is made at least 0.1 s after the first recording according to the internal clock of the speedometer or after the vehicle has moved for at least 10 m. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 19. člen (dodatne zahteve za dokumentiranje meritev iz premične točke, razen za merilnike hitrosti po principu sledenja)/article (additional requirements for documenting measurements from a moving point, except for speedometers based on the tracking principle)

| # | Zahteva/Requirement |  | Opis izpolnjevanja zahteve in /ali dokazilo | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Dokumentirana meritev hitrosti pri merjenju iz premične točke z merilniki hitrosti, razen za merilnike hitrosti po principu sledenja, mora poleg zahtev iz 17. člena tega pravilnika vsebovati tudi hitrost merilnega vozila v času meritve. Documented speed measurement when measuring from a moving point with speedometers, except for speedometers based on the tracking principle, must also contain the speed of the measuring vehicle at the time of measurement, in addition to the requirements from Article 17 of these regulations. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 20. člen (dodatne zahteve za dokumentiranje meritev pri merilnikih hitrosti na podlagi sledenja)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Dokumentirana meritev hitrosti pri merilnikih hitrosti na podlagi sledenja mora poleg zahtev iz 17. člena tega pravilnika vsebovati tudi: - čas trajanja meritve med začetkom in koncem meritve, - prevoženo razdaljo med začetkom in koncem meritve in - zaporedno številko slike v video zapisu. In addition to the requirements from Article 17 of these regulations, the documented speed measurement with speedometers based on tracking must also contain: - the duration of the measurement between the start and end of the measurement, - the distance traveled between the start and end of the measurement and - the sequence number of the image in the video recording. |  |  |  |
|  |  | (2) Potek meritve merjenega vozila mora biti dokumentiran v obliki video zapisa, kjer je vsaka posamezna slika video zapisa identificirana. The course of measurement of the measured vehicle must be documented in the form of a video recording, where each individual image of the video recording is identified. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 21. člen (dodatne zahteve za dokumentiranje meritev pri detekcijskih merilnikih hitrosti)/article (additional requirements for documenting measurements with detection speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Detekcijski merilniki hitrosti morajo dokumentirati merjeno vozilo na prvem in zadnjem elementu za detekcijo prehoda vozila. Detection speedometers must document the measured vehicle on the first and last element for detecting the passage of the vehicle. |  |  |  |
|  |  | (2) Dokumentirana meritev hitrosti pri merjenju na detekcijskem merilniku hitrosti mora poleg zahtev iz 17. člena tega pravilnika vsebovati tudi: - vse čase prehoda med posameznimi detekcijskimi elementi in - razdalje med posameznimi detekcijskimi elementi. In addition to the requirements from Article 17 of these regulations, the documented speed measurement when measured on a speed detection meter must also contain: - all transition times between individual detection elements and - distances between individual detection elements. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 22. člen (dodatne zahteve za dokumentiranje meritev pri odsekovnih merilnikih hitrosti)/article (additional requirements for documenting measurements at sectional speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Odsekovni merilniki hitrosti morajo dokumentirati merjeno vozilo na vstopni in izstopni točki merilnega odseka. Sectional speedometers must document the measured vehicle at the entry and exit point of the measuring section. |  |  |  |
|  |  | (2) Dokumentirana meritev hitrosti pri merjenju na odsekovnem merilniku hitrosti mora poleg zahtev iz 17. člena tega pravilnika vsebovati tudi: - trenutno omejitev hitrosti, - navedbo, kdaj je bila omejitev hitrosti nastavljena, če sistem omogoča spreminjanje omejitve hitrosti na odseku, - čas na vstopni točki, - čas na izstopni točki in - dolžino merilnega odseka. In addition to the requirements from Article 17 of these regulations, the documented speed measurement when measured on a sectional speedometer must also contain: - current speed limit, - an indication of when the speed limit was set, if the system allows - changing the speed limit on the section, - time at the entry point, - time at the exit point and - the length of the measuring section. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 23. člen (omejitev shranjevanja podatkov)/article (restriction of data storage)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Merilniki hitrosti lahko shranjujejo samo tiste dokumentirane meritve, ki vsebujejo informacije o prekoračitvi hitrosti, vožnji v rdečo luč, časovni razliki med voziloma ali so potrebne za dokazovanje pravilne postavitve in delovanja merilnika. Speedometers can store only those documented measurements that contain information about speeding, running a red light, time difference between two vehicles, or are necessary to prove the correct setting and operation of the meter. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 24. člen (označitev testnih meritev)/article(marking of test measurements)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Dokumentirane meritve, ki nastanejo zaradi preverjanja delovanja ali nastavljanja merilnika hitrosti, morajo biti jasno označene kot testni zapisi. Documented measurements resulting from speedometer performance checks or adjustments must be clearly labeled as test records. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 25. člen (merska enota in razdelek)/article(measurment unit and resolution)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti mora biti dovolj občutljiv in njegov prag odzivnosti mora biti dovolj nizek za predvideno merilno nalogo. The speedometer must be sufficiently sensitive and its response threshold must be low enough for the intended measurement task |  |  |  |
|  |  | (2) Merilnik hitrosti mora kazati in oziroma ali dokumentirati merilni rezultat z vrednostjo razdelka 1 km/h. The speedometer must show and or document the measurement result with a value of 1 km/h. |  |  |  |
|  |  | (3) Merska enota ali njen simbol morata biti navedena v neposredni bližini številčne vrednosti. The unit of measurement or its symbol must be indicated in the immediate vicinity of the numerical value. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 26. člen (zahteve za testni vmesnik)/article (requirements for the test interface)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilniki hitrosti morajo biti opremljeni s testnim vmesnikom, ki omogoča upravljanje merilnika hitrosti in pridobivanje podatkov oziroma signalov, potrebnih za izvedbo ugotavljanja skladnosti, overitev in meroslovnega nadzora. Speedometers must be equipped with a test interface that enables speedometer management and the acquisition of data or signals necessary for compliance assessment, verification and metrological control. |  |  |  |
|  |  | (2) Testni vmesnik mora omogočati dostop najmanj do naslednjih podatkov: - izmerjene hitrosti, - izmerjene oddaljenosti ali položaja merjenega vozila (za merilnike hitrosti, kjer princip merjenja to omogoča), - izmerjene lastne hitrosti merilnega vozila (za merilnike hitrosti, ki merijo iz premične točke), - enolične identifikacije merilnika hitrosti ter njegovih sestavnih delov, - identifikacije programske opreme merilnika hitrosti ter njene kontrolne vsote in - rezultata samopreverjanja. The test interface must allow access to at least the following data: - measured speeds, - measured distance or position of the measured vehicle (for speedometers, where the principle of measurement allows this), - measured own speeds of the measuring vehicle (for speedometers that measure from a moving point), - unique identification of the speedometer and its components, - identification of the speedometer software and its checksum and - self-check results. |  |  |  |
|  |  | (3) Testni vmesnik mora biti zaščiten pred nepooblaščenimi posegi. The test interface must be protected against unauthorized interventions. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 27. člen (kosinusni pojav)/article (cosine effect)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Merilniki hitrosti lahko korigirajo vpliv kosinusnega pojava na izmerjeno hitrost vozila, ki nastane zaradi odmika merilne osi od smeri vožnje merjenega vozila. Speedometers can correct the influence of the cosine phenomenon on the measured speed of the vehicle, which is caused by the deviation of the measuring axis from the direction of travel of the measured vehicle. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

III. DODATNE ZAHTEVE ZA POSAMEZNE VRSTE MERILNIKOV HITROSTI/ III. ADDITIONAL REQUIREMENTS FOR CERTAIN TYPES OF SPEEDOMETERS

## 28. člen (dodatne zahteve za merilnike hitrosti, ki merijo iz premične točke)/article (additional requirements for speedometers that measure from a movable point)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilniki hitrosti, ki merijo iz premične točke, morajo pri merjenju hitrosti upoštevati tudi hitrost premične točke oziroma merilnega vozila. Speedometers that measure from a moving point must also take into account the speed of the moving point or the measuring vehicle when measuring speed. |  |  |  |
|  |  | (2) Hitrost merilnega vozila se določi na podlagi direktne meritve hitrosti vozila glede na okolico ali na podlagi zaznavala gibanja, ki je namensko in neposredno priključeno na merilnik hitrosti. The speed of the measuring vehicle is determined on the basis of a direct measurement of the speed of the vehicle in relation to the surroundings or on the basis of a motion sensor that is specifically and directly connected to the speedometer. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 29. člen (dodatne zahteve za radarske merilnike hitrosti, ki merijo posamezno vozilo)/article (additional requirements for radar speed meters that measure an individual vehicle)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Posamezna nosilna frekvenca radarskega merilnika hitrosti, ki meri posamezno vozilo, ne sme odstopati več kot ± 0,15 % od nazivne vrednosti, ki jo določi proizvajalec. The individual carrier frequency of a radar speedometer measuring an individual vehicle must not deviate by more than ± 0.15% from the nominal value determined by the manufacturer. |  |  |  |
|  |  | (2) Širina merilnega snopa radarskega merilnika hitrosti, ki meri posamezno vozilo, ne sme presegati širine snopa, ki jo določi proizvajalec. The width of the measuring beam of the radar speedometer that measures an individual vehicle must not exceed the beam width specified by the manufacturer. |  |  |  |
|  |  | (3) Središčnica merilnega snopa antene radarskega merilnika hitrosti, ki meri posamezno vozilo, ne sme odstopati več kot ± 1° od središčnice antene. The centerline of the measuring beam of the radar speed meter antenna measuring an individual vehicle must not deviate by more than ± 1° from the centerline of the antenna. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 29.a člen (dodatne zahteve za radarske merilnike hitrosti, ki merijo več vozil hkrati)/article (additional requirements for radar speed meters that measure several vehicles at the same time)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Radarski merilniki hitrosti, ki merijo več vozil hkrati, morajo za potrebe laboratorijskega preskušanja in preskušanja na terenu prikazati položaj in oddaljenost merjenega vozila od merilnika hitrosti. Radar speedometers that measure multiple vehicles at the same time must display the position and distance of the measured vehicle from the speedometer for the purposes of laboratory testing and field testing. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 30. člen (dodatne zahteve za laserske merilnike hitrosti, ki merijo posamezno vozilo)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Frekvenca oddanih pulzov laserskega merilnika hitrosti, ki meri posamezno vozilo, ne sme odstopati več kot ± 1 % od nazivne vrednosti, ki jo določi proizvajalec. The frequency of transmitted pulses of the laser speedometer measuring an individual vehicle must not deviate by more than ± 1% from the nominal value determined by the manufacturer. |  |  |  |
|  |  | (2) Laserski merilnik hitrosti, ki meri posamezno vozilo, mora prikazati oddaljenost merjenega vozila z razdelkom največ 0,1 m. Izmerjena oddaljenost merjenega vozila ne sme odstopati več kot ± 0,2 m od prave vrednosti pri oddaljenosti do 50 m oziroma 0,4 % pri razdaljah večjih od 50 m. A laser speedometer that measures an individual vehicle must display the distance of the measured vehicle with a section of no more than 0.1 m. The measured distance of the measured vehicle must not deviate by more than ± 0.2 m from the true value at a distance of up to 50 m, or 0.4% at distances greater than 50 m. |  |  |  |
|  |  | (3) Največja dopustna oddaljenost merjenega vozila pri meritvah z laserskim merilnikom hitrosti, ki meri posamezno vozilo, je 1000 m. The maximum permissible distance of the measured vehicle in measurements with a laser speedometer that measures an individual vehicle is 1000 m. |  |  |  |
|  |  | (4) Največji dopustni prostorski kot merilnega snopa laserskega merilnika hitrosti, ki meri posamezno vozilo, v vodoravni in navpični smeri je 3 mrad. The maximum admissible spatial angle of the measurement beam of the laser speedometer, which measures an individual vehicle, in the horizontal and vertical directions is 3 mrad. |  |  |  |
|  |  | (5) Oblika merka laserskega merilnika hitrosti, ki meri posamezno vozilo, mora jasno prikazati mejo 3 mrad. The target shape of the laser speedometer that measures the individual vehicle must clearly show the 3 mrad limit. |  |  |  |
|  |  | (6) Merek laserskega merilnika hitrosti, ki meri posamezno vozilo, mora biti jasno viden s prostim očesom in z merilno opremo za pregledovanje poravnave merka in merilnega snopa. The target of the laser speedometer that measures the individual vehicle must be clearly visible to the naked eye and to the measuring equipment for checking the alignment of the target and the measuring beam. |  |  |  |
|  |  | (7) Merilni snop laserskega merilnika hitrosti, ki meri posamezno vozilo, se mora v celoti nahajati znotraj mej merka. The measuring beam of the laser speedometer, which measures an individual vehicle, must be entirely located within the limits of the meter. |  |  |  |
|  |  | (8) Laserski merilniki hitrosti, ki merijo posamezno vozilo, morajo biti za meritve hitrosti merjenega vozila na oddaljenosti od 300 m do 600 m opremljeni najmanj z dvakratno povečavo vidnega polja merka, za meritve na oddaljenost nad 600 m pa najmanj s trikratno povečavo vidnega polja merka. Povečava je lahko vgrajena v merilnik hitrosti oziroma izvedena kot ločen nastavek, ki se lahko namesti ali odstrani z merilnika hitrosti. V primeru ločenega nastavka mora nastavek nositi enako serijsko številko kot merilnik hitrosti. Laser speedometers that measure an individual vehicle must be equipped with at least a two-fold magnification of the field of view for measuring the speed of the measured vehicle at a distance of 300 m to 600 m, and at least a three-fold magnification of the field of view for measurements at a distance of over 600 m measure. The magnification can be built into the speedometer or implemented as a separate attachment that can be installed or removed from the speedometer. In the case of a separate attachment, the attachment must bear the same serial number as the speedometer. |  |  |  |
|  |  | (9) Laserski merilnik hitrosti, ki meri posamezno vozilo, mora omogočati preskus merjenja hitrosti z vrednostjo 0 km/h pri nepremično postavljeni tarči. A laser speedometer that measures an individual vehicle must allow a speed measurement test with a value of 0 km/h with a stationary target. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 30.a člen (dodatne zahteve za laserske merilnike hitrosti, ki merijo več vozil hkrati)/article  (additional requirements for laser speedometers that measure several vehicles at the same time)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Laserski merilniki hitrosti, ki merijo več vozil hkrati, morajo za potrebe laboratorijskega preskušanja in preskušanja na terenu prikazati položaj in oddaljenost merjenega vozila od merilnika hitrosti. Laser speedometers that measure multiple vehicles at the same time must display the position and distance of the measured vehicle from the speedometer for the purposes of laboratory testing and field testing. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 31. člen (dodatne zahteve za detekcijske merilnike hitrosti)/article (additional requirements for detection speed meters)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Razdalja med posameznimi detektorji položaja vozila pri detekcijskih merilnikih hitrosti je lahko največ 5 m. The distance between individual vehicle position detectors for speedometer detection can be a maximum of 5 m. |  |  |  |
|  |  | (2) Detektorji položaja vozila pri detekcijskih merilnikih hitrosti morajo uporabljati isti časovni vir. The vehicle position detectors in the detection speedometers must use the same time source. |  |  |  |
|  |  | (3) Detekcijski merilnik hitrosti mora izračunati hitrost na podlagi aritmetične srednje vrednosti vsaj dveh neodvisno izmerjenih vrednosti hitrosti. Razlika med posameznimi neodvisno izmerjenimi hitrostmi in aritmetično vrednostjo ne sme biti večja od NDP. The detection speedometer must calculate the speed based on the arithmetic mean of at least two independently measured speed values. The difference between individual independently measured speeds and the arithmetic value must not be greater than the MPE. |  |  |  |
|  |  | (4) Absolutna razlika med dejansko razdaljo med detektorjema položaja vozila in razdaljo, ki jo pri meritvi upošteva detekcijski merilnik hitrosti, ne sme biti večja od 0,5% te razdalje. The absolute difference between the actual distance between the two vehicle position detectors and the distance taken into account by the detection speedometer during measurement must not be greater than 0.5% of this distance. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 32. člen (dodatne zahteve za odsekovne merilnike hitrosti)/ (additional requirements for sectional speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Če odsekovni merilnik hitrosti v vstopni in izstopni točki uporablja različna časovna vira, morata biti časovna vira sinhronizirana. If the sectional speedometer uses different time sources at the entry and exit points, the two time sources must be synchronized. |  |  |  |
|  |  | (2) Če se časovna sinhronizacija vstopne in izstopne točke odsekovnega merilnika hitrosti prekine, mora biti izvajanje meritev samodejno prekinjeno. If the time synchronization of the entry and exit points of the sectional speedometer is interrupted, the execution of measurements must be automatically interrupted. |  |  |  |
|  |  | (3) Dolžina merilnega odseka odsekovnega merilnika hitrosti mora znašati vsaj 500 m. The length of the measuring section of the sectional speedometer must be at least 500 m. |  |  |  |
|  |  | (4) Odsekovni merilnik hitrosti mora pri izstopu merjenega vozila iz merilnega odseka upoštevati omejitev hitrosti na odseku, ki je veljala ob vstopu vozila na odsek. When the measured vehicle exits the measuring section, the section speedometer must take into account the speed limit on the section that was in effect when the vehicle entered the section. |  |  |  |
|  |  | (5) Začetek in konec merilnega odseka mora biti označen z odsevnim trakom prečno čez celo cestišče ter z merskimi klini ob cestišču. Odsevni trak mora biti viden na dokumentirani meritvi skupaj z merjenim vozilom. The beginning and end of the measuring section must be marked with reflective tape across the entire road surface and with measuring wedges along the road surface. The reflective tape must be visible on the documented measurement together with the measured vehicle. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 33. člen (zahteve za merilnike hitrosti na podlagi sledenja)/article (requirements for tracking-based speedometers)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti na podlagi sledenja morajo ves čas merjenja snemati merjeno vozilo. Tracking-based speedometers must record the measured vehicle throughout the measurement period. |  |  |  |
|  |  | (2) Merilnik hitrosti na podlagi sledenja morajo beležiti optične nastavitve kamere. Optične nastavitve morajo biti na koncu merjenja enake kot na začetku merjenja. The tracking based speedometer must record the optical settings of the camera. The optical settings must be the same at the end of the measurement as at the beginning of the measurement. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

IV. DODATNE FUNKCIONALNOSTI MERILNIKOV HITROSTI/ IV. ADDITIONAL SPEEDOMETER FUNCTIONALITIES

## 34. člen (splošna določba o dodatnih funkcionalnosti merilnika hitrosti)/article (general provision on additional functionalities of the speedometer)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Merilniki hitrosti lahko opravljajo tudi dodatne funkcije, ki so povezane z merjenjem hitrosti. Speedometers can also perform additional functions related to speed measurement. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 35. člen (funkcionalnost ugotavljanja vožnje v rdečo luč)/ (red light detection functionality)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti ugotavlja vožnjo v rdečo luč na podlagi izmerjene hitrosti merjenega vozila in časa prehoda merjenega vozila preko stop črte. The speedometer detects driving through a red light based on the measured speed of the measured vehicle and the time it takes for the measured vehicle to cross the stop line. |  |  |  |
|  |  | (2) Merilnik hitrosti dokumentira vožnjo v rdečo luč na podlagi dveh slikovnih zapisov. Prvi slikovni zapis mora prikazovati merjeno vozilo pred stop črto, drugi mora prikazovati merjeno vozilo po prevoženi stop črti. Na obeh slikovnih zapisih mora biti poleg merjenega vozila vidna prižgana rdeča luč na semaforju. The speedometer documents running a red light on the basis of two image records. The first image record must show the measured vehicle before the stop line, the second must show the measured vehicle after the stop line has been driven. On both image records, next to the measured vehicle, a lit red light at the traffic light must be visible. |  |  |  |
|  |  | (3) Na slikovnih zapisih iz prejšnjega odstavka mora biti naveden čas nastanka slike. Vsaj na enem slikovnem zapisu mora biti naveden čas, ko je merjeno vozilo prevozilo stop črto in čas, ko se je prižgala rdeča luč na semaforju. Časi morajo biti podani z ločljivostjo 0,01 s. The time when the image was created must be indicated on the image records from the previous paragraph. At least one image record must show the time when the measured vehicle crossed the stop line and the time when the red light on the traffic light came on. Times must be given with a resolution of 0.01 s. |  |  |  |
|  |  | (4) Pri ugotavljanju vožnje v rdečo luč se upošteva varnostna razlika 0,5 s v korist merjenega vozila glede na čas vklopa rdeče luči. When determining driving into a red light, a safety difference of 0.5 sv in favor of the measured vehicle is taken into account in relation to the time the red light was switched on. |  |  |  |
|  |  | (5) Pri overitvah se s simulacijo preveri ustreznost registracije vožnje v rdečo luč pri dveh časih vožnje v rdečo luč, pri čemer je en čas krajši od 0,5 s in drugi daljši od 0,5 s. When determining driving into a red light, a safety difference of 0.5 sv in favor of the measured vehicle is taken into account in relation to the time the red light was switched on. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 36. člen (funkcionalnost določanja časovne razlike med voziloma v prometu)/article (functionality of determining the time difference between two vehicles in traffic)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti določa časovno razliko med merjenima voziloma v prometu na podlagi izmerjene hitrosti, oddaljenosti od merilnika hitrosti ter časa meritve hitrosti prvega in drugega vozila. The speedometer determines the time difference between the two measured vehicles in traffic based on the measured speed, the distance from the speedometer and the speed measurement time of the first and second vehicle. |  |  |  |
|  |  | (2) Merilnik hitrosti dokumentira časovno razliko med merjenima voziloma v prometu na podlagi najmanj enega slikovnega zapisa, ki nastane pri meritvi hitrosti prvega in drugega merjenega vozila. Vsaj na enem slikovnem zapisu mora biti poleg časovne razlike med merjenima voziloma navedena še hitrost obeh merjenih vozil, oddaljenost obeh merjenih vozil od merilnika hitrosti in čas meritve obeh merjenih vozil. The speedometer documents the time difference between the two measured vehicles in traffic on the basis of at least one image record, which is created when the speed of the first and second measured vehicle is measured. In addition to the time difference between the two measured vehicles, the speed of the two measured vehicles, the distance of the two measured vehicles from the speedometer and the measurement time of the two measured vehicles must also be indicated on at least one image record. |  |  |  |
|  |  | (3) Pri določanju časovne razlike med merjenima voziloma v prometu se upošteva varnostna razlika v korist drugega merjenega vozila 0,15 s. When determining the time difference between the two measured vehicles in traffic, a safety difference of 0.15 s in favor of the second measured vehicle is taken into account. |  |  |  |
|  |  | (4) Pri overitvi se s simulacijo funkcionalno preveri določanje časovne razlike med merjenima voziloma, pri čemer se izbere hitrost za obe merjeni vozili enkrat do 100 km/h in drugič nad 100 km/h. During verification, the determination of the time difference between the two measured vehicles is functionally verified by simulation, whereby the speed for both measured vehicles is selected once up to 100 km/h and a second time above 100 km/h. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

V. NAPISI IN OZNAKE/ V. INSCRIPTIONS AND MARKS

## 37. člen (napisna ploščica)/article (labels)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Merilnik hitrosti mora imeti na vidnem mestu nameščeno napisno ploščico z naslednjimi podatki: - firmo oziroma ime ali znak proizvajalca, - vrsto in tip merilnika hitrosti, - uradno oznako odobritve tipa merila, - tovarniško številko in leto proizvodnje, - merilno območje za hitrost, - območje okoljskih temperatur, v katerem se uporablja merilnik hitrosti, - vrednost oziroma območje vrednosti napajalne napetosti in omrežne frekvence in - druge omejitve, ki lahko vplivajo na delovanje merilnika hitrosti in so določene z odobritvijo tipa merilnika hitrosti. The speedometer must have a nameplate with the following information installed in a visible place: - the company or name or mark of the manufacturer, - type and type of speedometer, - the official mark of type approval of the criterion, - factory number and year of production, - measuring range for speed, - the ambient temperature range in which the speedometer is used, - the value or range of supply voltage and network frequency values and - other restrictions that may affect the operation of the speedometer and are determined by the speedometer type approval. |  |  |  |
|  |  | (2) Napisi na merilniku hitrosti morajo biti v slovenskem jeziku ali podani na način, da je zagotovljena ustrezna informiranost vseh uporabnikov merilnika hitrosti. The inscriptions on the speedometer must be in the Slovenian language or given in such a way that adequate information is ensured for all users of the speedometer. |  |  |  |
|  |  | (3) Oznake in napisi iz prvega odstavka morajo biti jasni, neizbrisljivi, nedvoumni in neprenosljivi. The signs and inscriptions from the first paragraph must be clear, indelible, unambiguous and non-transferable. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 37.a člen (dodatne oznake)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Urad Republike Slovenije za meroslovje lahko na merilnike hitrosti za njihovo prepoznavanje v postopkih overitev namesti dodatne identifikacijske oznake. The Office of Metrology of the Republic of Slovenia may place additional identification marks on speedometers for their identification in verification procedures. |  |  |  |
|  |  | (2) Imetniki merilnikov hitrosti oznak iz prejšnjega odstavka ne smejo odstraniti. Holders of speedometers may not remove the markings from the previous paragraph. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 38. člen (Navodila za uporabo)/article (Instructions for use)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Navodila za uporabo morajo obsegati: - navedbo načina delovanja, - opis sestavnih delov merilnika hitrosti, - delovne pogoje za uporabo merilnika hitrosti, - opis uporabe merilnika hitrosti, - postopek postavitve merilnika hitrosti in opis, kako postavitev vpliva na izmerjeno hitrost,če je to potrebno, in - postopek samopreverjanja delovanja merilnika hitrosti v zvezi z zahtevami iz 14. člena tega pravilnika. Instructions for use must include: - indication of the mode of operation, - description of the components of the speedometer, - working conditions for using the speedometer, - description of the use of the speedometer, - the procedure for setting up the speedometer and a description of how the setting affects the measured speed, if necessary, and - the procedure for self-checking the operation of the speedometer in relation to the requirements from Article 14 of these regulations. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

VI. UGOTAVLJANJE SKLADNOSTI/ VI. DETERMINATION OF COMPLIANCE

## 39.a člen (posebna merilna oprema ter dostop do merila)/article  (special measuring equipment and access to the measuring device)

| # | Podroben opis/Detailed Description |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Če je za preskušanje merilnika hitrosti v okviru postopkov ugotavljanja skladnosti in overitev, ki jih vodi Urad Republike Slovenije za meroslovje, treba uporabiti namensko razvito strojno opremo, programsko opremo, priključne kable ali vmesnike, ki niso prosto dostopni na trgu ali pa so zaščiteni s pravicami intelektualne lastnine, mora proizvajalec to opremo priskrbeti in jo prepustiti v brezplačno rabo Uradu Republike Slovenije za meroslovje. If it is necessary to use specially developed hardware, software, connection cables or interfaces that are not freely available on the market or that are protected by intellectual property rights, the manufacturer must provide this equipment and leave it for free use to the Office of the Republic of Slovenia for Metrology. |  |  |  |
|  |  | (2) Proizvajalec mora Uradu Republike Slovenije za meroslovje v postopkih iz prejšnjega odstavka zagotoviti najvišji nivo uporabniškega dostopa do programske opreme, ki ga ima proizvajalec, ter prost dostop do strojne opreme merilnika hitrosti. The manufacturer must provide the Office of the Republic of Slovenia for Metrology in the procedures from the previous paragraph with the highest level of user access to the software that the manufacturer has, as well as free access to the hardware of the speedometer. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 40. člen (odobritev tipa)/article (type approval)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) V postopku odobritve tipa merila se s pregledom dokumentacije, vzorca tipa merila in preskusi ugotavlja, ali merilnik hitrosti izpolnjuje zahteve iz II., III., IV. in V. poglavja tega pravilnika. In the process of approval of the meter type, it is established by reviewing the documentation, sample of the meter type and tests, whether the speed meter meets the requirements from II., III., IV. and Chapter V of this regulation. |  |  |  |
|  |  | (2) Pregledi in preskusi za pregled izpolnjevanja zahtev iz 8. člena tega pravilnika se opravijo na način in pri pogojih, kot jih določa OIML D11. Inspections and tests to check compliance with the requirements from Article 8 of these regulations are carried out in the manner and under the conditions specified by OIML D11. |  |  |  |
|  |  | (3) Pregledi in preskusi za pregled izpolnjevanje zahtev tega pravilnika glede programske opreme merilnika hitrosti se opravijo na način in pri pogojih, kot jih določa vodilo WELMEC 7.2 Evropskega združenja za zakonsko meroslovje (v nadaljnjem besedilu: WELMEC 7.2) za merila s stopnjo tveganja »D«, ki je dosegljiv na spletni strani Evropskega združenja za zakonsko meroslovje. Inspections and tests to check compliance with the requirements of this regulation regarding speedometer software are carried out in the manner and under the conditions specified by the WELMEC 7.2 guide of the European Association for Legal Metrology (hereinafter: WELMEC 7.2) for criteria with a level of risk » D", which is available on the website of the European Association for Legal Metrology. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 41. člen (tuja preskusna poročila)/article (foreign test reports)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Za dokazovanje izpolnjevanja zahtev v postopku odobritve tipa iz tega pravilnika se v skladu s predpisom, ki ureja način ugotavljanja skladnosti za posamezne vrste merilnih instrumentov, priznajo,, tudi preskusna poročila na podlagi zahtev OIML D11 ali WELMEC 7.2, ki jih je izdal organ za ugotavljanje skladnosti, akreditiran za ustrezno področje ugotavljanja skladnosti v zvezi z Uredbo (ES) št. 765/2008 Evropskega parlamenta in Sveta z dne 9. julija 2008 o določitvi zahtev za akreditacijo in nadzor trga v zvezi s trženjem proizvodov ter razveljavitvi Uredbe (EGS) št. 339/93 (UL L št. 218 z dne 13. 8. 2008, str. 30) ali pristojni organ za odobritve tipa merilnikov hitrosti v državi članici EU. In order to prove the fulfillment of the requirements in the type approval procedure from this rulebook, in accordance with the regulation governing the method of determining conformity for individual types of measuring instruments, test reports based on the requirements of OIML D11 or WELMEC 7.2, issued by the determination authority, are also recognized conformity assessment accredited for the relevant field of conformity assessment in relation to Regulation (EC) no. 765/2008 of the European Parliament and the Council of July 9, 2008 on the determination of requirements for accreditation and market control in relation to the marketing of products and the repeal of Regulation (EEC) no. 339/93 (OJ L No. 218 of 13/08/2008, p. 30) or the competent authority for speedometer type approvals in an EU member state. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 42. člen (prva overitev)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Postopek pregleda in preskusa merilnika hitrosti pri prvi overitvi obsega: - posebne preskuse za posamezno vrsto merilnikov hitrosti na podlagi 44. do 49. člena tega pravilnika, - druge preskuse, če je tako določeno z odobritvijo tipa merilnika hitrosti. The speedometer inspection and test procedure for the first verification includes: - special tests for each type of speedometer based on Articles 44 to 49 of these regulations, - other tests if so specified by the speedometer type approval. |  |  |  |
|  |  | (2) V primeru dvoma o skladnosti merilnika hitrosti z zahtevami tega pravilnika se lahko za potrditev izpolnjevanja zahtev poleg preskusov, določenih v prejšnjem odstavku, izvedejo še drugi pregledi in preskusi. In case of doubt about the compliance of the speedometer with the requirements of this regulation, in addition to the tests specified in the previous paragraph, other inspections and tests may be carried out to confirm compliance with the requirements. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 44. člen (posebni preskusi za radarske merilnike hitrosti)/article (special tests for radar speed meters)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Za radarske merilnike hitrosti se izvede preskus merilne točnosti glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu v najmanj treh merilnih točkah ali glede na zahteve iz 6. člena tega pravilnika z laboratorijskim preskušanjem v najmanj desetih merilnih točkah. For radar speedometers, the measurement accuracy test shall be carried out in accordance with the requirements from Article 5 of this rulebook with field testing in at least three measurement points or in accordance with the requirements in Article 6 of this rulebook with laboratory testing in at least ten measurement points. |  |  |  |
|  |  | (2) Pri preskusu točnosti radarskega merilnika hitrosti se hkrati preveri delovanje oddajnega in sprejemnega dela antene. When testing the accuracy of the radar speedometer, the operation of the transmitting and receiving parts of the antenna is checked at the same time. |  |  |  |
|  |  | (3) Za radarske merilnike hitrosti, ki merijo posamezno vozilo, se preveri izpolnjevanje zahtev iz 7. člena tega pravilnika. For radar speedometers that measure an individual vehicle, compliance with the requirements from Article 7 of these regulations is checked. |  |  |  |
|  |  | (4) Širina merilnega snopa se pri radarskih merilnikih hitrosti, ki merijo posamezno vozilo, preveri pri naslednjih pogojih: - pri slabljenju –3 dB glede na največjo vrednost moči oddanega signala ter - na podlagi pregleda izrisanega celotnega sevalnega diagrama antene relativno od –45° do +45°, kjer morajo biti ostali vrhovi merilnega snopa oslabljeni vsaj za –15 dB glede na osnovni signal. The width of the measuring beam is checked in the case of radar speed meters that measure an individual vehicle under the following conditions: - in the case of attenuation of –3 dB in relation to the maximum power value of the transmitted signal and - on the basis of an inspection of the entire radiation diagram of the antenna, relatively from -45° to +45°, where the other peaks of the measurement beam must be weakened by at least -15 dB compared to the basic signal. |  |  |  |
|  |  | (5) Za radarske merilnike hitrosti, ki merijo več vozil hkrati, se preveri pravilnost določanja položaja vozila iz 29.a člena tega pravilnika. For radar speedometers that measure several vehicles at the same time, the correctness of determining the position of the vehicle from Article 29a of this rulebook shall be checked. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 45. člen (posebni preskusi za laserske merilnike hitrosti)/article (special tests for laser speedometers

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Za laserske merilnike hitrosti se izvede preskus merilne točnosti glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu v najmanj treh merilnih točkah ali glede na zahteve iz 6. člena tega pravilnika z laboratorijskim preskušanjem v najmanj desetih merilnih točkah. For laser speedometers, a measurement accuracy test is performed in accordance with the requirements from Article 5 of these regulations with field testing in at least three measurement points or in accordance with the requirements in Article 6 of these regulations with laboratory testing in at least ten measurement points. |  |  |  |
|  |  | (2) Za laserske merilnike hitrosti, ki merijo posamezno vozilo, se preveri izpolnjevanje zahtev prvega, drugega, četrtega in sedmega odstavka 30. člena tega pravilnika. For laser speedometers that measure an individual vehicle, compliance with the requirements of the first, second, fourth and seventh paragraphs of Article 30 of these regulations shall be verified. |  |  |  |
|  |  | (3) Za laserske merilnike hitrosti, ki merijo več vozil hkrati, se preveri pravilnost določanja položaja vozila iz 30.a člena tega pravilnika. For laser speedometers that measure several vehicles at the same time, the correctness of determining the position of the vehicle from Article 30a of these regulations shall be checked. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 46. člen (posebni preskusi za detekcijske merilnike hitrosti)/article (special tests for detection speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Za detekcijske merilnike hitrosti se izvede preskus merilne točnosti glede na zahteve iz 6. člena tega pravilnika z laboratorijskim preskušanjem v najmanj desetih merilnih točkah ali glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu v treh merilnih točkah s preskusom v celoti vgrajenega detekcijskega merilnika hitrosti z vožnjo vozila. Preskušanje na terenu mora biti izvedeno uspešno v treh merilnih točkah in se lahko izvede z največ petimi vožnjami, pri čemer morajo biti tri meritve uspešne. Če tovrstno preskušanje po petih vožnjah ni uspešno, se preskus zaradi neustrezne pripravljenosti merilnika prekine. For detection speedometers, a measurement accuracy test is carried out in accordance with the requirements from Article 6 of these regulations with a laboratory test in at least ten measurement points or in accordance with the requirements in Article 5 of these regulations with a field test at three measurement points with a test in fully integrated detection speedometer with vehicle driving. The field test must be carried out successfully at three measurement points and can be carried out with a maximum of five runs, with three measurements being successful. If this type of testing is not successful after five runs, the test is terminated due to insufficient readiness of the meter. |  |  |  |
|  |  | (2) Za detekcijske merilnike hitrosti, ki imajo detektorje položaja vgrajene v cestišče, se mora izvesti preskušanje na terenu. For detection speedometers that have position detectors built into the road surface, a field test must be performed. |  |  |  |
|  |  | (3) Za detekcijske merilnike hitrosti je potrebno preveriti izpolnjevanje zahtev prvega in četrtega odstavka 31. člena tega pravilnika. For detection speedometers, it is necessary to check the fulfillment of the requirements of the first and fourth paragraphs of Article 31 of these regulations. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 47. člen (posebni preskusi za odsekovne merilnike hitrosti)/ article (special tests for sectional speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | (1) Za odsekovne merilnike hitrosti se izvede preskus merilne točnosti glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu v treh merilnih točkah s preskusom v celoti vgrajenega odsekovnega merilnika hitrosti z vožnjo vozila. Preskušanje na terenu mora biti izvedeno uspešno v treh merilnih točkah in se lahko izvede z največ petimi vožnjami, pri čemer morajo biti tri meritve uspešne. Če tovrstno preskušanje po petih vožnjah ni uspešno, se preskus zaradi neustrezne pripravljenosti merilnika prekine. For sectional speedometers, a measurement accuracy test is carried out in accordance with the requirements from Article 5 of these regulations by field testing at three measuring points with a test of the fully installed sectional speedometer by driving the vehicle. The field test must be carried out successfully at three measurement points and can be carried out with a maximum of five runs, with three measurements being successful. If this type of testing is not successful after five runs, the test is terminated due to inadequate readiness of the meter. |  |  |  |
|  |  | (2) Za odsekovne merilnike hitrosti se preveri izpolnjevanje zahtev petega odstavka 32. člena tega pravilnika. For sectional speedometers, compliance with the requirements of the fifth paragraph of Article 32 of these regulations shall be checked. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 48. člen (posebni preskusi za merilnike hitrosti na podlagi sledenja)/ article (Special tests for tracking-based speedometers)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Za merilnike hitrosti na podlagi sledenja se izvede preskus merilne točnosti glede na zahteve iz 6. člena tega pravilnika z laboratorijskim preskušanjem pri najmanj desetih lastnih hitrostih ali glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu pri najmanj eni lastni hitrosti na podlagi vožnje merilnega vozila s konstantno hitrostjo, brez začetnega in končnega ustavljanja merilnega vozila. For speedometers based on tracking, the measurement accuracy test is performed according to the requirements from Article 6 of this rulebook with laboratory testing at at least ten own speeds or according to the requirements from Article 5 of this rulebook with field testing at at least one own speed based on driving of the measuring vehicle at a constant speed, without initial and final stopping of the measuring vehicle. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

## 49. člen (posebni preskusi za merilnike hitrosti, ki merijo iz premične točke, razen za merilnike na podlagi sledenja)/article  (special tests for speedometers that measure from a moving point, except for tracking-based meters)

| # | Zahteva/Requirement |  | Podroben opis/Detailed Description | OK | X |
| --- | --- | --- | --- | --- | --- |
|  |  | Za merilnike hitrosti, ki merijo iz premične točke, razen za merilnike hitrosti na podlagi sledenja, se ločeno izvedejo preskusi merilne točnosti merjenja hitrosti merjenega vozila in merjenja lastne hitrosti merilnega vozila glede na zahteve iz 6. člena tega pravilnika z laboratorijskim preskušanjem v 10 merilnih točkah ali glede na zahteve iz 5. člena tega pravilnika s preskušanjem na terenu v najmanj treh točkah. For speedometers that measure from a moving point, except for speedometers based on tracking, tests of the measurement accuracy of the speed measurement of the measured vehicle and the measurement of the measuring vehicle's own speed are carried out separately according to the requirements from Article 6 of this regulation with laboratory testing at 10 measurement points or according to the requirements from Article 5 of these regulations by testing in the field in at least three points. |  |  |  |

Dodatni opis, dokazila ali pripombe/Additional description, proofs or remarks:

# Ostalo/Other