Seznam prepoznane referenčne dokumentacije po področjih

**Stanje na 1. oktober 2020**

Priloga [Praktičnih smernic 1.05: Uporaba splošne referenčne dokumentacije v upravnih postopkih](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/prakticne_smernice/PS_1.05_01.pdf)

Seznam je dodatek k Praktičnim smernicam PS 1.05 in vključuje osnovne zakonodajne predpise, dokumente, standarde in ostalo referenčno dokumentacijo, razvrščeno po področjih jedrske in sevalne varnosti, ki jo je ali pa jo lahko poleg domače zakonodaje pri odločanju o vlogah upravljavca URSJV upošteva kot referenčno dokumentacijo. **Načeloma se upoštevajo vedno zadnje veljavne revizije navedenih dokumentov, razen če ni dogovorjeno drugače oziroma v primeru, da zadnja veljavna revizija dokumenta ni uporabna za obstoječi objekt.**

Seznam referenčne dokumentacije ni popoln in tudi ne pokriva prav vseh področij jedrske in sevalne varnosti. Ker je seznam tudi izredno obsežen, ne moremo stalno zagotavljati, da je prav vsak, v njem naveden dokument, primeren za uporabo v konkretnem upravnem postopku. Seznam je zato zgolj v pomoč pri izbiri ustrezne referenčne dokumentacije v skladu s priporočili Praktičnih smernic 1.05.

**Seznam periodično obnavljamo oziroma dopolnjujemo glede na nove zahteve zakonodaje, novih standardov in ostale referenčne dokumentacije.**

KAZALO

[1 Zakonodaja 3](#_Toc52456920)

[1.1 Projekt objekta 3](#_Toc52456921)

[1.2 Stanje SSK 3](#_Toc52456922)

[1.3 Kvalifikacija opreme 4](#_Toc52456923)

[1.4 Staranje objekta 4](#_Toc52456924)

[1.5 Varnostne analize 5](#_Toc52456925)

[1.6 Uporaba obratovalnih izkušnj ter obratovalni kazalniki objekta 5](#_Toc52456926)

[1.7 Sistemi vodenja in organiziranosti upravljalca 5](#_Toc52456927)

[1.8 Varnostna kultura 6](#_Toc52456928)

[1.9 Obratovanje objekta in pisni postopki 6](#_Toc52456929)

[1.10 Človeški faktor 7](#_Toc52456930)

[1.11 Načrt zaščite in reševanja ob izrednem dogodku 7](#_Toc52456931)

[1.12 Varstvo pred sevanji 8](#_Toc52456932)

[1.13 Radiološki vplivi na okolje 10](#_Toc52456933)

[1.14 Ravnanje z radioaktivni odpadki in jedrskim gorivom 11](#_Toc52456934)

[1.15 Razgradnja 11](#_Toc52456935)

[1.16 Občasni varnostni pregled 12](#_Toc52456936)

[1.17 Jedrska in sevalna varnost varnost raziskovalnih reaktorjev 12](#_Toc52456937)

[1.18 Neširjenje jedrskega orožja in jedrsko varovanje 13](#_Toc52456938)

[1.19 Prevoz jedrskih in drugih radioaktivnih snovi 14](#_Toc52456939)

[2 Ostala referenčna dokumentacija 15](#_Toc52456940)

[2.1 Projekt objekta 15](#_Toc52456941)

[2.2 Seizmično projektiranje sistemov, struktur in komponent 22](#_Toc52456942)

[2.3 Stanje struktur, sistemov in komponent 25](#_Toc52456943)

[2.4 Kvalifikacija opreme 29](#_Toc52456944)

[2.5 Staranje objekta 32](#_Toc52456945)

[2.6 Varnostne analize 34](#_Toc52456946)

[2.7 Uporaba obratovalnih izkušnj ter obratovalni kazalniki objekta 46](#_Toc52456947)

[2.8 Sistem vodenja in organiziranosti 49](#_Toc52456948)

[2.9 Varnostna kultura 54](#_Toc52456949)

[2.10 Obratovanje objekta in pisni postopki 56](#_Toc52456950)

[2.11 Človeški faktor 59](#_Toc52456951)

[2.12 Načrt zaščite in reševanja ob izrednem dogodku 62](#_Toc52456952)

[2.13 Varstvo pred sevanji 66](#_Toc52456953)

[2.14 Radiološki vplivi na okolje 68](#_Toc52456954)

[2.15 Ravnanje z radioaktivni odpadki in jedrskim gorivom 69](#_Toc52456955)

[2.16 Razgradnja jedrskih objektov 73](#_Toc52456956)

[2.17 Občasni varnostni pregled 74](#_Toc52456957)

[2.18 Jedrska in sevalna varnost raziskovalnih reaktorjev 79](#_Toc52456958)

[2.19 Neširjenje jedrskega orožja in jedrsko varovanje 81](#_Toc52456959)

[2.20 Prevoz jedrskih in drugih radioaktivnih snovi 84](#_Toc52456960)

# Zakonodaja

## Projekt objekta

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

**Praktične smernice:**

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)
* Definicije stanj jedrskih objektov (PS 1.06)

## Stanje SSK

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Zakon o standardizaciji (Ur.l. RS, št. 59/1999)](http://www.uradni-list.si/1/content?id=20030)
* [Zakon o tehničnih zahtevah za proizvode in ugotavljanje skladnosti (Ur.l. RS, 99/2004)](http://www.uradni-list.si/1/content?id=51165)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)
* Vsebina in obseg občasnega varnostnega pregleda sevalnega ali jedrskega objekta (PS 1.01)

## Kvalifikacija opreme

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Staranje objekta

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Varnostne analize

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Zakon o varstvu pred požarom](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO302)  in podrejeni pravilniki
* [Pravilnik o proti eksplozijski zaščiti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ODRE215)  in podrejeni standardi
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)
* Definicije stanj jedrskih objektov (PS 1.06)

## Uporaba obratovalnih izkušnj ter obratovalni kazalniki objekta

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Sistemi vodenja in organiziranosti upravljalca

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)
* Vzpostavitev, uvedba, izvajanje in stalno izboljševanje celovitega sistema vodenja (PS 1.07)

## Varnostna kultura

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544) (ZVISJV-1)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih (JV4)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vzpostavitev, uvedba, izvajanje in stalno izboljševanje celovitega sistema vodenja (PS 1.07)

## Obratovanje objekta in pisni postopki

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih (JV4; Uradni list RS, št. 32, 2011)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)
* Definicije stanj jedrskih objektov (PS 1.06)

## Človeški faktor

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* Direktiva Sveta 2014/87/Euratom z dne 8. julija 2014 o spremembi Direktive 2009/71/Euratom o vzpostavitvi okvira Skupnosti za jedrsko varnost jedrskih objektov
* Direktiva Sveta 2009/71/Euratom z dne 25. junija 2009 o vzpostavitvi okvira Skupnosti za varnost jedrskih objektov
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Načrt zaščite in reševanja ob izrednem dogodku

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih (UV2)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)
* Državni načrt zaščite in reševanja ob jedrski ali radiološki nesreč
* COUNCIL DIRECTIVE 2013/59/EURATOM of 5 December 2013 laying down basicsafety standards for protection against the dangers arising from exposure to ionising radiation, and repealing Directives 89/618/Euratom, 90/641/Euratom, 96/29/Euratom, 97/43/Euratom and 2003/122/Euratom

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Varstvo pred sevanji

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067))
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)JV9)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih (JV4)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* [Uredba o sevalnih dejavnostih (UV1)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2714)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih (UV2)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)
* [Uredba o območjih omejene rabe prostora zaradi jedrskega objekta in o pogojih gradnje objektov na teh območjih (UV3](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED3286))
* Uredba o zmanjšanju izpostavljenosti zaradi naravnih radionuklidov in preteklih dejavnosti ali dogodkov (UV5)
* [Uredba o izvajanju uredb Sveta (ES) in uredb Komisije (ES) o radioaktivnem onesnaženju živil in krme](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED4174)
* Uredba o spremembah in dopolnitvah Uredbe o izvajanju uredb Sveta (ES) in uredb Komisije (ES) o radioaktivnem onesnaženju živil in krme
* [Pravilnik o ravnanju z radioaktivnimi odpadki in izrabljenim gorivom (JV7)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV7618)
* [Pravilnik o monitoringu radioaktivnosti (JV10)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV4511)
* [Pravilnik o uporabi virov sevanja in sevalni dejavnosti (SV2/JV2](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV4508))
* [Pravilnik o pogojih za uporabo virov ionizirajočih sevanj v zdravstvu (SV3)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV4561)
* Pravilnik o posebnih zahtevah varstva pred sevanji in načinu ocene doz
* Pravilnik o obveznostih izvajalca sevalne dejavnosti in imetnika vira ionizirajočih sevanj (SV8)
* Pravilnik o ukrepih varstva pred sevanji na nadzorovanih in opazovanih območjih (SV8A)
* [Pravilnik o fizičnem varovanju jedrskih objektov, jedrskih in radioaktivnih snovi ter prevozov jedrskih snovi](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV11336)
* [Pravilnik o največjih mejah radioaktivne kontaminacije človekovega okolja in o dekontaminaciji (ne uporabljajo se več določbe 1. do 15. člena) (Z9; SFRJ, št. 8/87)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/PodzakonskiAkti/stari_pravilniki/Z9_1.pdf)
* Zakon o trajnem prenehanju izkoriščanja uranove rude in preprečevanju posledic rudarjenja v Rudniku urana Žirovski vrh
* [Zakon o prevozu nevarnega blaga](http://www.uradni-list.si/1/content?id=72548)
* Sklep o objavi prilog A in B k Evropskemu sporazumu o mednarodnem cestnem prevozu nevarnega blaga (ADR)
* Resolucija o nacionalnem programu ravnanja z radioaktivnimi odpadki in izrabljenim gorivom za obdobje 2016–2025 (Uradni list RS, št. 31/16)Uredba Sveta (EGS) št. 737/90 z dne 22. marca 1990 o pogojih, ki urejajo uvoz kmetijskih proizvodov, ki izvirajo iz tretjih držav po nesreči v jedrski elektrarni Černobil
* Uredba Sveta (ES) št. 616/2000 z dne 20. marca 2000 o spremembi Uredbe (EGS) št. 737/90 o pogojih, ki urejajo uvoz kmetijskih proizvodov, ki izvirajo iz tretjih držav po nesreči v jedrski elektrarni Černobil
* Uredba Komisije (ES) št. 1609/2000 z dne 24. julija 2000 o določitvi seznama proizvodov, ki so izvzeti iz uporabe Uredbe Sveta (EGS) št. 737/90 o pogojih, ki urejajo uvoz kmetijskih proizvodov, ki izvirajo iz tretjih držav po nesreči v jedrski elektrarni Černobil
* Uredba Komisije (ES) št. 1635/2006 z dne 6. novembra 2006 o določitvi podrobnih pravil za uporabo Uredbe Sveta (EGS) št. 737/90 o pogojih, ki urejajo uvoz kmetijskih proizvodov, ki izvirajo iz tretjih držav po nesreči v jedrski elektrarni Černobil
* Izvedbena uredba Komisije (EU) št. 297/2011 z dne 25. marca 2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukušima
* Izvedbena uredba Komisije (EU) št. 351/2011 z dne z 11. aprila 2011 o spremembi Uredbe (EU) št. 297/2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukušima
* Popravek Izvedbene uredbe Komisije (EU) št. 351/2011 z dne z 11. aprila 2011 o spremembi Uredbe (EU) št. 297/2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukuima
* Izvedbena uredba Komisije (EU) št. 506/2011 z dne 23. maja 2011 o spremembi Uredbe (EU) št. 297/2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukušima
* Izvedbena uredba Komisije (EU) št. 657/2011 z dne 7. julija 2011 o spremembi Uredbe (EU) št. 297/2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukušima
* Izvedbena uredba Komisije (EU) št. 961/2011 z dne 27. septembra 2011 o uvedbi posebnih pogojev za uvoz krme in živil, ki izvirajo iz Japonske ali so od tam poslani, po nesreči v jedrski elektrarni Fukušima ter razveljavitvi Uredbe (EU) št. 297/2011
* Uredba Sveta (EURATOM) št. 3954/87 z dne 22. decembra 1987 o najvišji dovoljeni stopnji radioaktivnega onesnaženja živil in krme po jedrski nesreči ali kateri koli drugi radiološki nevarnosti
* Uredba sveta (EURATOM) št. 2218/89 z dne 18. julija 1989 o spremembi Uredbe (Euratom) št. 3954/87 o maksimalnih dovoljenih ravneh radioaktivne kontaminacije živil in krme po jedrski nesreči ali kakršnikoli drugi radiološki nesreči
* Uredba Komisije (EURATOM) št. 770/90 z dne 29. marca 1990 o določitvi najvišje dovoljene ravni radioaktivne kontaminacije krme po jedrski nesreči ali kakršni koli drugi radiološki nevarnosti
* Uredba Komisije (EURATOM) št. 944/89 z dne 12. aprila 1989 o določitvi maksimalne dovoljene ravni radioaktivne kontaminacije manj pomembnih živil po jedrski nesreči ali kakršni koli drugi radiološki nesreči
* Uredba Sveta (EGS) št. 2219/89 z dne 18. julija 1989 o posebnih pogojih za izvoz živil in krme po jedrski nesreči ali kakršnikoli drugi radiološki nevarnosti
* Council Directive 96/29/EURATOM of 13 May 1996 laying down basic safety standards for the protection of the health of workers and the general public against the dangers arising from ionising radiation (https://eur-lex.europa.eu/legal-content/EN/TXT/?uri=CELEX%3A31996L0029)
* Skupna konvencija o varnosti ravnanja z izrabljenim gorivom in varnosti ravnanja z radioaktivnimi odpadki
* Konvencija o jedrski varnosti

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)

## Radiološki vplivi na okolje

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544) (ZVISJV-1)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067))
* Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)
* Uredba o sevalnih dejavnostih (UV1)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih (UV2)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)
* Pravilnik o uporabi virov sevanja in sevalni dejavnosti
* Pravilnik o monitoringu radioaktivnosti (JV10)
* Pravilnik o načinu vodenja evidenc o osebnih dozah zaradi izpostavljenosti ionizirajočim sevanjem (SV4)
* Pravilnik o pogojih in metodologiji za ocenjevanje doz pri varstvu delavcev in prebivalstva pred ionizirajočimi sevanji (SV5)

Praktične smernice:

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Ravnanje z radioaktivni odpadki in jedrskim gorivom

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o ravnanju z radioaktivnimi odpadki in izrabljenim gorivom (JV7)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV7618)
* [Uredba o sevalnih dejavnostih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2714)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)
* [Resolucija o nacionalnem programu ravnanja z radioaktivnimi odpadki in izrabljenim jedrskim gorivom za obdobje 2006-2015 (ReNPROJG)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=RESO42)
* [Zakon o ratifikaciji Pogodbe med Vlado Republike Slovenije in Vlado Republike Hrvaške o ureditvi statusnih in drugih pravnih razmerij, povezanih z vlaganjem v Nuklearno elektrarno Krško, njenim izkoriščanjem in razgradnjo in skupne izjave ob podpisu pogodbe med Vlado Republike Slovenije in Vlado Republike Hrvaške o ureditvi statusnih in drugih pravnih razmerij, povezanih z vlaganjem v Nuklearno elektrarno Krško, njenim izkoriščanjem in razgradnjo (BHRNEK)](http://www.uradni-list.si/1/content?id=41786)
* Skupna konvencija o varnosti ravnanja z izrabljenim gorivom in varnosti ravnanja z radioaktivnimi odpadki

Praktične smernice

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Razgradnja

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o ravnanju z radioaktivnimi odpadki in izrabljenim gorivom (JV7)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV7618)
* [Uredba o sevalnih dejavnostih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2714)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)

Praktične smernice

* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Vsebina varnostnega poročila za odlagališče nizko in srednje radioaktivnih odpadkov (PS 1.03)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Občasni varnostni pregled

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)

Praktične smernice

* Vsebina in obseg občasnega varnostnega pregleda sevalnega ali jedrskega objekta (PS 1.01)

## Jedrska in sevalna varnost varnost raziskovalnih reaktorjev

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* [Pravilnik o zagotavljanju usposobljenosti delavcev v sevalnih in jedrskih objektih (JV4)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV4.pdf)
* Zakon o zaščiti pred naravnimi in drugimi nesrečami
* Pravilnik o uporabi virov sevanja in sevalni dejavnosti (JV2/SV2)
* Pravilnik o monitoringu radioaktivnosti (JV10)
* [Pravilnik o ravnanju z radioaktivnimi odpadki in izrabljenim gorivom (JV7)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=PRAV7618)
* [Uredba o sevalnih dejavnostih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2714)
* [Uredba o mejnih dozah, radioaktivni kontaminaciji in intervencijskih nivojih](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED2715)

Praktične smernice

* Vsebina in obseg občasnega varnostnega pregleda sevalnega ali jedrskega objekta (PS 1.01)
* Vsebina varnostnega poročila sevalnih ali jedrskih objektov (PS 1.04)
* Obravnava sprememb v sevalnem ali jedrskem objektu (PS 1.02)

## Neširjenje jedrskega orožja in jedrsko varovanje

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* Pravilnik o fizičnem varovanju jedrskih objektov, jedrskih in radioaktivnih snovi ter prevozov jedrskih snovi
* [Pravilnik o dejavnikih sevalne in jedrske varnosti (JV5)](http://www.pisrs.si/Pis.web/pregledPredpisa?id=URED5067)
* [Pravilnik o zagotavljanju varnosti po začetku obratovanja sevalnih ali jedrskih objektov (JV9)](http://www.ursjv.gov.si/fileadmin/ujv.gov.si/pageuploads/si/Zakonodaja/SlovenskiPredpisi/NPB/JV9.pdf)
* Pravilnik o uporabi virov sevanja in sevalni dejavnosti (Uradni list RS, št. 27/18) [V. poglavje]
* Zakon o nadzoru izvoza blaga z dvojno rabo (ZNIBDR)
* Uredba o varovanju jedrskih snovi (UV 6)
* Zakon o zasebnem varovanju (ZZasV-1)
* Uredba o obveznem organiziranju službe varovanja
* Kazenski zakonik
* Odredba o določitvi programa osnovnega strokovnega usposabljanja in programa obdobnega strokovnega izpopolnjevanja varnostnega osebja, ki izvaja fizično varovanje jedrskih objektov, jedrskih ali radioaktivnih snovi ter prevozov jedrskih snovi Ur. l. RS, št. (12/2013)
* [Pogodba o neširjenju jedrskega orožja](http://www.iaea.org/OurWork/SV/Safeguards/sv.html)
* Sporazum med Kraljevino Belgijo, Kraljevino Dansko, Zvezno republiko Nemčijo, Irsko, Italijansko republiko, Velikim vojvodstvom Luksemburg, Kraljevino Nizozemsko, Evropsko skupnostjo za atomsko energijo in Mednarodno agencijo za atomsko energijo o izvajanju člena III(1) in (4) Pogodbe o neširjenju jedrskega orožja
* Dodatni protokol k Sporazumu med Republiko Avstrijo, Kraljevino Belgijo, Kraljevino Dansko, Republiko Finsko, Zvezno republiko Nemčijo, Helensko republiko, Irsko, Italijansko republiko, Velikim vojvodstvom Luksemburg, Kraljevino Nizozemsko, Portugalsko republiko, Kraljevino Španijo, Kraljevino Švedsko, Evropsko skupnostjo za atomsko energijo in Mednarodno agencijo za atomsko energijo pri izvajanju člena III(1) in (4) Pogodbe o neširjenju jedrskega orožja
* Konvencija o fizičnem varovanju jedrskega materiala in jedrskih objektov (Sprememba Konvencije o fizičnem varovanju jedrskega materiala iz l. 1985, s spremembo, objavljeno v Ur. listu RS-MP, št. 14/09),
* [International Convention for the Suppression of Acts of Nuclear Terrorism (Nuclear Terrorism Convention)](http://www-ns.iaea.org/security/nuclear_terrorism_convention.asp?s=4&l=28), IAEA, (2005)
* UREDBA KOMISIJE (Euratom) št. 302/2005 z dne 8. februarja 2005 o uporabi določb Euratom o nadzornih ukrepih
* Priporočilo Komisije z dne 15. decembra 2005 o smernicah za uporabo Uredbe (Euratom) št. 302/2005 o uporabi določb Euratom o nadzornih ukrepih (notificirano pod dokumentarno številko C(2005) 5127) (2006/40/Euratom)
* Priporočilo Komisije z dne 11. 2. 2009 o izvajanju sistema knjigovodstva in kontrole jedrskih snovi upravljavcev jedrskih objektov (notificirano pod dokumentarno številko C(2009) 785) (2009/120/Euratom)
* Guidance for States Implementing Comprehensive Safeguards Agreements and Additional Protocols, IAEA Services Series 21, (2014)
* Safeguards Implementation Practices Guide on Establishing and Maintaining State Safeguards Infrastructure, IAEA Services Series 31, (2015)
* Safeguards Implementation Practices Guide on Provision of Information to the IAEA, IAEA Services Series No. 33, (2016)
* Guidelines and Format for Preparation and Submission of Declaration Pursuant to Articles 2 & 3 of the Model Protocol Additional to Safeguards Agreements, IAEA Services Series 11, (2004)
* Safeguards Implementation Practices Guide on Facilitating IAEA Verification Activities, IAEA Services Series 30, (2014)
* Uredba o načinu izdaje dovoljenj in potrdil ter vlogi Komisije za nadzor izvoza blaga z dvojno rabo (Uradni list RS, št. [34/10](http://www.uradni-list.si/1/objava.jsp?sop=2010-01-1694) in [42/12](http://www.uradni-list.si/1/objava.jsp?sop=2012-01-1770))
* Uredba Sveta (ES) št. 428/2009 z dne 5. maja 2009 o vzpostavitvi režima Skupnosti za nadzor izvoza, prenosa, posredovanja in tranzita blaga z dvojno rabo
* Uredba (EU) št. 1232/2011 Evropskega parlamenta in Sveta z dne 16. novembra 2011 o spremembi Uredbe Sveta (ES) št. 428/2009 o vzpostavitvi režima Skupnosti za nadzor izvoza, prenosa, posredovanja in tranzita blaga z dvojno rabo – nazadnje posodobljena z Delegirana uredba Komisije (EU) št. 2019/2199 z dne 17. oktobra 2019 o spremembi Uredbe Sveta (ES) št. 428/2009 o vzpostavitvi režima Skupnosti za nadzor izvoza, prenosa, posredovanja in tranzita blaga z dvojno rabo
* Sklep Vlade (št. 803-10/99-1 (N) z dne 6. 5. 1999) o mednarodnih kontrolnih režimih Nuclear Suppliers Group in Zangger Committee
* United Nations Security Council Resolution 1540 (2004)
* United Nations Security Council Resolution 1373 (2001)
* Zakon o omejevalnih ukrepih, ki jih Republika Slovenija uvede ali izvaja skladno s pravnimi akti in odločitvami, sprejetimi v okviru mednarodnih organizacij
* Uredba o preverjanju radioaktivnosti pošiljk, ki bi lahko vsebovale vire sevanja neznanega izvora (Ur. l. RS, št. 10/19)
* IAEA INFICIRC/910 (Joint Statement on Strengthening the Security of High Activity Sealed Radioactive Sources), 2017
* IAEA INFICIRC/918 (Joint Statement on Countering Nuclear Smuggling), 2017

## Prevoz jedrskih in drugih radioaktivnih snovi

* [Zakon o varstvu pred ionizirajočimi sevanji in jedrski varnosti](http://www.pisrs.si/Pis.web/pregledPredpisa?id=ZAKO1544)
* Zakon o prevozu nevarnega blaga - ZPNB
* Sklep o objavi prilog A in B k Evropskemu sporazumu o mednarodnem cestnem prevozu nevarnega blaga (ADR)
* Pravilnik o nalogah varnostnega svetovalca za prevoz nevarnega blaga

# Ostala referenčna dokumentacija

## Projekt objekta

### NRC dokumenti

* [10 CFR Part 50 - “Domestic licensing of product and utilization facilities”](http://www.nrc.gov/reading-rm/doc-collections/cfr/part050/)
* [10 CFR 54 - “Requirements for renewal of operating licenses for nuclear power plants”](http://www.nrc.gov/reading-rm/doc-collections/cfr/part054/full-text.html)
* [10 CFR Part 100 - “Reactor site criteria”](http://www.nrc.gov/reading-rm/doc-collections/cfr/part100/)
* [Standard Review Plan, NUREG-0800](http://www.nrc.gov/reading-rm/doc-collections/nuregs/staff/sr0800/)
* Inaccessible or Underground Power Cable Failures that Disable Accident Mitigation Systems or Cause Plant Transients, Generic Letter 2007-01
* Managing Gas Accumulation in Emergency Core Cooling, Decay Heat Removal, and Containment Spray Systems, Generic Letter 2008-01
* Potential Impact of Debris Blockage on Emergency Recirculation during Design Basis Accidents at Pressurized-Water Reactors, Generic Letter 2004-02
* Potential Impact of Debris Blockage on Emergency Sump Recirculation at Pressurized-Water Reactors, Bulletin 2003-01
* Anticipated Transients That Could Develop into More Serious Events, RIS 2005-29
* Monitoring of Neutron-Absorbing Materials in Spent Fuel Pools, Generic Letter 2016-01

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.1, "Net Positive Suction Head for Emergency Core Cooling and Containment Heat Removal System Pumps"
* RG 1.3, "Assumptions Used for Evaluating the Potential Radiological Consequences of a Loss of Coolant Accident for Boiling Water Reactors"
* RG 1.4, "Assumptions Used for Evaluating the Potential Radiological Consequences of a Loss of Coolant Accident for Pressurized Water Reactors"
* RG 1.6, "Independence Between Redundant Standby (Onsite) Power Sources and Between Their Distribution Systems"
* RG 1.7, "Control of Combustible Gas Concentrations in Containment"
* RG 1.9, "Application and Testing of Safety-Related Diesel Generators in Nuclear Power Plants"
* RG 1.11, "Instrument Lines Penetrating Primary Reactor Containment"
* RG 1.12, "Nuclear Power Plant Instrumentation for Earthquakes"
* RG 1.13, "Spent Fuel Storage Facility Design Basis"
* RG 1.14, "Reactor Coolant Pump Flywheel Integrity"
* RG 1.20, "Comprehensive Vibration Assessment Program for Reactor Internals During Preoperational and Initial Startup Testing"
* RG 1.22, "Periodic Testing of Protection System Actuation Functions"
* RG 1.23, "Meteorological monitoring programs for nuclear power plants"
* RG 1.24, "Assumptions Used for Evaluating the Potential Radiological Consequences of a Pressurized Water Reactor Radioactive Gas Storage Tank Failure"
* RG 1.26, "Quality Group Classifications and Standards for Water, Steam and RG Radioactive-Waste-Containing Components of Nuclear Power Plants"
* RG 1.27, "Ultimate Heat Sink for Nuclear Power Plants (for Comment)"
* RG 1.28, "Quality Assurance Program Criteria (Design and Construction)"
* RG 1.29, "Seismic Design Classification"
* RG 1.30, "Quality Assurance Requirements for the Installation, Inspection, and Testing of Instrumentation and Electric Equipment"
* RG 1.31, "Control of Ferrite Content in Stainless Steel Weld Metal"
* RG 1.32, "Criteria for Power Systems for Nuclear Power Plants"
* RG 1.34, "Control of Electroslag Weld Properties"
* RG 1.36, "Nonmetallic Thermal Insulation for Austenitic Stainless Steel"
* RG 1.37, "Quality Assurance Requirements for Cleaning of Fluid Systems and Associated Components of Water-Cooled Nuclear Power Plants"
* RG 1.38, "Quality Assurance Requirements for Packaging, Shipping, Receiving, Storage, and Handling of Items for Water-Cooled Nuclear Power Plants"
* RG 1.40, "Qualification of Continuous Duty Safety-Related Motors for Nuclear Power Plants"
* RG 1.41, "Preoperational Testing of Redundant On-Site Electric Power Systems To Verify Proper Load Group Assignments"
* RG 1.43, "Control of Stainless Steel Weld Cladding of Low-Alloy Steel Components"
* RG 1.44, "Control of the Use of Sensitized Stainless Steel 1"
* RG 1.45, "Guidance on Monitoring and Responding to Reactor Coolant System Leakage"
* RG 1.47, "Bypassed and Inoperable Status Indication for Nuclear Power Plant Safety Systems"
* RG 1.48, "Design Limit and Loading Combinations for Seismic Category I Fluid System Components"
* RG 1.50, "Control of Preheat Temperature for Welding of Low-Alloy Steel"
* RG 1.52, "Design, Inspection, and Testing Criteria for Air Filtration and Adsorption Units of Post-Accident Engineered-Safety-Feature Atmosphere Cleanup Systems in Light-Water-Cooled Nuclear Power Plants"
* RG 1.53, "Application of the Single-Failure Criterion to Safety Systems"
* RG 1.54, "Service Level I, II, and III Protective Coatings Applied to Nuclear Power Plants"
* RG 1.57, "Design Limits and Loading Combinations for Metal Primary Reactor Containment System Components"
* RG 1.59, "Design Basis Floods for Nuclear Power Plants"
* RG 1.60, "Design Response Spectra for Seismic Design of Nuclear Power Plants"
* RG 1.61, "Damping Values for Seismic Design of Nuclear Power Plants"
* RG 1.62, "Manual Initiation of Protective Actions"
* RG 1.63, "Electric Penetration Assemblies in Containment Structures for Nuclear Power Plants"
* RG 1.65, "Materials and Inspections for Reactor Vessel Closure Studs"
* RG 1.68.2, "Initial Startup Test Program To Demonstrate Remote Shutdown Capability for Water-Cooled Nuclear Power Plants"
* RG 1.68.3, "Preoperational Testing of Instrument and Control Air Systems"
* RG 1.70, "Standard Format and Content of Safety Analysis Reports for Nuclear Power Plants (LWR Edition)"
* RG 1.73, "Qualification Tests for Safety-Related Actuators in Nuclear Power Plants"
* RG 1.75, "Physical Independence of Electric Systems"
* RG 1.76, "Design-Basis Tornado and Tornado Missiles for Nuclear Power Plants"
* RG 1.77, "Assumptions Used for Evaluating a Control Rod Ejection Accident for Pressurized Water Reactors"
* RG 1.78, "Evaluating the Habitability of a Nuclear Power Plant Control Room During a Postulated Hazardous Chemical"
* RG 1.82, "Water Sources for Long-Term Recirculation Cooling Following a Loss-of-Coolant Accident"
* RG 1.84, "Design, Fabrication, and Materials Code Case Acceptability"
* RG 1.85, "Materials Code Case Acceptability"
* RG 1.89, "Environmental Qualification of Certain Electric Equipment Important to Safety for Nuclear Power Plants"
* RG 1.91, "Evaluations of Explosions Postulated To Occur on Transportation Routes Near Nuclear Power Plants"
* RG 1.92, "Combining Modal Responses and Spatial Components in Seismic Response Analysis"
* RG 1.93, "Availability of Electric Power Sources"
* RG 1.97, "Criteria for Accident Monitoring Instrumentation for Nuclear Power Plants"
* RG 1.99, "Radiation Embrittlement of Reactor Vessel Materials"
* RG 1.100, "Seismic Qualification of Electric and Mechanical Equipment for Nuclear Power Plants"
* RG 1.101, "Emergency Planning and Preparedness for Nuclear Power Reactors"
* RG 1.102, "Flood Protection for Nuclear Power Plants"
* RG 1.105, "Setpoints for Safety-Related Instrumentation"
* RG 1.106, "Thermal Overload Protection for Electric Motors on Motor-Operated Valves"
* RG 1.115, "Protection Against Low-Trajectory Turbine Missiles"
* RG 1.117, "Tornado Design Classification"
* RG 1.118, "Periodic Testing of Electric Power and Protection Systems"
* RG 1.120, "Fire Protection Guidelines for Nuclear Power Plants"
* RG 1.122, "Development of Floor Design Response Spectra for Seismic Design of Floor-Supported Equipment or Components"
* RG 1.124, "Service Limits and Loading Combinations for Class 1 Linear-Type Supports"
* RG 1.125, "Physical Models for Design and Operation of Hydraulic Structures and Systems for Nuclear Power Plants"
* RG 1.127, "Inspection of Water-Control Structures Associated with Nuclear Power Plants"
* RG 1.128, "Installation Design and Installation of Vented Lead-Acid Storage Batteries for Nuclear Power Plants"
* RG 1.129, "Maintenance, Testing and Replacement of Vented Lead-Acid Storage Batteries for Nuclear Power Plants"
* RG 1.130, "Service Limits and Loading Combinations for Class 1 Plate-and-Shell-Type Component Supports"
* RG 1.133, "Loose-Parts Detection Program for the Primary System of Light-Water-Cooled Reactors"
* RG 1.137, "Fuel-Oil Systems for Standby Diesel Generators"
* RG 1.141, "Containment Isolation Provisions for Fluid Systems"
* RG 1.142, "Safety-Related Concrete Structures for Nuclear Power Plants (Other than Reactor Vessels and Containments)"
* RG 1.143, "Design Guidance for Radioactive Waste Management Systems, Structures, and Components Installed in Light-Water-Cooled Nuclear Power Plants"
* RG 1.147, "Inservice Inspection Code Case Acceptability, ASME Section XI, Division 1"
* RG 1.149, "Nuclear Power Plant Simulation Facilities for Use in Operator Training and License Examinations"
* RG 1.150, "Ultrasonic Testing of Reactor Vessel Welds During Preservice and Inservice Examinations"
* RG 1.151, "Instrument Sensing Lines"
* RG 1.152, "Criteria for Use of Computers in Safety Systems of Nuclear Power PlantsÂ«
* RG 1.155, "Station Blackout"
* RG 1.156, "Qualification of Connection Assemblies for Nuclear Power Plants"
* RG 1.158, "Qualification of Safety-Related Lead Storage Batteries for Nuclear Power Plants"
* RG 1.162, "Format and Content of Report for Thermal Annealing of Reactor Pressure Vessels"
* RG 1.164, "Dedication of Commercial-Grade Items for Use in Nuclear Power Plants"
* RG 1.165, "Identification and Characterization of Seismic Sources and Determination of Safe Shutdown Earthquake Ground Motion"
* RG 1.166, "Pre-Earthquake Planning, Shutdown, and Restart of a Nuclear Power Plant Following an Earthquake"
* RG 1.168, "Verification, Validation, Reviews, and Audits for Digital Computer Software Used in Safety Systems of Nuclear Power Plants"
* RG 1.169, "Configuration Management Plans for Digital Computer Software Used in Safety Systems of Nuclear Power Plants"
* RG 1.170, "Test Documentation for Digital Computer Software Used in Safety Systems of Nuclear Power Plants"
* RG 1.171, "Software Unit Testing for Digital Computer Software Used in Safety Systems of Nuclear Power Plants"
* RG 1.172, "Software Requirement Specifications for Digital Computer Software and Complex Electronics Used in Safety Systems of Nuclear Power Plants"
* RG 1.173, "Developing Software Life Cycle Processes for Digital Computer Software Used in Safety Systems of Nuclear Power Plants"
* RG 1.174, "An Approach for Using Probabilistic Risk Assessment in Risk-Informed Decisions on Plant-Specific Changes to the Licensing Basis"
* RG 1.176, "An Approach for Plant-Specific, Risk-Informed Decision making: Graded Quality Assurance"
* RG 1.180, "Guidelines for Evaluating Electromagnetic and Radio-Frequency Interference in Safety-Related Instrumentation and Control Systems"
* RG 1.183, "Alternative Radiological Source Terms for Evaluating Design Basis Accidents at Nuclear Power Reactors"
* RG 1.189, "Fire Protection for Nuclear Power Plants"
* RG 1.192, "Operation and Maintenance Code Case Acceptability"
* RG 1.193 , "ASME Code Cases Not Approved for Use 3 10/2010"
* RG 1.194, "Atmospheric Relative Concentrations for Control Room Radiological Habitability Assessments at Nuclear Power Plants"
* RG 1.195, "Methods and Assumptions for Evaluating Radiological Consequences of Design Basis Accidents at Light-Water Nuclear Power Reactors"
* RG 1.196, "Control Room Habitability at Light-Water Nuclear Power Reactors"
* RG 1.197, "Demonstrating Control Room Envelope Integrity at Nuclear Power Reactors"
* RG 1.198, "Procedures and Criteria for Assessing Seismic Soil Liquefaction at Nuclear Power Plant Sites"
* RG 1.199, "Anchoring Components and Structural Supports in Concrete"
* RG 1.201, "Guidelines for Categorizing Structures, Systems, and Components in Nuclear Power Plants According to Their Safety Significance"
* RG 1.204, "Guidelines for Lightning Protection of Nuclear Power Plants"
* RG 1.205, "Risk-Informed, Performance-Based Fire Protection for Existing Light-Water Nuclear Power Plants"
* RG 1.207, "Guidelines for Evaluating Fatigue Analyses Incorporating the Life Reduction of Metal Components Due to the Effects of the Light-Water Reactor Environment for New Reactors"
* RG 1.208 , "A Performance-Based Approach to Define Site-Specific Earthquake Ground Motion"
* RG 1.209, "Guidelines for Environmental Qualification of Safety-Related Computer-Based Instrumentation and Control Systems in Nuclear Power Plants"
* RG 1.210, "Qualification of Safety-Related Battery Chargers and Inverters for Nuclear Power Plants"
* RG 1.211, "Qualification of Safety-Related Cables and Field Splices for Nuclear Power Plants"
* RG 1.212, "Sizing of Large Lead-Acid Storage Batteries"
* RG 1.213, "Qualification of Safety-Related Motor Control Centers for Nuclear Power Plants"
* RG 1.214, "Response Strategies for Potential Aircraft Threats"
* RG 1.216, "Containment Structural Integrity Evaluation for Internal Pressure Loadings Above Design-Basis Pressure"
* RG 1.218, "Condition Monitoring Techniques for Electric Cables Used in Nuclear Power Plants"
* RG 1.221, "Design-Basis Hurricane and Hurricane Missiles for Nuclear Power Plants"
* RG 1.226, "Flexible Mitigation Strategies for Beyond-Design-Basis Events"
* RG 1.227, "Wide-Range Spent Fuel Pool Level Instrumentation"

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* NUREG/CR-5741, “Technical Bases for RG for Soil Liquefaction”
* NUREG/CR-6260, "Application of NUREG/CR-5999 Interim Fatigue Curves to Selected Nuclear Power Plant Components"
* NUREG-0737, “Clarification of TMI Action Plan Requirements”
* NUREG-1174, "Evaluation of Systems Interactions in Nuclear Power Plants"
* NUREG/CR-0255 (TREE/1279), "CONTEMPT-LT/028 - A Computer Program for Predicting Containment Pressure-Temperature Response to a Loss-of-Coolant Accident"
* NUREG-0611, "Generic Evaluation of Feedwater Transients and Small- Break Loss-of-Coolant Accidents in Westinghouse Designed Operating Plants"
* NUREG-0588, “Interim Staff Position on Environmental Qualification of Safety-Related Electrical Equipment”
* NUREG-1431, “Standard Technical Specifications – Westinghouse Plants”
* NUREG/CR-2300, “PRA Procedures Guide: A Guide to the Performance of Probabilistic Risk Assessments for Nuclear Power Plants”
* NUREG/CR-5741, “Technical Bases for RG for Soil Liquefaction”
* NUREG/CR-6260, "Application of NUREG/CR-5999 Interim Fatigue Curves to Selected Nuclear Power Plant Components"
* NUREG-0737, “Clarification of TMI Action Plan Requirements”
* NUREG-1174, "Evaluation of Systems Interactions in Nuclear Power Plants"
* NUREG-0611, "Generic Evaluation of Feedwater Transients and Small- Break Loss-of-Coolant Accidents in Westinghouse Designed Operating Plants"
* NUREG-2163, "Technical Basis for Regulatory Guidance on the Alternate Pressurized Thermal Shock Rule, Final Report"
* NUREG-2174, "Impact of Variation in Environmental Conditions on the Thermal Performance of Dry Storage Casks, Final Report"
* NUREG-2195, "Consequential SGTR Analysis for Westinghouse and Combustion Engineering Plants with Thermally Treated Alloy 600 and 690 Steam Generator Tubes, Final Report"
* NUREG/CR-6303, "Method for Performing Diversity and Defense-in-Depth Analyses of Reactor Protection Systems"
* NUREG/CR-7000, "Essential Elements of an Electric Cable Condition Monitoring Program"
* NUREG/CR-7002, "Criteria for Development of Evacuation Time Estimate Studies"
* NUREG/CR-7004, "Technical Basis for Regulatory Guidance on Design-Basis Hurricane-Borne Missile Speeds for Nuclear Power Plants"
* NUREG/CR-7005, "Technical Basis for Regulatory Guidance on Design-Basis Hurricane Wind Speeds for Nuclear Power Plants"
* NUREG/CR-7042, "A Large Scale Validation of a Methodology for Assessing Software Reliability"
* NUREG/CR-7122, "An Evaluation of Ultrasonic Phased Array Testing for Cast Austenitic Stainless Steel Pressurizer Surge Line Piping Welds"
* NUREG/CR-7131, "Review of Probable Maximum Precipitation Procedures and Databases Used to Develop Hydrometeorological Reports"
* NUREG/CR-7172, "Knowledge Base Report on Emergency Core Cooling Sump Performance in Operating Light Water Reactors"
* NUREG/CR-7175, "Susceptibility of Nuclear Stations to External Faults"
* NUREG/CR-7187, "Managing PWSCC in Butt Welds by Mitigation and Inspection"
* NUREG/CR-7188, "Testing to Evaluate Extended Battery Operation in Nuclear Power Plants"
* NUREG/CR-7226, "Primary Water Stress Corrosion Cracking of High-Chromium, Nickel-Base Welds Near Dissimilar Metal Weld Interfaces"
* NUREG/CR-7229, "Testing to Evaluate Battery and Battery Charger Short Circuit Current Contributions to a Fault on the DC Distribution System"
* NUREG/CR-7244, "Response of Nuclear Power Plant Instrumentation Cables Exposed to Fire Conditions"

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Design, IAEA Safety Standards Series No. SSR-2/1, Vienna ( 2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of the Reactor Coolant System and Associated Systems for Nuclear Power Plants Specific Safety Guide, IAEA Safety Standards Series SSG-56, Vienna (2020).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of Electrical Power Systems for Nuclear Power Plants Specific Safety Guide, IAEA Safety Standards Series SSG-34, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of the Reactor Core for Nuclear Power Plants Specific Safety Guide, IAEA Safety Standards Series SSG-52, 2019
* INTERNATIONAL ATOMIC ENERGY AGENCY, Operational Limits and Conditions and Operating Procedures for Nuclear Power Plants Safety Guide, IAEA Safety Standards Series No. NS-G-2.2, , Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Seismic Design and Qualification for Nuclear Power Plants, Safety Standards Series No. NS-G-1.6, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, External Events Excluding Earthquakes in the Design of Nuclear Power Plants - Safety Guide, Safety Standards Series No. NS-G-1.5, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Fires and Explosions in Nuclear Power Plants, Safety Standards Series, NS-G-1.7, IAEA, Vienna, (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Hazards other than Fires and Explosions in the Design of Nuclear Power Plants -Safety Guide, Safety Standards Series No. NS-G-1.11, IAEA, Vienna, (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of the Reactor Containment and Associated Systems for Nuclear Power Plants, 2019 – Specific Safety Guide, SSG-53, IAEA, Vienna 2019
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Classification of Structures, Systems and Components in Nuclear Power Plants – Specific Safety Guide, SSG-30, IAEA, Vienna 2014
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of Instrumentation and Control Systems for Nuclear Power Plants – Specific Safety Guide, SSG-39, IAEA, Vienna 2016
* INTERNATIONAL ATOMIC ENERGY AGENCY, Human Factors Engineering in the Design of Nuclear Power Plants – Specific Safety Guide, SSG-51, IAEA, Vienna 2019
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of Fuel Handling and Storage Systems for Nuclear Power Plants – Specific Safet Guide, NS-G-1.4, IAEA, Vienna 2003
* INTERNATIONAL ATOMIC ENERGY AGENCY, Radiation Protection Aspects of Design for Nuclear Power Plants – Specific Safet Guide, NS-G-1.13, IAEA, Vienna 2005

### Ostala dokumentacija

* ACI 318-71, Building Code Requirements for Reinforced Concrete, American Concrete Institute, 1971.
* ACI 318-05, Building Code Requirements for Reinforced Concrete, American Concrete Institute, 2005.
* ACI 349-01, Code Requirements for Nuclear Safety-Related Concrete Structures, American Concrete Institute, 2001.
* ACI 349-06, Code Requirements for Nuclear Safety-Related Concrete Structures, American Concrete Institute, 2007.
* ACI 359, Proposed Standard Code for Concrete Reactor Vessels and Containment, American Concrete Institute, (Draft issued in mid-seventies)
* ANSI/ANS-2.8-1992, Determining Design Basis Flooding at Power Reactor Sites
* ASME B&PV Code, Section III
* ASME Section XI, Division 1
* ASME Section III, Division 1(Withdrawn 06/01/2003)
* ASME Section III 35 34
* ANSI/ANS-58.3-1992 “Physical protection for nuclear safety-related system and components”, American Nuclear Society, 1992
* NUCLEAR ENERGY INSTITUTE, “Probabilistic Risk Assessment (PRA) Peer Review Process Guidance”, NEI-00-02, 2000

## Seizmično projektiranje sistemov, struktur in komponent

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/cfr/)

* 10 CFR Part 50 Appendix S, “Earthquake Engineering Criteria for Nuclear Power Plants”.
* 10 CFR 50.55a, “Codes and standards”.
* 10 CFR Part 100, “Reactor Site Criteria”.
* 10 CFR Part 100, Appendix A, “Seismic and Geologic Siting Criteria for Nuclear Power Plants”.
* 10 CFR 100.20, “Factors to be Considered When Evaluating Sites”.
* 10 CFR 100.23, “Geologic and Seismic Siting Criteria”.
* 10 CFR Part 20, “Standards for Protection Against Radiation”.
* 10 CFR Part 50, Appendix A, GDC 1, “Quality Standards and Records”.
* 10 CFR Part 50, Appendix A, GDC 2, “Design Bases for Protection Against Natural Phenomena”.
* 10 CFR Part 50, Appendix A, GDC 4, “Environmental and Dynamic Effects Design Bases”.
* 10 CFR Part 50, Appendix A, GDC 44, “Cooling Water”.
* 10 CFR Part 50, Appendix B, “Quality Assurance Criteria for Nuclear Power Plants and Fuel Processing Plants”.
* NUREG/CR-5741, “Technical Bases for RG for Soil Liquefaction”.
* NUREG-0800, Standard Review Plan.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.12, “Nuclear Power Plant Instrumentation for Earthquakes”
* RG 1.27, “Ultimate Heat Sink for Nuclear Power Plants
* RG 1.28, "Quality Assurance Program Requirements (Design and Construction)"
* RG 1.29, “Seismic Design Classification”
* RG 1.60, “Design Response Spectra for Seismic Design of Nuclear Power Plants”
* RG 1.61, “Damping Values for Seismic Design of Nuclear Power Plants”
* RG 1.92, “Combining Modal Responses and Spatial Components in Seismic Response Analysis”
* RG 1.122, “Development of Floor Design Response Spectra for Seismic Design of Floor-Supported Equipment and Components”
* RG 1.132, “Site Investigations for Foundations of Nuclear Power Plants”
* RG 1.138, “Laboratory Investigations of Soils and Rocks for Engineering Analysis and Design of Nuclear Power Plants”
* RG 1.166, “Pre-Earthquake Planning and Immediate Nuclear Power Plant Operator Post-Earthquake Actions”
* RG 1.198, "Procedures and Criteria for Assessing Seismic Soil Liquefaction at Nuclear Power Plant Sites”
* RG 1.208, “A Performance-Based Approach to Define Site-Specific Earthquake Ground Motion”
* RG 4.7, "General Site Suitability Criteria for Nuclear Power Stations"
* RG 1.69, “Concrete Radiation Shields for Nuclear Power Plants”
* RG 1.107, “Qualifications for Cement Grouting for Prestressing Tendons in Containment Structures”
* RG 1.127, “Inspection of Water-Control Structures Associated with Nuclear Power Plants”
* RG 1.136, “Materials, Construction, and Testing of Concrete Containments”
* RG 1.142, “Safety-Related Concrete Structures for Nuclear Power Plants (Other than Reactor Vessels and Containments)“

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, “Seismic Evaluation of Existing Nuclear Power Plants”, Safety Reports Series No. 28, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Seismic Hazards in Site Evaluation for Nuclear Installations, Safety Standards Series No. SSG-9, IAEA, Vienna (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Evaluation of Seismic Safety for Existing Nuclear Installations, Safety Standards Series No. NS-G-2.13, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Standards Series, ‘External Human Induced Events in Site Evaluation for Nuclear Power Plants’, Safety Guide No. NS-G-3.1, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety of Nuclear Power Plants: Design”, Safety Standards Series No. SSR-2/1 (Rev. 1), IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Site Evaluation for Nuclear Installations”, Safety Standards Series No. SSR-1, IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Format and Content of the Safety Analysis Report for Nuclear Power Plants - Safety Guide”, Safety Standards Series No. GS-G-4.1, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Seismic Design and Qualification for Nuclear Power Plants - Safety Guide”, Safety Standards Series No. NS-G-1.6, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Design of the Reactor Containment and Associated Systems for Nuclear Power Plants - Specific Safety Guide”, Safety Standards Series No. SSG-53, IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Design of the Reactor Coolant System and Associated Systems for Nuclear Power Plants - Specific Safety Guide”, Safety Standards Series No. SSG-56, IAEA, Vienna (2020).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety Assessment for Facilities and Activities”, Safety Standards Series No. GSR Part 4 (Rev. 1), IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Deterministic Safety Analysis for Nuclear Power Plants”, Safety Standards Series No. SSG-2 (Rev.1), IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Assessment of Vulnerabilities of Operating Nuclear Power Plants to Extreme External Events”, TECDOC Series No. 1834, IAEA, Vienna (2017).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Earthquake experience and seismic qualification by indirect methods in Nuclear Installations”, TECDOC Series No. 1333, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Seismic Evaluation of Existing Nuclear Facilities”, TECDOC Series No. 1202, IAEA, Vienna (2001).

### Standardi

* ASME Boiler and Pressure Vessel Code, Section III.
* ASME Boiler and Pressure Vessel Code, Section XI.
* ACI 349, “Code Requirements for Nuclear Safety Related Concrete Structures”.
* ANSI/AISC N690-1994, “Specification for the Design, Fabrication and Erection of Steel Safety-Related Structures for Nuclear Facilities”.
* ACI 318, “Building Code Requirements for Structural Concrete”.
* ASCE 7, “Minimum Design Loads for Buildings and Other Structures”.
* AISC, “Steel Construction Manual”.
* ASCE 4-98, »Seismic Analysis of safety-Related Nuclear Structures and Commentary«.
* ASCE/SEI 43-05, »Seismic Design Criteria for Structures, Systems, and Components in Nuclear Facilities«.
* ANSI/ANS-2.8-1992, “Determining Design Basis Flooding at Power Reactor Sites”.
* ASCE/SEI 7, “Minimum Design Loads for Buildings and Other Structures”.
* ASME Boiler and Pressure Vessel Code, Section III.
* ANSI/AISC N690-1994, “Specification for the Design, Fabrication and Erection of Steel Safety-Related Structures for Nuclear Facilities”.
* ACI 318, “Building Code Requirements for Structural Concrete”.
* ACI 349-01, “Code Requirements for Nuclear Safety-Related Concrete Structures”.
* AISC 325-05, “Steel Construction Manual”, Thirteenth Edition.
* American Society for Testing and Materials (ASTM) International, ASTM D 5778, “Standard Test Method for Performing Electronic Friction Cone and Piezocone Penetration Testing of Soils,” 1995.
* American Society for Testing and Materials (ASTM) International, ASTM D 1586, “Standard Test Method for Penetration Test and Split-Barrel Sampling of Soils,” 1999
* American Society for Testing and Materials (ASTM) International, ASTM D 1587, “Standard Practice for Thin-Walled Tube Sampling of Soils for Geotechnical Purposes,” 2000.
* American Society for Testing and Materials (ASTM) International, ASTM D 4220, “Standard Practices for Preserving and Transporting Soil Samples,” 2000.
* American Society for Testing and Materials (ASTM) International, ASTM D 1557, “Standard Test Methods for Laboratory Compaction Characteristics of Soil Using Modified Effort (56,000 feet-lbf/feet3 [2,700 kN-m/m3]),” 2002.
* American Society for Testing and Materials (ASTM) International, ASTM D 4044, “Standard Test Method (Field Procedure) for Instantaneous Change in Head (Slug) Tests for Determining Hydraulic Properties of Aquifers,” 2002.
* American Society for Testing and Materials (ASTM) International, ASTM D 2850, “Standard Test Method for Unconsolidated Undrained Triaxial Compression Test on Cohesive Soils,” 2003.
* American Society for Testing and Materials (ASTM) International, ASTM D 4767, “Standard Test Method for Consolidated Undrained Triaxial Compression Test for Cohesive Soils,” 2004.
* American Society for Testing and Materials (ASTM) International, ASTM D 6913, “Standard Test Method for Particle Size Distribution (Gradation) of Soils Using Sieve Analysis,” 2004.
* American Society for Testing and Materials (ASTM) International, ASTM D 2435, “Standard Test Method for One-Dimensional Consolidation Properties of Soils Using Incremental Loading,” 2004.
* American Society for Testing and Materials (ASTM) International, ASTM D 3080, “Standard Test Method for Direct Shear Test of Soil Under Consolidated Drained Conditions,” 2004.
* American Society for Testing and Materials (ASTM) International, ASTM D 2166, “Standard Test Method for Unconfined Compressive Strength of Cohesive Soils,” 2006.
* American Society of Civil Engineers, ASCE 4-98, “Seismic Analysis of Safety-Related Nuclear Structures and Commentary,” 2000.
* American Society of Civil Engineers (ASCE), Editing Board and Task Groups of the Committee on Nuclear Structures and Materials of the Structural Division, “Structural Analysis and Design of Nuclear Plant Structures,” ASCE 1980.
* ASME/ANS-RA-Sa-2009, “Standard for Level 1/LargeEarly Release Frequency PRA for Nuclear Power Plant Applications«.

## Stanje struktur, sistemov in komponent

### [NRC dokumenti](http://www.nrc.gov/)

* US NUCLEAR REGULATORY COMMISSION, 10CFR50.55a, “Codes and standards".
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.59, Appendix B, Appendix J, 10CFR 50.55, 10CFR 50.65.
* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR 50.65, "Requirements for Monitoring the Effectiveness of Maintenance at Nuclear Power Plants",
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1823, »U.S. Plant Experience With Alloy 600 Cracking and Boric Acid Corrosion of Light-Water Reactor Pressure Vessel Materials«.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1801, “Generic Aging Lessons Learned (GALL) Report, Final Report”.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1431, Vol. 1, »Standard Technical Specifications, Westinghouse Plants«
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1431, Vol. 2, »Standard Technical Specifications, Westinghouse Plants«.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-0933, »A Prioritization of Generic Safety Issues, maintenance and surveillance program«.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1344, "Erosion/Corrosion-lncluded Pipe Wall Thinning in U. S. Nuclear Power Plants".
* U.S. NUCLEAR REGULATORY COMMISSION Letter, “Revision 1 to the Final Safety Evaluation of EPRI Report, Material Reliability Program Report 1016596 (MRP-227), Pressurized Water Reactor (PWR) Internals Inspection and Evaluation Guidelines, (TAC NO. ME0680)«

*NRC Regulatory Guides*

* RG 1.187, »Guidance for Implementation of 10 CFR 50.59, Changes, Tests, and Experiments«
* RG 1.99, »Radiation embrittlement of reactor vessel materials«
* RG 1.121, »Basis for Plugging Degraded Steam Generator Tubes«
* RG 1.160, "Monitoring the Effectiveness of Maintenance Rule at Nuclear Power Plants

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Maintenance, Surveillance and Inservice Inspection in NPPs, IAEA Safety Standard Series NS-G-2.6, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Conduct of Operation at Nuclear Power Plants, IAEA NS-G-2.14, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants, Commissioning and Operation, IAEA SSR-2/2, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Modern instrumentation and control for NPP, IAEA, Guidebook, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Software for computer based systems important to safety in NPP, IAEA, NS-G-1.1, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Instrumentation and control systems important to safety in NPP, IAEA NS-G-1.3, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Modifications to Nuclear Power Plants Safety Guide, IAEA Safety Standards Series No. NS-G-2.3, November, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Operational Limits and Conditions and Operating Procedures for Nuclear Power Plants Safety Guide, IAEA Safety Standards Series No. NS-G-2.2, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Operation Safety Requirements, IAEA Safety Standards Series No. NS-R-2, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Maintenance Optimization Programme for Nuclear Power Plants, Nuclear Energy Series, No. NP-T-3.8, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Risk-informed In-service Inspection of Piping Systems of Nuclear Power Plants: Process, Status, Issues and Development, Nuclear Energy Series, No. NP-T-3.1, Vienna (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Improvement of Effectiveness of In-Service Inspection in Nuclear Power Plants, TECDOC-1853, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Ageing Management and Development of a Programme for Long Term Operation of Nuclear Power Plants, Specific Safety Guide, No. SSG-48, Vienna (2018).

### [ASME](https://www.asme.org/)

* ASME Code, Section XI, Rules for In-service Inspection of Nuclear Power Plant Components.
* ASME Code, Section II, Materials.
* ASME Code, Section V, Non-destructive Examination.
* ASME Boiler and Pressure Vessel Code, Section III, Subsection NB.
* ASME Section VIII, Pressure Vessels, Division 1.
* ASME Boiler and Pressure Vessel Code, Case N-597, "Requirements for Analytical Evaluation of Pipe Wall Thinning, Section XI.
* ASME B31.1 Power Piping.
* API 579-1/ASME FFS-1, Fitness-For-Service.

### [NEI](http://www.nei.org/)

* NEI-03-08, »Guideline for the Management of Materials Issues«.
* NEI 97-06, “Steam Generator Program Guidelines”.
* NUCLEAR ENERGY INSTITUTE, NUMARC 93-01, “Industry Guideline for Monitoring the Effectiveness of Maintenance at Nuclear Power Plants”.

### [INPO](http://www.inpo.info/)

* INPO AP-928, »Work Management Process Description«.
* INPO 05-003, »Performance Objectives and Criteria«.
* INPO AP-913, »Equipment Reliability Process Description«.
* INPO 97-011, »Guidelines for the Use of Operating Experience«.
* INPO 05-004, »Guidelines for the Conduct of Maintenance at Nuclear Power Stations«.
* INPO Good Practice OE 901 Industry Operating Experience Review.
* INPO Good Practice 85-031, Guidelines for the Conduct of Technical Support Activities at NPPs.

### [EPRI](http://www.epri.com/Pages/Default.aspx)

* »Steam Generator Management Program: Foreign Object Prioritization Strategy for Triangular Pitch Steam Generators«, EPRI, Palo Alto, CA: 2010. 1020989.
* MRP-139, “Materials Reliability Program: Primary System Piping Butt Weld Inspection and Evaluation Guideline.”
* MRP-126, "Materials Reliability Program: Generic Guidance for Alloy 600 Management" EPRI, Palo Alto, CA: 2004.1009561.
* MRP-227-A »Materials Reliability Program: Pressurized Water Reactor Internals Inspection and Evaluation Guidelines«. EPRI, Palo Alto, CA: 2011. 1022863.
* MRP-191 »Materials Reliability Program: Screening, Categorization and Ranking of Reactor Internals of Westinghouse and Combustion Engineering PWR Designs«, EPRI, Palo Alto, CA: 2006. 1013234.
* MRP-228 »Materials Reliability Program: Inspection Standard for Reactor Internals«, EPRI, Palo Alto, CA: 2009. 1016609.
* MRP-227 »Materials Reliability Program: Pressurized Water Reactor Internals Inspection and Evaluation Guidelines«, EPRI, Palo Alto, CA: 2008. 1016596.
* Pressurized Water Reactor Steam Generator Examination Guidelines.", EPRI, Palo Alto, 2007, 1013706.
* Revised Risk-Informed Inservice Inspection Evaluation Procedure, EPRI TR-112657.
* Flow Accelerated Corrosion in Nuclear Power Plants, EPRI TR -106611.
* Recommendations for an Effective Flow-Accelerated Corrosion Program, EPRI NSAC-202L-R4.
* EPRI TR-108936 - Predictive Maintenance Program, Development and Implementation.
* Heat Exchanger Performance Monitoring Guidelines, EPRI NP-7552.Recommendations for an Effective Program to Control the Degradation of Buried Pipe, EPRI TR-1016456
* EPRI, "NDE of Buried Pipes," Report GC-109054.
* EPRI, "NDE Technology for In-Line Inspection of Buried Service Water Piping," report GC-1 08827.

### Ostala dokumentacija

* EUROPEAN COMMISSION, ‘NDT Methods of Monitoring Degradation, Proceedings of the Joint EC – IAEA Specialist Meeting held at Petten, The Netherlands on 10 – 12 March 1999’, EUR-18718, EC (1999).
* OECD NUCLEAR ENERGY AGENCY, “Inspection of Digital I&C Systems - Methods and Approaches: Proceedings of a CNRA Workshop”, Garching, Germany 24-26 September 2007, NEA/CNRA/R(2008).
* IEEE Standard 338/87 Standard Criteria for the Periodic Surveillance Testing of Nuclear Power Generating Station Safety Systems.
* W. Bamford and J. Hall, “A Review of Alloy 600 Cracking in Operating Nuclear Plants: Historical Experience and Future Trends,” Proceedings of 11th International Conference on Environmental Degradation of Materials in Nuclear Power Systems—Water Reactors, ANS, 2003, pp.1071–1081.
* Technical Specification Task Force (TSTF) Standard Technical Specification Change Traveler, TSTF-449 Revision 4, “Steam Generator Tube Integrity«.
* THE EUROPEAN COMMISSION, “European Safety Practices on the Application of Leak Before Break (LBB) Concept”, Nuclear Regulatory Working Group, Report EUR 18549 EN, (2000).
* ANSI B 31.1 Power Piping.

## Kvalifikacija opreme

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/cfr/)

* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50, Appendix A, “General Design Criteria for NPP”.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50, Appendix B, “Quality Assurance Criteria for NPP and Fuel Reprocessing Plants”.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.49, CODE OF FEDERAL REGULATIONS, Environmental Qualification of Electric Equipment for Nuclear Power Plants, Federal Register, Vol. 47, No. 13.

### [*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-0800, SRP 3.11, Standard Review Plan (SRP), Environmental Qualification of Mechanical and Electrical Equipment.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-0800, SRP-3.10, , Standard Review Plan (SRP), Seismic and Dynamic Qualification of Mechanical and Electrical Equipment.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-0588, Interim Staff Position on Environmental Qualification of Safety Related Electrical Equipment.

### *NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.40, “Qualification of Continuous Duty Safety-Related Motors for Nuclear Power Plants”
* RG 1.63, “Electric Penetration Assemblies in Containment Structures for Nuclear Power Plants”
* RG 1.70, “Standard Format and Content of Safety Analysis Reports for Nuclear Power Plants (LWR Edition)”
* RG 1.73, “Qualification Tests of Electric Valve Operators Installed Inside the Containment of Nuclear Power Plants”
* RG 1.89, “Environmental Qualification of Certain Electric Equipment Important to Safety for Nuclear Power Plants”
* RG 1.97, ”Criteria for Accident Monitoring Instrumentation for Nuclear Power Plants”
* RG 1.100, “Seismic Qualification of Electric and Mechanical Equipment for Nuclear Power Plants”
* RG 1.158, “Qualification of Safety-Related Lead Storage Batteries for Nuclear Power Plants”
* RG 1.156, “Qualification of Connection Assemblies for Nuclear Power Plants”
* RG 1.160, “Monitoring the Effectiveness of Maintenance at Nuclear Power Plants”
* RG 1.180, “Guidelines for Evaluating Electromagnetic and Radio-Frequency Interference in Safety-Related Instrumentation and Control Systems”
* RG 1.206, “Combined License Applications for Nuclear Power Plants (LWR Edition) “
* RG 1.209, “Guidelines for Environmental Qualification of Safety-Related Computer-Based Instrumentation and Control Systems in Nuclear Power Plants”
* RG 1.211, “Qualification of Safety-Related Cables and Field Splices for Nuclear Power Plants”

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Equipment Qualification in Operational Nuclear Power Plants: Upgrading, Preserving and Reviewing, SRS-3, Safety Reports Series No.3, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Seismic Design and Qualification for Nuclear Power Plants, NS-G-1.6, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment and Verification for Nuclear Power Plants, NS-G-1.2, IAEA, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Design, SSR-2/1, IAEA, Vienna (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Format and Content of The Safety Analysis Report for Nuclear Power Plants, GS-G/4.1, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of the Reactor Coolant System and Associated Systems in Nuclear Power Plants, NS-G-1.9, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of Emergency Power Systems for Nuclear Power Plants, NS-G-1.8, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Instrumentation and Control Systems Important to Safety in Nuclear Power Plants, NS-G-1.3, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Assessment of Equipment Capability to perform reliably under severe accident conditions, TECDOC 1818, Vienna (2017).

### Ostala dokumentacija

* IEEE Std 317-1983, "IEEE Standard for Electric Penetration Assemblies in Containment Structures for Nuclear Power Generation Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.63).
* IEEE Std 323-1974, "IEEE Standard for Qualifying Class 1E Equipment for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.89 and NUREG-0588).
* IEEE Std 323-2003, "IEEE Standard for Qualifying Class 1E Equipment for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers.
* IEEE Std 344-1987, "IEEE Recommended Practice for Seismic Qualification of Class 1E Equipment for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.100).
* IEEE/IEC 60780-323 Nuclear facilities – Electrical equipment important to safety – Qualification, 2016.
* IEEE Std.7-4.3.2-2003, “IEEE Standard Criteria for Digital Computers in Safety Systems of Nuclear Power Generating Stations,” Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.209).
* IEEE Std 650-2006, “IEEE Standard for Qualification of Class 1E Static Battery Chargers and Inverters for Nuclear Power Generating Stations,” Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.210).
* IEEE 383-2003, “IEEE Standard for Qualifying Class 1E Electric Cables and Field Splices for Nuclear Power Generating Stations,” Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.211).
* IEEE 649 2006, “IEEE Standard for Qualifying Class 1E Motor Control Centers for Nuclear Power Generating Stations.” Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.213)
* IEEE Std 334-1971, "IEEE Trial-Use Guide for Type Tests of Continuous-Duty Class 1 Motors Installed Inside the Containment of Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.40).
* IEEE Std 382-1972, "IEEE Trial-Use Guide for Type Test of Class 1 Electric Valve Operators for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.73).
* IEEE Std 383-1974, "IEEE Standard for Type Test of Class 1E Electric Cables and Field Splices for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Draft Regulatory Guide 1.131).
* IEEE Std 535-1986, "IEEE Standard for Qualification of Class 1E Lead Storage Batteries for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.158).
* IEEE Std 572-1985, "IEEE Standard for Qualification of Class 1E Connection Assemblies for Nuclear Power Generating Stations," Institute of Electrical and Electronics Engineers (endorsed by Regulatory Guide 1.156).
* EPRI TR-100516, “Nuclear Power Plant Equipment Qualification Reference Manual”, 1992.

## Staranje objekta

### [NRC dokumenti](http://www.nrc.gov/)

* US NUCLEAR REGULATORY COMMISSION, "10CFR50.55a, Codes and standards".
* US NUCLEAR REGULATORY COMMISSION, "10 CFR 50.65, The Maintenance Rule".
* US NUCLEAR REGULATORY COMMISSION, “10 CFR 54, The License Renewal Rule”.
* US NUCLEAR REGULATORY COMMISSION, “10 CFR 50.65, Requirements for monitoring the effectiveness of maintenance at nuclear power plants“.
* US NUCLEAR REGULATORY COMMISSION, “Standard Review Plan for License Renewal”, NUREG 1800.
* US NUCLEAR REGULATORY COMMISSION, “Generic Aging Lessons Learned (GALL) Report”, NUREG 1801.
* US NUCLEAR REGULATORY COMMISSION, NUREG/CR-6048 ORNL-TM-12371 RV: Pressurized-Water Reactor Internals Aging Degradation Study, Phase I.
* US NUCLEAR REGULATORY COMMISSION, NUREG/CR-6260 INEL-95/0045: Application of NUREG/CR-5999 Interim Fatigue Curves to Selected Nuclear Power Plant Components.
* US NUCLEAR REGULATORY COMMISSION, NUREG/CR-6583 ANL-97/18: Effects of LWR Coolant Environments on Fatigue Design Curves of Carbon and Low-Alloy Steels.
* US NUCLEAR REGULATORY COMMISSION, NUREG/CR-4513 ANL-93/22: Estimation of Fracture Toughness of Cast Stainless Steel During Thermal Aging in LWR Systems.
* US NUCLEAR REGULATORY COMMISSION, NUREG/CR-6717 ANL-00/27: Environmental Effects on Fatigue Crack Initiation in Piping and Pressure Vessel Steels.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.188, “Standard Format and Content for LRA”.
* RG 1.188, »Standard Format And Content For Applications To Renew Nuclear Power Plant Operating Licenses«, Prepublication, US NRC«.
* RG-1.89, “Environmental Qualification of Certain Electric Equipment Important to Safety for Nuclear Power Plants”.
* RG 1.160, “Monitoring the Effectiveness of Maintenance at Nuclear Power Plants”.
* RG 1.99, »Radiation embrittlement of reactor vessel materials«.
* RG 1.211, “Qualification of Safety-Related Cables and Field Splices for Nuclear Power Plants”.

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Fundamental Safety Principles, SF-1, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Functions and Processes of the Regulatory Body for Safety, IAEA Safety Standards Series No. GSG-13, IAEA, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Format and Content of the Safety Analysis Report for Nuclear Power Plants, GS-G-4.1, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Design, IAEA Safety Standards Series No. SSR-2/1 (Rev. 1), IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Methodology for the Management of Aging of Nuclear Power Plant Components Important to Safety, Technical Reports Series No. 338, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Ageing Management and Development of a Programme for Long Term Operation of Nuclear Power Plants, IAEA Safety Standards Series No. SSG-48, IAEA, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “SALTO Guidelines, Guidelines for peer review of long term operation and aging management of nuclear power plants”, IAEA Services Series No.17, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Assessment and Management of Aging of Major NPP Components Important to Safety: Concrete Containment Buildings’, IAEA-TECDOC-1025, IAEA Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Assessment and Management of Aging of Major NPP Components Important to Safety: PWR Pressure Vessels’, IAEA-TECDOC-1120, IAEA Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, 'Assessment and Management of Ageing of Major Nuclear Power Plant Components Important to Safety: PWR Vessel Internals', IAEA TECDOC No. 1557, IAEA, Vienna (2017).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Management of Aging of I&C Equipment in Nuclear Power Plants’, IAEA-TECDOC-1147, IAEA, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Data Collection and Record Keeping for the Management of Nuclear Power Plant Aging, Safety Series No. 50-P-3, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “The IAEA database on aging of RPV welds and steels”, Working Material, IWG-LMNPP 95/5, IAEA Vienna (1995).
* INTERNATIONAL NUCLEAR SAFETY ADVISORY GROUP, ‘Safe Management of the Operating Lifetimes of Nuclear Power Plants’, INSAG-14, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Management of Life Cycle and Aging at Nuclear Power Plants: Improved I&C Maintenance”, IAEA TECDOC Series No. 1402, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Ageing Management for Nuclear Power Plants: International Generic Ageing Lessons Learned (IGALL),” Safety Reports Series No. SR-82, IAEA, Vienna (2015).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “ Handbook on Ageing Management for Nuclear Power Plants,” Nuclear Energy Series NP-T-3.24, IAEA, Vienna (2017).

### [NEI](http://www.nei.org/)

* NUCLEAR ENERGY INSTITUTE, “Industry Guideline for Implementing the Requirements of 10CFR54 – The License Renewal Rule”, NEI-95-10.
* NUCLEAR ENERGY INSTITUTE, “Industry Guideline for Monitoring the Effectiveness of Maintenance at Nuclear Power Plants”, NUMARC 93-01, Rev.4f (2018).

### [EPRI](http://www.nei.org/)

* EPRI TR-105090, “Guidelines to Implement the License Renewal Technical Requirements of 10CFR54 for Integrated Plant assessments and Time-Limited Aging Analyses.

### [ASME](https://www.asme.org/)

* ASME Code, Section XI, Rules for In-service Inspection of Nuclear Power Plant Components.
* ASME Code, Section II, Materials.
* ASME Code, Section V, Non-destructive Examination.

### Ostala dokumentacija

* OECD NUCLEAR ENERGY AGENCY, “Technical Aspects of Aging for Long term Operation”, NEA/CSNI/R(2002)26.
* OECD NUCLEAR ENERGY AGENCY, »[Irradiation Embrittlement and Optimisation of Annealing](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1" \l "p325)» NEA/CSNI/R(94)1.
* Nuclear power Plant Life Management in Some European Countries, EUR20415.
* Gilbert Associates, Inc.: Design Specification – Main Steam System – Piping Design/stress Analysis Specification – ASME Section III Class 2&3, Report number: DSP-G500-044687-000.
* Gilbert Associates, Inc.: Design Specification – Main Feedwater System – Piping Design/stress Analysis Specification – ASME Section III Class 2&3, Report number: DSP-G510-044687-000.
* P. Ferroni, Dept. Of Nuclear Engineering, MIT: LWR Pressure Vessel Embrittlemen and Conditions of Validity of Current Predictive Methodologies.
* THE EUROPEAN COMMISSION, “Preparatory Work for an Indicative Program Related to Aging Issues”, Report prepared for the CEC Working Group for Codes & Standards.

## Varnostne analize

### Deterministične varnostne analize

### 2.6.1.1 [NRC dokumenti](http://www.nrc.gov/)

* US NUCLEAR REGULATORY COMMISSION, Domestic Licensing of Production and Utilization Facilities, Code of Federal Regulations 10, Part 50, US Goverment Printing Office, Washington, DC (1995).
* US NUCLEAR REGULATORY COMMISSION, US NRC Regulations Title 10, Code of Federal Regulations Part 54—Requirements For Renewal Of Operating Licenses For Nuclear Power Plants (2009).
* US NUCLEAR REGULATORY COMMISSION, Domestic Licensing of Production and Utilization Facilities, Code of Federal Regulations 10 CFR Part 100 - Reactor site criteria.
* US NUCLEAR REGULATORY COMMISSION, Potential Impact of Debris Blockage on Emergency Recirculation during Design Basis Accidents at Pressurized-Water Reactors, Generic Letter 2004-02, (2004).
* US NUCLEAR REGULATORY COMMISSION, Inaccessible or Underground Power Cable Failures that Disable Accident Mitigation Systems or Cause Plant Transients, Generic Letter 2007-01,(2007).
* US NUCLEAR REGULATORY COMMISSION, Managing Gas Accumulation in Emergency Core Cooling, Decay Heat Removal, and Containment Spray Systems, Generic Letter 2008-01, (2008).
* US NUCLEAR REGULATORY COMMISSION, Potential Impact of Debris Blockage on Emergency Sump Recirculation at Pressurized-Water Reactors, Bulletin 2003-01, (2003).
* US NUCLEAR REGULATORY COMMISSION, Anticipated Transients That Could Develop into More Serious Events, RIS 2005-29, (2005).
* US NUCLEAR REGULATORY COMMISSION, Experience With Implementation of Alternative Source Terms, RIS 2006-04, (2006).

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* NUREG-0933, »A Prioritization of Generic Safety Issues«.
* NUREG-0800, »Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants«, LWR Edition.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.70, »Standard format and content of safety analysis reports for nuclear power plants«.
* RG 1.157, »Best-Estimate Calculations of Emergency Core Cooling System Performance«.
* RG 1.206, »Combined License Applications for Nuclear Power Plants (LWR Edition)«
* RG 1.203, »Transient and Accident Analysis Methods«.
* RG 1.206, »Combined License Applications for Nuclear Power Plants (LWR Edition)«..
* RG 1.97, »Instrumentation for Lightwater-Cooled Nuclear Power Plants to Assess Plant and Environs Conditions During and Following an Accident«..
* RG 1.4, »Assumptions Used for Evaluating the Potential Radiological Consequences of a Loss of Coolant Accident for Pressurized Water Reactors«
* RG 1.5, »Assumptions Used for Evaluating the Potential Radiological Consequences of a Steam Line Break Accident for Boiling Water Reactors«.
* RG 1.25, »Assumptions Used for Evaluating the Potential Radiological Consequences of a Fuel Handling Accident in the Fuel Handling and Storage Facility for Boiling and Pressurized Water Reactors«.
* RG 1.77, »Assumptions Used for Evaluating a Control Rod Ejection Accident for Pressurized Water Reactors«.
* RG 1.155, »Station Blackout«.
* RG 1.157, »Best-Estimate Calculations of Emergency Core Cooling System Performance«.
* RG 1.195, »Methods and Assumptions for Evaluating Radiological Consequences of Design Basis Accidents at Light-Water Nuclear Power Reactors«.

### 2.6.1.2 [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Generic safety issues for nuclear power plants with light water reactors and measures taken for their resolution, IAEA TECDOC-1044, IAEA, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Design of the Reactor Coolant System and Associated Systems in Nuclear Power Plants - Safety Guide”, Safety Standards Series No. NS-G-1.9, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Format and Content of the Safety Analysis Report for Nuclear Power Plants - Safety Guide. Safety Standards Series No. GS-G-4.1, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Accident Analysis for Nuclear Power Plants, Safety Report Series No. 23, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Best Estimate Safety Analysis for Nuclear Power Plants: Uncertainty Evaluation” Safety Reports Series No. 52, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety Assessment for Facilities and Activities”, Draft Safety Requirement, DS348, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Safety Assessment of Computerized Control and Protection Systems’, IAEA-TECDOC-780, IAEA, Vienna (1995).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment and Verification for Nuclear Power Plants, Safety Guide, Safety Standards Series No. NS-G-1.2, IAEA, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Application of the Single Failur Criteria, Safety Series No. 50-P-1, IAEA, Vienna (1990).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Guidelines for Accident Analysis of WWER Nuclear Power Plants, IAEA-EBP-WWER-01, Vienna (1995).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment for Facilities and Activities, General Safety Requirements Part 4, Safety Standards Series No. GSR Part 4, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Deterministic Safety Analysis for Nuclear Power Plants, IAEA Safety Standards Series No. SSG-2 (Rev.1), IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Radiation Protection Aspects of Design for Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-1.13, IAEA, Vienna (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, DS414, Safety Requirements: Safety of Nuclear Power Plants: Design, IAEA Safety Standards Series No. NS-R-1, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Operational Limits and Conditions and Operating Procedures for Nuclear Power Plants, IAEA Safety Standards Series, No. NS-G-2.2, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Design, Specific Safety Requirements, No. SSR-2/1, IAEA, Vienna (2012).
* DEFENCE IN DEPTH IN NUCLEAR SAFETY, INSAG-10, A Report by the International Nuclear Safety Advisory Group
* INTERNATIONAL ATOMIC ENERGY AGENCY, Accident Analysis for Nuclear Power Plants with Pressurized Water Reactors, Safety Report Series No. 30, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Accident Analysis for Nuclear Power Plants, Safety Report Series No. 23, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Analysis and Licencing Documentation for Nuclear Fuel Cycle Facilities, Safety Report Series No. 102, IAEA, Vienna (2020).

#### 2.6.1.3 ANSI

* AMERICAN NATIONAL STANDARDS INSTITUTE, Revision and Addendum to Nuclear Safety Criteria for the Design of Stationary Pressurized Water Reactor Plants, Rep. ANSI-N18.2A-1995.
* ANSI/ASME NQA-1, PD606 Requirements for Computer Software Used in Nuclear Facilities.

#### 2.6.1.4 [WENRA](http://www.wenra.org/)

* WENRA Safety Reference Levels for Existing Reactors, 2014.

#### 2.6.1.5 OECD/NEA

* OECD/NEA, [Nuclear Fuel Behaviour under Reactivity-initiated Accident (RIA) Conditions](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p6847), State-of-the-art Report, 2010.
* OECD/NEA, [Computational Fluid Dynamics (CFD) for Nuclear Reactor Safety Applications](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p7076) (2012), Workshop Proceedings, CFD4NRS-3, Bethesda, Maryland, USA, 14-16 September 2010.
* OECD/NEA, [Experiments and CFD Code Application to Nuclear Reactor Safety (XCFD4NRS)](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p6879) (2010) Workshop Proceedings, Grenoble, France, 10-12 September 2008.
* OECD/NEA, [Nuclear Fuel Behaviour in Loss-of-coolant Accident (LOCA) Conditions](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p6846) (2009) State-of-the-art Report.
* OECD/NEA, [Proceedings of the OECD/CSNI Workshop on Transient Thermal-Hydraulic and Neutronic Codes Requirements](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p367) (1997) NEA/CSNI/R(97)4 - November 5-8, 1996.
* OECD/NEA, [Lessons Learned from OECD/CSNI ISP on Small Break LOCA - Final Report](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p323) (1997), NEA/CSNI/R(96)20 - July 1996.
* OECD/NEA, [Transient Behaviour of High Burnup Fuel](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p318) (1996) Proceedings of the CSNI Specialist Meeting, Cadarache, France: 12-14 September 1995, NEA/CSNI/R(95)22.
* OECD/NEA, [Relevant Thermal Hydraulic Aspects of Advanced Reactor Design](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p321) (1997) Status Report - NEA/CSNI/R(96)22- November 1996.
* OECD/NEA, [Probabilistic Structural Integrity Analysis and its Relationship to Deterministic Analysis](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p242) (1996) Principal Working Group No.3 on Integrity of Components and Structures - NEA/CSNI/R(96)4 - Stockhom, Sweden, 28 February-1 March 1996..
* OECD/NEA, [CSNI Status Summary on Utilization of Best-Estimate Methodology in Safety Analysis and Licensing](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p332) (1997) NEA/CSNI/R(96)19 - October 1996
* OECD/NEA [Boron Reactivity Transients](http://www.oecd-nea.org/tools/publication?query=&div=NSD&lang=English&period=100y&sort=date&filter=1#p344) (1997), Proceedings of a Specialist Meeting - NEA/CSNI/R(96)3 - State College, PA, USA, 18-20 October 1995.
* OECD/NEA, Phenomena Identification and Ranking Table, R&D Priorities for Loss-of-Cooling and Loss-of-Coolant Accidents in Spent Nuclear Fuel Pools, May 2018.

#### 2.6.1.6 Ostala dokumentacija

* N. R. LaBarge, B. R. Baron, R. E. Schneider, M. C. Jacob, “Comparison of thermal hydraulic simulations of beyond design basis events using the MAAP4 and CENTS computer codes”, Proceedings of the 17th International Conference on Nuclear Engineering ICONE17, Brussels, Belgium, July 12-16, 2009.
* M.A. Shockling, C. Frepoli, and K. Ohkawa, SYSTEM LEVEL PHENOMENA OBSERVED IN THE WESTINGHOUSE FULL SPECTRUMTM LOCA METHODOLOGY, The 14th International Topical Meeting on Nuclear Reactor Thermalhydraulics, NURETH-14 Toronto, Ontario, Canada, September 25-30, 2011.
* F. D’Auria, M. Leonardi, H. Glaeser, R. Pochard, Current status of methodologies evaluating the uncertainty in the prediction of thermalhydraulic phenomena in nuclear reactors, Two-Phase Flow Modelling and Experimentation 1995, 1995 Edizioni ETS.
* Mitsubishi Heavy Industries, Ltd., Design Control Document for the U.S. APWR.
* Canadian Nuclear Safety Commission, Deterministic Safety Analysis, Regulatory Document REGDOC-2.4.1, 2014.
* Application of Advanced Safety Methods, Conclusions of the IAEA, OECD JRC joint Technical Meeting, EUR 24648 EN-2010, (2010).

### Verjetnostne varnostne analize

#### 2.6.2.1 [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* US NUCLEAR REGULATORY COMMISSION 60FR42622, "PRA Policy Statement",

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION, Good Practices for Implementing Human Reliability Analysis (HRA), NUREG-1792.
* U.S. NUCLEAR REGULATORY COMMISSION, Evaluation of Human Reliability Analysis Methods Against Good Practices - Final Report, NUREG-1842.
* U.S. NUCLEAR REGULATORY COMMISSION NUREG/CR-5485, “Guidelines on Modeling Common Cause Failures in Probabilistic Risk Assessment”, Idaho National Engineering and Environmenta1 Laboratory, University of Maryland, Prepared for US NRC.
* A Pilot Probabilistic Risk Assessment of a Dry Cask Storage System at a Nuclear Power Plant, NUREG-1864.
* Glossary of Risk-Related Terms in Support of Risk-Informed Decision making, NUREG-2122.
* EPRI/NRC-RES Fire Human Reliability Analysis Guidelines – Final Report, NUREG-1921.
* U.S. NUCLEAR REGULATORY COCOMMISSION, Technical Review of Risk-Informed, Performance-Based Methods for Nuclear Power Plant Fire Protection Analyses - Draft Report for Comment, NUREG-1521
* U.S. NUCLEAR REGULATORY COCOMMISSION, Guidance on the Treatment of Uncertainties Associated with PRAs in Risk-Informed Decisionmaking, Final Report, NUREG-1855, Revision 1
* U.S. NUCLEAR REGULATORY COCOMMISSION, Spent Fuel Transportation Risk Assessment – Final Report, NUREG-2125
* U.S. NUCLEAR REGULATORY COCOMMISSION, A Proposed Risk Management Regulatory Framework, NUREG-2150

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.174 “An approach for Using Probabilistic Risk Assessment in Risk-Informed Decisions on Plant-Specific Changes to the Licensing Basis”
* RG 1.175 "An Approach for Plant-Specific, Risk-Informed Decision making: Inservice Testing"
* RG 1.177 "An Approach for Plant-Specific, Risk-Informed Decision making: Technical Specifications"
* RG 1.178 "An Approach for Plant-Specific Risk-Informed Decision making for Inservice Inspection of Piping"
* RG 1.200 "An Approach for Determining the Technical Adequacy of Probabilistic Risk Assessment Results for Risk-Informed Activities"
* RG 1.205 "Risk-Informed, Performance-Based Fire Protection for Existing Light-Water Nuclear Power Plants"

### 2.6.2.2 [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Procedures for Conducting Probabilistic Safety Assessments of Nuclear Power Plants (Level 1), Safety Series No. 50-P-4, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Procedures for Conducting Probabilistic Safety Assessments of Nuclear Power Plants (Level 2), Safety Series No. 50-P-8, IAEA, Vienna (1995).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Procedures for Conducting Probabilistic Safety Assessments of Nuclear Power Plants (Level 3)«, Safety Series No. 50-P-12, IAEA, Vienna (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Human Reliability Analysis in Probabilistic Safety Assessment for Nuclear Power Plants«, Safety Series No. 50-P- 10, IAEA, Vienna (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Treatment of Internal Fires in Probabilistic Safety Assessment for Nuclear Power Plants«, Safety Report Series No. 10, IAEA, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Review of Probabilistic Safety Assessments by Regulatory Bodies Plants«, Safety Report Series No. 25, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Approaches and Tools for Severe Accident Analysis for Nuclear Power Plants«, Safety Report Series No. 56, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Development and Application of Level 1 Probabilistic Safety Assessment for Nuclear Power Plants”, Specific Safety Guide, Series No. SSG-3, Vienna, (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Development and Application of Level 2 Probabilistic Safety Assessment for Nuclear Power Plants”, Specific Safety Guide, Series No. SSG-4, Vienna, (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »The Role of Probabilistic Safety Assessment and Probabilistic Safety Criteria in Nuclear Power Plant Safety«, Safety Series No. 106, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Procedures for Conducting Independent Peer Reviews of Probabilistic Safety Assessments«, IAEA-TECDOC-543, IAEA, Vienna (1990).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Determining the Quality of Probabilistic Safety Assessment (PSA) for Applications in Nuclear Power Plants”, IAEA TECDOC Series No. 1511, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Implementation of Accident Management Programmes in Nuclear Power Plants”, Safety Reports Series No. 32, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, »Implementation of Accident Management Programmes in Nuclear Power Plants«, Safety Reports Series No. 32, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Severe Accident Management Programmes for Nuclear Power Plants”, Safety Guide, Series No. NS-G-2.15, 2009., IAEA, Vienna (2009).
* INTERNATIONAL NUCLEAR SAFETY ADVISORY GROUP, »Probabilistic Safety Assessment«, 75-INSAG-6, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Risk Informed In-service Inspection of Piping Systems of Nuclear Power Plants: Process, Status, Issues and Development" IAEA Nuclear Energy Series NP-T-3.1, Vienna (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Consideration of External Hazards in Probabilistic Safety Assessment for Single Unit and Multi-unit Nuclear Power Plants, Safety Reports Series No. 92, IAEA, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Accident Management Programmes for Nuclear Power Plants, IAEA Safety Standards Series No. SSG-54, IAEA, Vienna (2019).

### 2.6.2.3 NEI

* NUCLEAR ENERGY INSTITUTE, “Probabilistic Risk Assessment (PRA) Peer Review Process Guidance”, NEI-00-02, 2000.
* NUCLEAR ENERGY INSTITUTE “Process for Performing Internal Events PRA Peer Reviews Using the ASME/ANS PRA Standard”, NEI 05-04, Rev. 2, NEI (2008).
* NUCLEAR ENERGY INSTITUTE “Fire PRA Peer Review Process Guidelines”, NEI 07-12, Rev. 1, NEI (2010).
* NUCLEAR ENERGY INSTITUTE “External Hazards PRA Peer Review Process Guidelines”, NEI 12-13, NEI (2012).

### 2.6.2.4 ANSI/ASME/ANS

* THE AMERICAN SOCIETY OF MECHANICAL ENGINEERS, “Standard for Probabilistic Risk Assessment for Nuclear Power Plant Applications”, ASME RA-S-2002, 2002 with addenda ASME RA-Sa-2003 , ASME RA-Sb-2005 and ASME RA-Sc-2007.
* ANSI/ANS-58.21-2003 “External-events PRA Methodology, An American National Standard”, American Nuclear Society, March 2003, rev1., March 2007 (Revision 1 to ANS 58.21 and ANS 58.23 became part of the ASME/ANS RA-S standard which was endorsed in RG 1.200; consequently, as separate, redundant standard, the NRC staff did not endorse ANS 53.21 or ANS 53.23.).
* ANSI/ANS-58.23-2007 “Fire (for operating reactors), An American National Standard”, American Nuclear Society, 2007 (Revision 1 to ANS 58.21 and ANS 58.23 became part of the ASME/ANS RA-S standard which was endorsed in RG 1.200; consequently, as separate, redundant standard, the NRC staff did not endorse ANS 53.21 or ANS 53.23.).
* ANSI/ASME/ANS RA-S-2008, “Standard for Level 1/Large Early Release Frequency Probabilistic Risk Assessment for Nuclear Power Plant Applications” (2008).
* ANSI/ASME/ANS RA-Sa-2009, “Addenda to ASME/ANS RA-S-2008, Standard for Level 1/Large Early Release Frequency Probabilistic Risk Assessment for Nuclear Power Plant Applications” (2009).

### 2.6.2.5 Ostala dokumentacija

* OECD NUCLEAR ENERGY AGENCY, »Level 2 PSA Methodology and Severe Accident Management«, Report OECD/GD(97)198, OECD, Paris (1997).
* OECD NUCLEAR ENERGY AGENCY »Evaluation of Uncertainties in Relation to Severe Accident and Level-2 Probabilistic Safety Analysis« , Workshop Proceedings, Aix-en-Provence, France, 7-9 November 2005.
* OECD NUCLEAR ENERGY AGENCY Regulatory Approaches to PSA (1996) Report on the Survey of National Practices - NEA/CNRA/R(95)2.
* OECD NUCLEAR ENERGY AGENCY Proceedings of the International Workshop on Reliability Data Collection in Support of PSA, Maintenance and Life-Insurance Programmes (1996) NEA/CSNI/R(95)13.
* OECD NUCLEAR ENERGY AGENCY, CSNI Technical Opinion Paper No. 17 Fire Probabilistic Safety Assessments for Nuclear Power Plants: 2019 Update

### Obvladovanje težkih nesreč

### 2.6.3.1 [NRC dokumenti](http://www.nrc.gov/)

* NRC Order EA-12-049, Order Modifying Licenses with Regard to Requirements for Mitigation Strategies for Beyond Design Basis External Events, (2012).

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.219 »Guidance on Making Changes to Emergency Plans for Nuclear Power Reactors«.

### 2.6.3.2 [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, “Implementation of Accident Management Programmes in Nuclear Power Plants”, Safety Reports Series No. 32, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Severe Accident Management Programmes for Nuclear Power Plants", Safety Standards Series No. NS-G-2.15, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Approaches and Tools for Severe Accident Analysis for Nuclear Power Plants", Safety Reports Series No. 56, IAEA, Vienna (2008).

### 2.6.3.3 [EPR](https://www.iaea.org/Publications/index.html)I

* Electric Power Research Institute Technical Report, Severe Accident Management Guidance - Technical Basis Report, TR-1025295.

### 2.6.3.4 [NEI](http://www.nei.org/)

* NEI 14-01, Emergency Response Procedures and Guidelines for Extreme Events and Severe Accidents, (2014).
* NEI 13-06, Enhancements to Emergency Response Capabilities for Beyond Design Basis Accidents and Events, (2014).
* NEI 06-12, B.5.b Phase 2 & 3 Submittal Guideline, (2009).

#### 2.6.3.5 Ostala dokumentacija

* WENRA F Design Extension of Existing Reactors, September 2014.
* WENRA F Guidance Document: Design Extension of Existing Reactors, September 2014.
* WENRA L+M Emergency Operating Procedures and Severe Accident Management Guidelines, September 2014.
* OECD NUCLEAR ENERGY AGENCY, Level 2 PSA Methodology and Severe Accident Management, Rep. OECD/GD(97)198, OECD, Paris (1997).

### Analize ogroženosti in potencialnih nevarnosti s stališča jedrske in sevalne varnosti

### 2.6.4.1 [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/cfr/)

* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR Part 50 - Domestic licensing of product and utilization facilities.
* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR 54 - Requirements for renewal of operating licenses for nuclear power plants.
* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR Part 100 - Reactor site criteria.
* U.S. NUCLEAR REGULATORY COMMISSION, NRC 10 CFR 50.48 Fire protection.
* U.S. NUCLEAR REGULATORY COMMISSION, NRC 10 CFR 50 Appendix R, Fire Protection Program.
* NRC Inspection Procedures, Attachment 71111.01, Adverse Weather Protection, Section 02.04, Evaluate Readiness to Cope with External Flooding.

*[NUREG](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)*

* [NUREG-0800 Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants: LWR Edition](http://www.nrc.gov/reading-rm/doc-collections/nuregs/staff/sr0800/).
* U.S. NUCLEAR REGULATORY COMMISSION, M. Bohn and J. Lambright, “Procedures for the External Event Core Damage Frequency Analyses for NUREG-1150”, NUREG/CR-4840, December 1990.
* U.S. NUCLEAR REGULATORY COMMISSION, J. Lambright, et al., “Analysis of the LaSalle Unit 2, Internal Fire Analysis”, NUREG/CR-4832, March 1993.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.70, Standard Format and Content of Safety Analysis Reports for Nuclear Power Plants (LWR Edition).
* RG 1.206 Combined License Applications for Nuclear Power Plants (LWR Edition).
* RG 1.180, »Guidelines for Evaluating Electromagnetic and Radio-Frequency Interference in Safety-Related Instrumentation and Control Systems«.
* RG 1.13, »Spent Fuel Storage Facility Design Basis«.
* RG 1.76, »Design-Basis Tornado and Tornado Missiles for Nuclear Power Plants«.
* RG 1.23, »Meteorological monitoring programs for nuclear power plants«.
* RG 1.198, »Procedures and Criteria for Assessing Seismic Soil Liquefaction at Nuclear Power Plant Sites«.
* RG 1.208 »A Performance-Based Approach to Define Site-Specific Earthquake Ground Motion«.
* RG 1.115, »Protection Against Low-Trajectory Turbine Missiles«.
* RG 1.7, »Control of Combustible Gas Concentrations in Containment«.
* RG 1.217, »Guidance for the Assessment of Beyond-Design-Basis Aircraft Impacts«.
* RG 1.221 »Design-Basis Hurricane and Hurricane Missiles for Nuclear Power Plants«.
* RG 1.205, “Risk-Informed, Performance-Based Fire Protection for Existing Light-Water Nuclear Power Plants” .
* RG 1.189, “Fire Protection for Nuclear Power Plants”..
* RG 1.102, "Flood Protection for Nuclear Power Plants"
* RG 1.27, “Ultimate Heat Sink for Nuclear Power Plants”.
* RG 1.28, "Quality Assurance Program Requirements (Design and Construction)".
* RG 1.59, “Flood Design Basis for Nuclear Power Plants”.
* RG 1.102, “Flood Protection for Nuclear Power Plants”.
* RG 1.132, “Site Investigations for Foundations of Nuclear Power Plants”.
* RG 1.138, “Laboratory Investigations of Soils and Rocks for Engineering Analysis and Design of Nuclear Power Plants”.
* RG 1.206, “Combined License Applications for Nuclear Power Plants”.
* RG 4.7, "General Site Suitability Criteria for Nuclear Power Stations".
* RG 1.127, “Inspection of Water-Control Structures Associated with Nuclear Power Plants”.

### 2.6.4.2 [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, 'Site Evaluation for Nuclear Installations', Safety Standards Series No. SSR-1, IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Site Survey and Site Selection for Nuclear Instalations’, Safety Standards Series No. SSG-35, Vienna (2015).
* INTERNATIONAL ATOMIC ENERGY AGENCY ‘External Human Induced Events in Site Evaluation for Nuclear Power Plants’, Safety Guide No. NS-G-3.1, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Geotechnical Aspects of Site Evaluation and Foudations for Nuclear Power ’, Safety Guide No. NS-G-3.6, Vienna (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, External Events Excluding Earthquakes in the Design of Nuclear Power Plants - Safety Guide, Safety Standards Series No. NS-G-1.5, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Seismic Design and Qualification for Nuclear Power Plants, Safety Standards Series No. NS-G-1.6, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Seismic Evaluation of Existing Nuclear Power Plants”, Safety Reports Series No. 28, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Seismic Hazards in Site Evaluation for Nuclear Installations, Safety Standards Series No. SSG-9, IAEA, Vienna (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Evaluation of Seismic Safety for Existing Nuclear Installations, Safety Standards Series No. NS-G-2.13, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Meteorological and Hydrological Hazard in Site Evaluation for Nuclear Installations, Specific Safety Guides, No. SSG-18, IAEA, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Fire Safety in the operation of Nuclear Pawer Plants, Safety Guide No. NS-G-2.1, IAEA, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Fires and Explosions in Nuclear Power Plants, Safety Standards Series, NS-G-1.7, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Hazards other than Fires and Explosions in the Design of Nuclear Power Plants -Safety Guide, Safety Standards Series No. NS-G-1.11, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety of Nuclear Power Plants: Design”, Safety Standards Series No. SSR-2/1 (Rev. 1), IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety Assessment for Facilities and Activities”, Safety Standards Series No. GSR Part 4 (Rev. 1), IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Deterministic Safety Analysis for Nuclear Power Plants”, Safety Standards Series No. SSG-2 (Rev.1), IAEA, Vienna (2019).

### 2.6.4.3 [NEI](http://www.nei.org/)

* NEI 00-02, “Probabilistic Risk Assessment (PRA) Peer Review Process Guidance”, 2000.
* NEI 12-07, Guidelines for Performing Verification Walkdowns of Plant Flood Protection Features, 2012.

### 2.6.4.4 [ASME](https://www.asme.org/)

* THE AMERICAN SOCIETY OF MECHANICAL ENGINEERS, “Standard for Level 1 / Large Early Release Frequency Probabilistic Risk Assessment for Nuclear Power Plant Applications”, ASME RA-S-2008 with Addenda RA-Sa-2009, Errata (2009), and Addenda RA-Sb-2013.

### 2.6.4.5 ANSI/ANS in ostali standardi

* ANSI/ANS-58.3-1992 (R2008), “Physical protection for nuclear safety-related system and components”, American Nuclear Society, 2008.
* ANSI/ANS-2.8-2020, "Probabilistic Evaluation of External Flood Hazards for Nuclear Facilities".
* ACI 349, “Code Requirements for Nuclear Safety Related Concrete Structures”.
* ACI 318-19, “Building Code Requirements for Structural Concrete and Commentary”.
* ASCE/SEI 7, “Minimum Design Loads for Buildings and Other Structures”.
* ASME Boiler and Pressure Vessel Code, Section III.
* American Society for Testing and Materials (ASTM) International, ASTM D1587/D1587M, “Standard Practice for Thin-Walled Tube Sampling of Fine-Grained Soils for Geotechnical Purposes”, 2015.
* American Society for Testing and Materials (ASTM) International, ASTM D4044/D4044M, “Standard Test Method for (Field Procedure) for Instantaneous Change in Head (Slug) Tests for Determining Hydraulic Properties of Aquifers”, 2015.
* American Society for Testing and Materials (ASTM) International, ASTM D2850, “Standard Test Method for Unconsolidated-Undrained Triaxial Compression Test on Cohesive Soils”, 2015.
* American Society for Testing and Materials (ASTM) International, ASTM D4767, “Standard Test Method for Consolidated Undrained Triaxial Compression Test for Cohesive Soils”, 2011.
* American Society for Testing and Materials (ASTM) International, ASTM D2435/D2435M, “Standard Test Methods for One-Dimensional Consolidation Properties of Soils Using Incremental Loading”, 2011.
* American Society for Testing and Materials (ASTM) International, ASTM D3080/D3080M, “Standard Test Method for Direct Shear Test of Soils Under Consolidated Drained Conditions”, 2011.
* American Society for Testing and Materials (ASTM) International, ASTM D2166/D2166M, “Standard Test Method for Unconfined Compressive Strength of Cohesive Soil”, 2016.

## Uporaba obratovalnih izkušnj ter obratovalni kazalniki objekta

### NRC dokumenti

* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR 21 (Reporting of Defects an Noncompliance).
* U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR 50 (Domestic Licensing of Production and Utilization Facilities).
* U.S. NUCLEAR REGULATORY COMMISSION, “Performance Objectives and Criteria for Operating Nuclear Electric Generating Stations”, INPO 97-002.
* U.S. NUCLEAR REGULATORY COMMISSION, “Guidelines for the Use of Operating Experience”, INPO 97-002.

[*NUREG:*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION NUREG-1022, Revision 2, Event Reporting Guidelines 10 CFR 50.72 and 50.73.

### NEI

* NEI, “Regulatory Assessment Performance Indicator Guideline”, NEI 99-02, rev.7, (2013).

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, International Nuclear Safety Advisory Group, Improving the International System for Operating Experience Feedback, INSAG Series No. 23, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Operating Experience Feedback for Nuclear Installations” Specific Safety Guide, No. SSG-50, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY “A System for the Feedback of Experience from Events in Nuclear Installations - Safety Guide”, Safety Standards Series No. NS-G-2.11, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY and OECD Nuclear Energy Agency, IAEA/NEA Incident Reporting System (IRS) Reporting Guidelines, IAEA, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY “Best Practices in Identifying, Reporting and Screening Operating Experience at Nuclear Power Plants”, IAEA TECDOC Series No. 1581, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY “Best Practices in the Management of an Operating Experience Programme at Nuclear Power Plants”, IAEA TECDOC Series No. 1653, IAEA, Vienna (2010).
* INTERNATIONAL ATOMIC ENERGY AGENCY Safety series no. 73 Low Level Event and Near Miss Process for Nuclear Power Plants – Best Practices, Vienna (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY PROSPER Guidelines Guidelines for Peer Review and for Plant Self-Assessment of Operational Experience Feedback Process, Vienna (2003).
* IAEA TECDOC 1600 "Best Practices in the Organization Management and Conduct of an Effective Investigation of Events at NPP"”, IAEA TECDOC Series No. 1600, IAEA, Vienna (2008).
* IAEA TECDOC 1477 "Trending of low level events and near misses to enhance safety performance in nuclear power plants", Vienna (2005).
* Guidelines for describing of human factors in the Incident Reporting System (IRS) reports, Report of a consulting meeting organized by the IAEA and held in Vienna, Austria, 19-23 March 2001, IAEA-J4-CS-14/01.
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Evaluating and Improving Nuclear Power Plant Operating Performance’, IAEA-TECDOC-1098, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Operational Safety Performance Indicators for Nuclear Power Plants, IAEA-TECDOC-1141, IAEA, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Operating Experience With Nuclear Power Stations in Member States in 2008“.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Operating Organization for Nuclear Power Plants”, Safety Series NS-G-2.4, IAEA, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Good Practices for Improved Nuclear Power Plant Performance”, IAEA-TECDOC-498, IAEA, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “OSART Guidelines, 2005 Edition“, Services Series 12, Vienna (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY and OECD Nuclear Energy Agency, IAEA/NEA, IRS Guidelines,joint IAEA/NEA International Reporting System for Operating Experience, Vienna (2010).

### Ostala dokumentacija

* DOE, “Root cause analysis guidance document”, DOE guideline, DOE-NE-STD-1004-92, Washington, USA, (1992)
* JRC, "Comparative analysis of nuclear event investigation methods, tools and techniques"
* ETSON, “Event Review and Precursor Analysis”, Technical Safety Assessment Guide Germany, (2013).
* OECD, Nuclear Energy Agency, “The Use of International Operating Experience Feedback for Improving Nuclear Safety”, NEA/CNRA/R(2008).

## Sistem vodenja in organiziranosti

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/cfr/)

* U.S. NUCLEAR REGULATORY COMMISSION, NRC Regulations, Title 10, Code of Federal Regulations.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR21 Reporting of Defects and Noncompliance, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50 Appendix A General Design Criteria for Nuclear Power Plants.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50 Appendix B Quality Assurance Criteria for Nuclear Power Plants and Fuel Reprocessing Plants, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.34 Contents of Applications; Technical Information, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.54 Conditions of Licenses, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.55 Conditions of construction permits, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.59 Changes, Tests and Experiments, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR50.65 Requirements for Monitoring the Effectiveness of Maintenance at Nuclear Power Plants, NRC of the USA.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR71 Subpart H Packaging and Transportation of Radioactive Material.
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR72 Subpart G Licensing Requirements fort he Independant Storage of Spent Nuclear Fuel, High-Level Radiaactive Waste, and Reactor -related greate then Class C Waste; Quality Assurance.

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR-5538, Vol. 1 Influence of Organizational Factors on Performance Reliability, Overview and Detailed Methodological Development, Brookhaven National Laboratory, Prepared for US NRC, 1991.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR-5538, Vol. 1 Influence of Organizational Factors on Performance Reliability, Overview and Detailed Methodological Development, Brookhaven National Laboratory, Prepared for US NRC, 1991.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.33, »Quality Assurance Program Requirements (Operation)«.

### IAEA dokumenti

* INTERNATIONAL ATOMIC ENERGY AGENCY, Leadership and Management for Safety Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Series No. 50-C-QA (Rev.1) Quality Assurance for Safety in Nuclear Power, Plants, Vienna (1988).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Manual on Quality Assurance for Computer Software Related to the Safety of Nuclear Power Plants’, Technical Report Series No. 282, IAEA, Vienna (1988).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Regulatory Inspection of the Implementation of Quality Assurance Programmes: A Manual’, Technical Reports Series No. 296, Vienna (1989).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Quality Management for Nuclear Power Plant Operation – A Manual, Technical Reports Series No. 315, Vienna (1990).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Quality Assurance Integrated Training Packages – A Technical Reports Series No. 340, Vienna (1992).
* INTERNATIONAL ATOMIC ENERGY AGENCY, International Basic Safety Standards for Protection Against Ionizing Radiation and for the Safety of Radiation Sources, Series No. 115, Viena (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Nuclear Power Plant Personnel Training and its Evaluation – A Guidebook, Technical Reports Series No. 380, Vienna (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Nuclear Power Plant Organization and Staffing for Improved Performance: Lessons Learned, IAEA-TECDOC-1052, IAEA, Vienna (1998).
* IAEA-TECDOC-1399 “The nuclear power industry’s ageing workforce Transfer of knowledge to the next generation, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Quality Assurance Within Regulatory Bodies, IAEA-TECDOC-1090, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Operation –Requirements, Safety Standards Series No. NS-R-2, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Operating Organization for Nuclear Power Plants - Safety Guide, Safety Standards Series No. NS-G-2.4, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Management of Operational Safety in Nuclear Power Plants, INSAG Series No. 13, Vienna, 1999,
* INTERNATIONAL ATOMIC ENERGY AGENCY, Organization, Management and Staffing of the Regulatory Body for Safety, General Safety Guide. No. GSG-12, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Functions and Processes of the Regulatory Body for Safety, General safety Guide No.GSG-13, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Configuration Management in Nuclear Power Plants, IAEA-TECDOC-1335, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, OSART Guidelines Services Series 12, Rev.1, IAEA, Vienna (2015).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Application of the Management System for Nuclear Installations– Safety Guide No. GS-R-3.1, IAEA,Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Knowledge Management for Nuclear Industry Operating Organizations, IAEA TECDOC 1510, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Fundamental Safety Principles, Series No. SF-1, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Management of Continual Improvement for Facilities and Activities: Structured Approach, Series No. 1491, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for the Processing, Handling and Storage of Radioactive Waste - Safety Guide, Safety Standards Series No. GS-G-3.3, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Conduct of Operations at for Nuclear Power Plants, Safety Standards Series No. NS-G-2.14, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for the Disposal of Radioactive Waste – Safety Guide Safety Standards Series No. GS-G-3.4, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment for Facilities and Activities General Safety Requirements Part 4, Series No. GSR Part 4 (Rev.1), Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for Nuclear Instalation – Safety Guide No. GS-G-3.5, IAEA,Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Predisposal Management of Radioactive Waste General Safety Requirements Part 5, Series No. GSR Part 5, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Governmental, Legal and Regulatory Framework for Safety General Safety Requirements Part 1, Series No. GSR Part 1, (Rev, 1) Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Establishing the Safety Infrastructure for a Nuclear Power Programme, Specific Safety Guide, IAEA Safety Standards Series No. SSG-16, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Radiation Protection and Safety of Radiation Sources: International Basic Safety Standards - Interim Edition Series No. GSR Part 3),Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Management System Standards: Comparison between IAEA GS-R-3 and ISO 9001:2008, Safety Reports Series No.69, Vienna (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Use of a Graded Approach in the Application of the Management System Requirements for Facilities and Activities, IAEA TECDOC 1740, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Development and Implementation of Process Based Management System, IAEA Nuclear Energy Series NO NG- T-1.3, Vienna (2015).

### OECD dokumenti

* OECD NUCLEAR ENERGY AGENCY, Identification and Assessment of Organisational Factors Related to the Safety of NPPs: State of the Art, Vol.1, NEA/CSNI/R (1999).
* OECD NUCLEAR ENERGY AGENCY, The Effectiveness of Licensees in Inspecting the Management of Safety, NEA/CNRA/R (2001).
* OECD NUCLEAR ENERGY AGENCY, Direct Indicators of Nuclear Regulatory Efficiency and Effectiveness.OECD (2004).
* OECD NUCLEAR ENERGY AGENCY, Safety of Modifications at Nuclear Power Plants -The role of minor modifications and human and organizational factors NEA/CSNI/R (2005).
* OECD NUCLEAR ENERGY AGENCY, Proceedings of the Workshop on Better Nuclear Plant Maintenance: Improving Human and Organisational Performance, Canada 3-5 October 2005, NEA/CSNI/R (2006).
* OECD NUCLEAR ENERGY AGENCY, Improving Nuclear Regulation, NEA Regulatory Guidance Booklets, Volume 1-14, (2011).
* »[Oversight and Influencing Of Licensee Leadership And Management For Safety, Including Safety Culture – regulatory approaches and methods«, NEA (2011)](https://www.oecd-nea.org/nsd/docs/2012/csni-r2012-13.pdf).
* OECD NUCLEAR ENERGY AGENCY The Characteristics of an Effective Nuclear Regulator NEA No. 7185 (2014).

### ANSI/ASME

* ANSI/ASME N45.2-1977 Quality Assurance Requirements for Nuclear Power Plants.
* ANSI/ASME N45.2.6 Qualification of Inspection, Examination, and Testing Personnel for Nuclear Power Plants.
* ANSI/ASME N45.2.9 Requirements for Collection, Storage and Maintenance of Quality Assurance Records for Nuclear Power Plants.
* ANSI/ASME N45.2.10 Quality Assurance Terms and Definitions.
* ANSI/ASME N45.2.11-1974 Quality Assurance Requirements for the Design of Nuclear Power Plants.
* ANSI/ASME N45.2.12 Requirements for Auditing of Quality Assurance Programs for Nuclear Power Plants.
* ANSI/ASME N45.2.13 Quality Assurance Requirements for Control of Procurement of Items and Services for Nuclear Power Plants.
* ANSI/ASME N45.2.23 Qualification of Quality Assurance Program Audit Personnel for Nuclear Power Plants.
* ANSI/ASME NQA-1-2008 Quality Assurance Requirements for Nuclear Facility Applications, Includes Addenda A (2009) and Addenda B (2011).
* ANSI N18.7-1976 Administrative Controls and Quality Assurance for the Operational Phase of Nuclear Power Plants (Superseded with) ANSI/ANS 3.2-1994 1988 Administrative Controls and Quality Assurance for the Operational Phase of Nuclear Power Plants.
* ANSI/ANS 3.1-1993; 1988, Qualification, and Training of Personnel for Nuclear Power Plants.
* ASME Boiler and Pressure Vessel Code, Section V, IX, and XI, Edition 1995, Add 1996.
* ASME Boiler and Pressure Vessel Code, Section III, NCA-3800/4000, Quality Assurance.
* C. W. Rowley, Vice President, Nuclear Codes and Standards, ASME International, USA, Comments on the Proposed Utilization of ISO 9001:2000 for Nuclear Power Plant Components, Nov. 4, 2002.

### [INPO](http://www.inpo.info/)

* INPO 96-008, Guidelines for the Conduct of Operations at Nuclear Power Stations.
* INPO 97-002, Performance Objectives and Criteria for Operating Nuclear Electric Generating Stations.
* INPO AP-928, Work Management Process Description, 2003.
* INPO 09-011, Achieving Excellence in Performance Improvement, September 2009,
* INPO Excellence in Human Performance.

### Ostala dokumentacija

* ISO 8402:1994 Quality management and quality assurance – Vocabulary, International Standardization Organization, (1994),
* ISO 10007:1995 Quality Management – Guidelines for Configuration Management’, Geneva (1995),
* ISO 921:1997 Nuclear Energy - Vocabulary (Second Edition), Geneva (1997),
* ISO 19011:2011 Guidelines for Auditing Management Systems , International Standardization Organization, (2011),
* ISO/IEC 90003:2004 Guidelines for the application of ISO 9001:2000 to computer software,
* ISO 9000:2005 Quality management systems – Fundamentals and vocabulary, International Standardization Organization, (2005),
* ISO/IEC 17025:2005 General requirements for the competence of testing and calibration laboratories,
* ISO 9001:2008 Quality Management System– Requirements, Geneva (2008),
* ISO 9004:2009 Managing for the sustained success of an organization -- A quality management approach (2009),
* EPRI NP-6630, 1990 Guidelines for Performance - Based Supplier Audits (NCIG-16).

## Varnostna kultura

### NRC, INPO

* Safety Culture Common Language (NUREG-2165).
* INPO, Principles for a Strong Nuclear Safety Culture, 2004.
* INPO, Traits of a Healthy Nuclear Safety Culture, 2013.

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Leadership and Management for Safety, IAEA Safety Standards Series No. GSR Part 2, IAEA, Dunaj, Avstrija (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Application of The Management System for Facilities and Activities, IAEA Safety Standards Series No. GS-G-3.1, IAEA, Dunaj, Avstrija (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The management system for nuclear installations. Safety Standards No. GS-G-3.5, IAEA, Dunaj, Avstrija (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Functions and Processes of the Regulatory Body for Safety, Safety Standards No. GSG-13, IAEA, Dunaj, Avstrija (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Organization, Management and Staffing of the Regulatory Body for Safety, Safety Standards No. GSG-12, IAEA, Dunaj, Avstrija (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Developing Safety Culture in Nuclear Activities, Practical Suggestions to assist Progress, Safety Reports Series No. 11, IAEA, Dunaj, Avstrija (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, SCART Guidelines, Reference report for IAEA Safety Culture Assessment Review Team (SCART), Services Series No. 16, IAEA, Dunaj, Avstrija (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Performing Safety Culture Self-assessments, Safety Reports Series No. 83, IAEA, Dunaj, Avstrija (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Guidelines for Safety Culture Self-Assessment for the Regulatiry Body, Services Series No. 40, IAEA, Dunaj, Avstrija (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Culture in the Maintenance of Nuclear Power Plants, Safety Reports Series No. 42, IAEA, Dunaj, Avstrija (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, OSART Independent Safety Culture Assessment (ISCA) Guidelines, Services Series No. 32, IAEA, Dunaj, Avstrija (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Culture, A Report by the International Nuclear Safety Advisory Group, Safety Series No. 75-INSAG-4, IAEA, Dunaj, Avstrija (1991).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Management of Operational Safety in Nuclear Power Plants, A Report by the International Nuclear Safety Advisory Group, INSAG -13, IAEA, Dunaj, Avstrija (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Key Practical Issues in Strengthening Safety Culture, A Report by the International Nuclear Safety Advisory Group, INSAG-15, IAEA, Dunaj, Avstrija (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Regulatory Oversight of Safety Culture in Nuclear Installations, IAEA-TECDOC – 1707, IAEA, Dunaj, Avstrija (2013).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Culture in Nuclear Installations, Guidance for use in the enhancement of safety culture, IAEA-TECDOC-1329, IAEA, Dunaj, Avstrija (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Self-Assessment Of Safety Culture in Nuclear Installations, Highlights and good practices, IAEA-TECDOC-1321, IAEA, Dunaj, Avstrija (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Culture Practices for the Regulatory Body, IAEA-TECDOC-1895, IAEA, Dunaj, Avstrija (2020)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Effective Management of Regulatory Experience for Safety, IAEA-TECDOC-1899, IAEA, Avstrija (2020)

### [WENRA](http://www.wenra.org/)

* [Wenra Safety Reference Levels for Existing Reactors](http://www.wenra.org/media/filer_public/2014/09/19/wenra_safety_reference_level_for_existing_reactors_september_2014.pdf), (2014).

### OECD NEA

* »[Oversight and Influencing of Licensee Leadership and Management for Safety, Including Safety Culture – Regulatory Approaches and Methods«, NEA, Chester, Združeno Kraljestvo, (2011)](https://www.oecd-nea.org/nsd/docs/2012/csni-r2012-13.pdf).

## Obratovanje objekta in pisni postopki

### NRC dokumenti

* 10CFR50, Appendix »B«, »Quality Assurance Criteria for Nuclear Power Plants«
* 10 CFR 73.21, »Protection of Safeguards Information: Performance Requirements«
* 10 CFR 73.22, »Protection of Safeguards Information: Specific Requirements«

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)*:*

* U.S. NRC Regulatory Guide 1.70, "Standard Format and Content of Safety Analysis Reports, for nuclear Power Plants", LWR Edition.
* U.S. NRC Regulatory Guide Reg.Guide 1.28, “Quality Assurance Program Requirements (Design andConstruction), LWR Edition.
* U.S. NRC Regulatory Guide Reg.Guide 1.88 “Collection, Storage, and Maintenance of Nuclear Power Plant Quality Assurance Records, LWR Edition. LWR Edition.

*NUREG:*

NUREG 0899: Guidelines for the Preparation of Emergency Operating Procedures, LWR Edition

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants: Commissioning and Operation, IAEA Safety Standards Series No. SSR-2/2, IAEA, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY, Safety of Nuclear Power Plants: Design, IAEA Safety Standards Series No. SSR-2/1, IAEA, Vienna (2012)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Fires and Explosions in the Design of Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-1.7, IAEA, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Protection against Internal Hazards other than Fires and Explosions in the Design of Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-1.11, IAEA, Vienna (2004)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Maintenance, Surveillance and In-Service Inspection in Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-2.6, IAEA, Vienna (2002)
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Operating Organization for Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-2.4, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Severe Accident Management Programmes for Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-2.15, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Conduct of Operations at Nuclear Power Plants, IAEA Safety Standards Series No. NS-G-2.14, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Good Practices with respect to the Development and Use of Nuclear Power Plant Procedures’, IAEA-TECDOC-1058, IAEA, Vienna (1998)
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Operational Limits and Condition and Operating Procedures for Nuclear Power Plants”, Safety Standards Series No. NS-G-2.2, IAEA, Vienna (2000)
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Development and Review of Plant Specific Emergency Operating Procedures”, Safety Reports Series No. 48, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Developments in the Preparation of Operating Procedures for Emergency Conditions of Nuclear Power Plants, IAEA TECDOC- 341, Vienna (1985).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Standards, Safety Fundamentals, SF-1, Vienna (2006)
* OSART Guidelines, 2005 Edition, Services Series 12, Vienna (2005)
* INTERNATIONAL ATOMIC ENERGY, "Safety Assessment for Facilities and Activities", IAEA Safety Standards Series No. GSR Part 4, IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY, "Format and Content of the Safety Analysis report for Nuclear power Plants", IAEA Safety Standards Series No. GS-G-4.1, IAEA, Vienna (2004)
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Leadership and Management for Safety«, Series No. GSR Part 2, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Application of the Management System for Facilities and Activities", IAEA Safety Standards Series No.GS-G- 3.1, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “The Management System for Nuclear Installations", Safety Guide Series No. GS-G-3.5, 2009
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Modifications to Nuclear Power Plants", Safety Guide Series No. NS-G-2.3, (2001)
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Leadership and management for safety”, GSR Part 2, (2016)
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Recruitment, Qualification and Training of Personnel for Nuclear Power Plants“, NS-G-2.8 (2002)

2.10.3 Ostala dokumentacija

* ASME NQA-1-2008 »Quality Assurance Requirements for Nuclear Facility Applications«
* ANSI/ANS-3.2-1994 »Administrative Control and Quality Assurance for the Operational Phase of Nuclear Power Plants Facilities«
* ANSI N45.2.9-1974 »Requirements for Collections, Storage and Maintenance of Quality Assurance Records for Nuclear Power Plants«
* NEI AP-907-005 »Procedure Writers Manual«, USNRC, (2006)
* INPO 11-003 »Guideline in excellence in procedure and work instruct'ions use and adherence«, INP0, (2011)
* INPO 09-004 »Procedure use and Adherence«, INPO, (2009)
* INPO 97-002 »Performance Objectives and Criteria for Operating Nuclear Electric Generating Stations«, INPO, (1997)

## Človeški faktor

### NRC dokumenti

*NUREG*

* NUREG-0711, »Human Factors Engineering Program Review Model« (2004)
* NUREG-0700, »Human-System Interface Design Review Guidelines« (2002)
* NUREG/CR-6947, »Human Factors Considerations with Respect to Emerging Technology in Nuclear Power Plants«, (2008)
* NUREG/CR-6751, »The Human Performance Evaluation Process: A Resource for Reviewing the Identification and Resolution of Human Performance Problems«, (2001)
* NUREG-1220, “Training Review Criteria and Procedures”, (1993)
* NUREG-0800. U.S. NUCLEAR REGULATORY COMMISSION. STANDARD REVIEW PLAN. 14.3.9 HUMAN FACTORS ENGINEERING - INSPECTIONS, TESTS, ANALYSES,AND ACCEPTANCE CRITERIA (2007)
* NUREG-0711, Human Factors Engineering Program Review Model, NUREG-0711, Revision 3, (2012)
* NUREG-0800, Standard Review Plan, Chapter 18 – Human Factors Engineering, (2016)

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Staffing of Nuclear Power Plants and the Recruitment, Training and Authorisation of Operating Personnel’, Safety Series No. 50-SG-O1 (Rev.1), IAEA, Vienna (1991).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Recruitment, Qualification and Training of Personnel for Nuclear Power Plants, Safety Standards Series No. NS-G-2.8, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Classification, Selection and Use of Nuclear Power Plant Simulators for Education and Training IAEA TECDOC Series No. 1887, IAEA, Vienna (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Human Resource Issues Related to an Expanding Nuclear Power Programme”, IAEA TECDOC Series No. 1501, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Experience in the Use of Systematic Approach to Training (SAT) for Nuclear Power Plant Personnel’, IAEA-TECDOC-1057, IAEA, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Nuclear Power Plant Personnel Training and its Evaluation: A Guidebook’, Technical Reports Series No. 380, IAEA, Vienna (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Guidebook on Training to Establish and Maintain the Qualification and Competence of Nuclear Power Plant Operations Personnel’, IAEA-TECDOC-525, IAEA, Vienna (1989).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Simulators for Training Nuclear Power Plant Personnel’, IAEA-TECDOC-685, IAEA, Vienna (1993).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Selection, Specification, Design and Use of Various Nuclear Power Plant Training Simulators’, IAEA-TECDOC-995, IAEA, Vienna (1998).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Leadership and Management for Safety, IAEA Safe ty Standards Series No. GSR Part 2, Vienna, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment for Facilities and Activities, IAEA Safety Standards Series No. GSR Part 4 (Rev. 1), Vienna, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Governmental, Legal and Regulatory Framework for Safety, IAEA Safety Standards Series No. GSR Part 1 (Rev.1), Vienna, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Report on Human and Organizational Factors in Nuclear Safety in the Light of the Accident at the Fukushima Daiichi Nuclear Power Plant, Vienna, 2014.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Regulatory Inspection of Nuclear Facilities and Enforcement by the Regulatory Body, IAEA Safety Standards Series No. GSG-1.3, Vienna, 2002.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Assuring the competence of nuclear power plant contractor personnel, IAEA-TECDOC-1232, Vienna, 2001.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety of Nuclear Power Plants:Design, IAEA Safety Standards Series No. SSR-2/1 (Rev. 1), Vienna, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Procurement Engineering and Supply Chain Guidelines in Support of Operation and Maintenance of Nuclear Facilities, IAEA Nuclear Energy Series NP-T-3.21, Vienna, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Standards: Application of the Management System for Facilities and Activities, IAEA Safety Standards Series No GSG-3.1, 2006
* INTERNATIONAL ATOMIC ENERGY AGENCY Regulatory Oversight of Human and Organizational Factors for Safety of Nuclear Installations, IAEA-TECDOC-1846, IAEA, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY Human Factors Engineering in the Design of Nuclear Power Plants, IAEA Safety Standards Series No. SSG-51, Vienna 2019

### Ostala dokumentacija

* OECD NUCLEAR ENERGY AGENCY, “HRA Data and Recommended Actions to Support the Collection and Exchange of HRA Data”, Report of WGRisk Task 2002-1, May 2008, NEA/CSNI/R (2008)
* INSTITUTE OF NUCLEAR POWER OPERATIONS, »Guidelines for Incorporating Operational Experience into Training Programmes«, INPO 88-015, (1988).
* Human and Organizational Factors for Safety – State of the Art – F. Daniellou, M. Simard, I. Boissières, Report N° 2011-01, Les Cahiers de la Sécurité Industrielle, FonCSI, Toulouse, France (2011).
* Managing shift-work: Health and Safety Guidance, Health and Safety Executive, Sudbury (2006).
* Procedure Writing: Principles and Practices, D. Wieringa, V. Barnes, V.E., C. Moore, Battelle Press, Columbus, USA (1998).

## Načrt zaščite in reševanja ob izrednem dogodku

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION, “Criteria for Preparation and Evaluation of Radiological Emergency Response Plans and Preparedness in Support of Nuclear Power Plants”, NUREG-0654, Rev. 2, 2019.
* U.S. NUCLEAR REGULATORY COMMISSION, “Definition of key elements of SAMP”, SECY-89-012, 1989.
* U.S. NUCLEAR REGULATORY COMMISSION, “Implementation of formalized SAM capabilities”, SECY-88-147, 1988.

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* U.S. NUCLEAR REGULATORY COMMISSION, “Emergency Action Levels for Light Water Reactors”, NUREG-0818 (October 1981).
* U.S. NUCLEAR REGULATORY COMMISSION, “Functional Criteria for Emergency Response Facilities”, NUREG-0696 (February 1981).
* U.S. NUCLEAR REGULATORY COMMISSION, “Assessment of Emergency Response Planning and Implementation for Large Scale Evacuations”, NUREG/CR-6981 (October 2008).

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY**,** “Preparedness and Response for a Nuclear or Radiological Emergency“, Series No. GSR Part 7, Vienna, 2015.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Guidelines for the Review of Accident Management Programmes”, Reference document for the IAEA mission on Review of Accident Management Programmes, Vienna, 2003.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Radiation Protection and Safety of Radiation Sources: International Basic Safety Standards, No. GSR Part 3, 2014
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Intervention Criteria in a Nuclear or Radiation Emergency”, Safety Series No. 109, IAEA, 1994.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Legal and Governmental Infrastructure for Nuclear, Radiation, Radioactive Waste and Transport Safety”, Safety Standards Series No. GS-R-1, IAEA, 2000.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Preparedness of the Operating Organisation (Licensee) for Emergencies at Nuclear Power Plants”, SG No. 50-SG-06, IAEA, 1982.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Conduct of Operations at Nuclear Power Plants”, Safety Standards Series No. NS-G-2.14, IAEA, 2008.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Arrangements for Preparedness for a Nuclear or Radiological Emergency”, Safety Standards Series No. GS-G-2.1, IAEA, 2007.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Developments in the Preparation of Operating Procedures for Emergency Conditions of Nuclear Power Plants”, IAEA-TECDOC-341, IAEA, 1985.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Experience with Simulator Training for Emergency Conditions”, IAEA-TECDOC-443, IAEA, 1987.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Generic Assessment Procedures for Determining Protective Actions during a Reactor Accident”, IAEA-TECDOC-955, IAEA, 1997.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Preparation, Conduct and Evaluation of Exercises to Test Preparedness for a Nuclear or Radiological Emergency”, IEPR-EXERCISE, IAEA, 2005.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Method for Developing Arrangements for Response to Radiological and Nuclear Emergencies”, EPR-Method 2003, IAEA, 2003.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “IAEA Response and Assistance Network“, EPR-RANET, Vienna, 2018.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Governmental, Legal and Regulatory Framework for Safety”, GSR Part 1, IAEA, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety Assessment for Facilities and Activities”, GSR Part 4, IAEA, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Criteria for Use in Preparedness and Response for a Nuclear or Radiological Emergency”, GSG-2, IAEA, 2011.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Severe Accident Management Programmes for Nuclear Power Plants”, NS-G-2.15, IAEA, 2009.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Development of an Extended Framework for Emergency Response Criteria: Interim Report for Comments”, TECDOC-1432, IAEA, 2005.
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Recruitment, Qualification and Training of Personnel for Nuclear Power Plants", NS-G-2.8, IAEA, 2002.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Leadership and Management for Safety Series“ No. GSR Part 2, IAEA, 2016.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Application of the Management System for Facilities and Activities“, IAEA Safety Standards Series No. GS-G-3.1, IAEA, 2006.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Generic procedures for assessment and response during a radiological emergency“, IAEA-TECDOC-1162, Vienna, 2000.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Generic procedures for monitoring in a nuclear or radiological emergency“, IAEA-TECDOC-1092, (1999)
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Actions to Protect the Public in an Emergency Due to Severe Conditions at a Light Water Reactor“, EPR-NPP, Vienna, 2013.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Generic Procedures for Medical Response during a Nuclear or Radiological Emergency“, EPR-Medical, IAEA, Vienna, 2005.
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Considerations in Emergency Preparedness and Response for a State Embarking on a Nuclear Power Programme“, EPR-Embarking, Vienna, (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Communication with the Public in a Nuclear or Radiological Emergency“, EPR-Public Communications 2012, Vienna, (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Operations Manual for Incident and Emergency Communication“, EPR-IEComm 2019, Vienna, (2020).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety Glossary Terminology Used in Nuclear Safety and Radiation Protection“, 2018 Edition, IAEA, Vienna (2019).

### ANSI

* American Nuclear Standards Institute, “Criteria for Radiological Emergency Response Functions and Organizations”, ANSI/ANS-3.8.1-1995, ANSI/ANS, 1995.
* American Nuclear Standards Institute, “Properties of Radiological Emergency Response Functions and Organizations for Nuclear Facilities”, ANS-3.8.1-201x, ANSI/ANS, 2011.
* American Nuclear Standards Institute, “Properties of Functional and Physical Characteristics of Radiological Emergency Response Facilities at Nuclear Facilities”, ANS-3.8.2-201x, ANSI/ANS, 2011.
* American Nuclear Standards Institute, “Properties of Radiological Emergency Response Plans and Implementing Procedures and Maintaining Emergency Response Capability for Nuclear Facilities”, ANS-3.8.3-201x, ANSI/ANS, 2011.
* American Nuclear Standards Institute, “Properties of the Conduct of Offsite Radiological Assessment for Emergency Response and Emergency Radiological Field Monitoring, Sampling and Analysis for Nuclear Facilities”, ANS-3.8.6-201x, ANSI/ANS, 2011.
* American Nuclear Standards Institute, “Properties of Planning, Development, Conduct, and Evaluation of Drills and Exercises for Emergency Preparedness at Nuclear Facilities”, ANS-3.8.7-201x, ANSI/ANS, 2011.

### Ostala dokumentacija

* International Commission for Radiological Protection, “The 2007 Recommendations of the International Commission on Radiological Protection”, Publication 103, ICRP, 2007.
* International Commission for Radiological Protection, “Application of the Commission's Recommendations for the Protection of People in Emergency Exposure Situations”, Publication 109, ICRP, 2009.
* International Commission for Radiological Protection, “Application of the Commission's Recommendations to the Protection of People Living in Long-term Contaminated Areas after a Nuclear Accident or a Radiation Emergency”, Publication 111, ICRP, 2009.
* European Comission, “Euratom Basic Safety Standards Directive”, 2013/59/Euratom, EC, 2013.
* Risk Informed Support of Decision Making in Nuclear Power Plant Emergency Zoning, EUR 23280 EN, JRC-43311, 2008.

## Varstvo pred sevanji

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* NRC Regulations, Title 10, Code of Federal Regulations:
  + U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR PART 20, “Standards for Protection Against Radiation”.
  + U.S. NUCLEAR REGULATORY COMMISSION, 10 CFR PART 61—LICENSING REQUIREMENTS FOR LAND DISPOSAL OF RADIOACTIVE WASTE
  + U.S. NUCLEAR REGULATORY COMMISSION, PART 71—PACKAGING AND TRANSPORTATION OF RADIOACTIVE MATERIAL
  + U.S. NUCLEAR REGULATORY COMMISSION, PART 50—DOMESTIC LICENSING OF PRODUCTION AND UTILIZATION FACILITIES
* U.S. NUCLEAR REGULATORY COMMISSION, Offsite Dose Calculation Manual Guidance: Standard Radiological Effluent Controls for Pressurized Water Reactors. NUREG-1301; Generic Letter 89-01, Supplement No. 1
* Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants: LWR Edition (NUREG-0800, Formerly issued as NUREG-75/087).
* Radiation Protection and the NRC (NUREG/BR-0322, Revision 1)
* Radiological Assessment: A Textbook on Environmental Dose Analyses (NUREG/CR-3332, ORNL-5968)
* Consolidated Guidance: 10 CFR Part 20 — Standards for Protection Against Radiation (NUREG-1736)
* Standard Review Plan for Dry Cask Storage Systems (NUREG-1536)
* Effects of Fuel Failure on Criticality Safety and Radiation Dose for Spent Fuel Casks (NUREG/CR-6835)
* Transporting Spent Fuel: Protection Provided Against Severe Highway and Railroad Accidents (NUREG/BR-0111)
* A Performance Assessment Methodology for Low-Level Radioactive Waste Disposal Facilities: Recommendations of NRC's Performance Assessment Working Group (NUREG-1573)
* NUREG-1388, Environmental Monitoring of Low-Level Radioactive Waste Disposal Facility.

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Fundamental Safety Principles. No. SF-1, IAEA. Vienna, (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Radiation Protection and Safety of Radiation Sources: International Basic Safety Standards, General Safety Requirements, GRS Part 3, IAEA, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Radiation Protection Aspects of Design for Nuclear Power Plants - Safety Guide”, Safety Standards Series No. NS-G-1.13, IAEA, Vienna (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Radiation Protection During Operation of Nuclear Power Plants’, Safety Series No. 50-SG-O5, IAEA, Vienna (1983).
* INTERNATIONAL ATOMIC ENERGY AGENCY, INTERNATIONAL LABOUR OFFICE, ‘Occupational Radiation Protection’, Safety Series No. RS-G-1.1, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, INTERNATIONAL LABOUR OFFICE, ‘Assessment of Occupational Exposure due to Intakes of Radionuclides’, Safety Series No. RS-G-1.2, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, INTERNATIONAL LABOUR OFFICE, ‘Assessment of Occupational Exposure due to External Sources of Radiation’, Safety Series No. RS-G-1.3, IAEA, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, INTERNATIONAL LABOUR OFFICE, ‘Building Competence in Radiation Protection and the Safe Use of Radiation Sources’, Safety Series No. RS-G-1.4, IAEA, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, INTERNATIONAL LABOUR OFFICE, »Categorization of Radioactive Sources«, Safety Series No. RS-G-1.9, IAEA, Vienna (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Radiation Protection and Radioactive Waste Management in the Operation of Nuclear Power Plants”, Safety Standards Series No. NS-G-2.7, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for Technical Services in Radiation Safety - Safety Guide, Safety Standards Series No. GS-G-3.2, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Environmental and Source Monitoring for Purposes of Radiation Protection Safety Guide [No. RS-G-1.8](file:///C:\Users\Andreja\AppData\Local\Users\Andrej\AppData\Local\Temp\notes5524D1\No.%20RS-G-1.8), IAEA. Vienna, (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Dispersion of Radioactive Material in Air and Water and Consideration of Population Distribution in Site Evaluation for Nuclear Power Plants Safety Guide [NS-G-3.2](file:///C:\Users\Andreja\AppData\Local\Users\Andrej\AppData\Local\Temp\notes5524D1\NS-G-3.2), Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Assessment of Occupational Exposure Due to Intakes of Radionuclides Safety Guide Series No. RS-G-1.2, Vienna (1999).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Arrangements for Preparedness for a Nuclear or Radiological Emergency Safety Guide Series No. GS G-2.1, Vienna (2007).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Preparedness and Response for a Nuclear or Radiological Emergency, Series No. GSR Part 7, Vienna (2015).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Generic Models for Use in Assessing the Impact of Discharges of Radioactive Substances to the Environment, Safety Reports Series No. 19, IAEA, Vienna (2001).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Regulatory Control of Radioactive Discharges to the Environment, IAEA Safety Standards Series No. WS-G-2.3, IAEA, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Environmental and Source Monitoring for Purposes of Radiation Protection – Safety Guide”, Safety Standards Series No. RS-G-1.8, IAEA, Vienna (2005).

### Ostala dokumentacija

* INTERNATIONAL COMMISSION ON RADIOLOGICAL PROTECTION, ‘Recommendations of the International Commission on Radiological Protection’, ICRP Publication No. 60, Pergamon Press, Oxford and New York (1991).
* OECD NUCLEAR ENERGY AGENCY, “Regulatory Inspection Activities Related to Radiation protection, Long Shutdowns and Subsequent restarts, and the use of Objective Indicators in Evaluating the performance of plants”, USA 15-17 May 2001, NEA/CNRA/R(2001)5.
* INTERNATIONAL STANDARDS ORGANISATION, ‘Environmental Management Systems – Requirements with Guidance for Use’, ISO 14001:2004, ISO.
* ICRP Publication 142 Radiological Protection from Naturally Occurring Radioactive Material (NORM) in Industrial Processes
* ICRP Publication 122 Radiological Protection in Geological Disposal of Long-lived Solid Radioactive Waste
* ICRP Publication 119 Compendium of Dose Coefficients based on ICRP Publication 60
* ICRP Publication 116 Conversion Coefficients for Radiological Protection Quantities for External Radiation Exposures
* ICRP Publication 103 The 2007 Recommendations of the International Commission on Radiological Protection
* ICRP Publication 101a Assessing Dose of the Representative Person for the Purpose of the Radiation Protection of the Public
* ICRP Publication 99 Low-dose Extrapolation of Radiation-related Cancer Risk
* ICRP Publication 96 Protecting People against Radiation Exposure in the Event of a Radiological Attack

## Radiološki vplivi na okolje

* Radiation Protection of the Public and the Environment, GSG-8, IAEA, 2018.
* Programmes and Systems for Source and Environmental Radiation Monitoring, SRS-64, IAEA, 2010.
* Source Monitoring, Environmental Monitoring and Individual Monitoring for Protection of the Public and the Environment, DS505, IAEA (under preparation).

## Ravnanje z radioaktivni odpadki in jedrskim gorivom

### NRC dokumenti

* 10CFR 71, Packing and Transportation of radioactive material
* 10 CFR 72, Licencing Requirements for the Independent Storage of Spent Nuclear Fuel, HLRW and Reactor Related Greated than Class C Waste, Proposed Security Rulemaking for Independent Spent Fuel Storage Installations
* 10 CFR Part 20 - Standards for protection against radiation
* 10 CFR Part 50 - Domestic licensing of production and utilization facilities
* 10 CFR Part 51 - Environmental protection regulations for domestic licensing and related regulatory functions
* 10 CFR Part 73 - Physical protection of plants and materials, Proposed Security Rulemaking for Independent Spent Fuel Storage Installations

*NUREG*

* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1536, Standard Review Plan for Spent Fuel Dry Storage Systems at a General License Facility.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1567, Standard Review Plan for Spent Fuel Dry Storage Facilities.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1437, Generic Environmental Impact Statement for License Renewal of Nuclear Plants.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG 1864, A Pilot Probabilistic Risk Assessment Of a Dry Cask Storage System At a Nuclear Power Plan.t
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG 2157, Generic Environmental Impact Statement for Continued Storage of Spent Nuclear Fuel.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-0800, Standard Review Plan for the Review of Safety Analysis Reports for Nuclear Power Plants: LWR Edition.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR-6361 Criticality Benchmark Guide for Light Water Reactor Fuel in Transportation and Storage Packages, 1997.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR-6407, Classification of Transportation Packung and Dry Spent Fuel Storage.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR-6700, Nuclide Importance to Criticality Safety, Decay Heatibg,and Source Terms Related to Transport and Iterim Storage of High Burnup LWR Fuel, 2001.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR 6802, Reccomendation for Shielding Evaluation for Transport and Storage Packages, 2003.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG/CR 6835, Effect of Fuel Failure on Criticality Safety and Radiatoon Dose for Spent Fuel Cask, 2003
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-1927,Standard Review Plan for Renewal of Specific Licenses and Certificates of Compliance for Dry Storage of Spent Nuclear Fuel.
* U.S. NUCLEAR REGULATORY COMMISSION, NUREG-2214, Managing Aging Processes in Storage (MAPS) Report.

*NRC* [*Regulatory Guides*](http://www.nrc.gov/reading-rm/doc-collections/reg-guides)

* RG 1.143, Design Guidance Waste Management Systems, Structures, And Components Installed In Light- Water- Cooled Nuclear Power Plants,
* RG 1.13, Spent Fuel Storage Facility Design Basis,
* RG 3.48, Standard Format and Content for the Safety Analysis Report for an Independent Spent Fuel Storage Installation or Monitored Retrivable Storage Installation (Dry Storage),
* RG 3.54, Spent Fuel Heat Generation in an Independent Spent Fuel Storage Installation,
* RG 3.60, Design of an Independent Spent Fuel Storage Installation (Dry Storage),
* RG 3.61, Standard Format and Content for a Topical Safety Analysis Report for a Spent Fuel Dry Storage Cask,
* RG 3.62, Standard Format and Content for the Safety Analysis Report for Onsite Storage of Spent Fuel Storage Casks.
* RG 1.60, Design response spectra for seismic design of nuclear power plants
* RG 1.61, Damping values for seismic design of nuclear power plants
* RG 1.76, Design basis tornado for nuclear power plants
* RG 1.142, Safety-related concrete structures for nuclear power plants (other than reactor vessels and containments)

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY**,** Predisposal Management of Radioactive Waste, Series No. GSR Part 5, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for the Processing, Handling and Storage of Radioactive Waste, GS-G-3.3, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Disposal of Radioactive Waste, GS-G-3.4, IAEA, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, "Regulations for the Safe Transport of Radioactive Material", SSR-6, Rev.1, IAEA Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Core Management and Fuel Handling for Nuclear Power Plants Safety Guide Series No. NS-G-2.5, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Regulatory Control of Radioactive Discharges to the Environment”, GSG-9, IAEA, Vienna (2018).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “ASSET Guidelines: Revised 1991 Edition”, IAEA-TECDOC-632, Vienna (1991).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Fundamental Safety Principles, Safety Fundamentals SF-1, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Storage of Spent Fuel, SSG-15, Vienna (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Criticality Safety in the Handling of Fissile Material, SSG-27, IAEA, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Design of Fuel Handling and Storage Systems in Nuclear Power Plants, Safety Guide, NS-G-1.4, IAEA, Vienna (2003).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Leadership and Management for Safety, GSR Part 2, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for Nuclear Installations GS-G-3.5, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Preparedness and Response for a Nuclear or Radiological Emergency, GSR-7, Vienna (2015).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Case and Safety Assessment for Predisposal Management of Radioactive Waste, GSG-3, IAEA, Vienna (2013).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Governmental, Legal and Regulatory framework for Safety. IAEA General Safety Requirements, GSR-Part 1, Rev.1, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessment for Facilities and Activities, IAEA General Safety Requirements, GSR-Part-4, Rev.1, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Storage of Radioactive Waste Safety Guide. No. WS-G-6.1, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Disposal of Radioactive Waste No. SSR-5; IAEA Specific Safety Requirements, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Classification of radioactive waste, IAEA General Safety Guide, GSG-1, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Geological disposal facilities for radioactive waste, IAEA Specific Safety Guide, SSG-14, Vienna (2011).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Near Surface Disposal of Radioactive Waste, SSG-29, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Safety Case and Safety Assessment for Radioactive Waste Disposal, SSG-23, Vienna (2012).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Monitoring and Surveillance of Radioactive Waste Disposal Facilities, SSG-31, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, The management system for the disposal of radioactive waste, IAEA Safety Guide, GS-G-3.4, Vienna (2008).
* INTERNATIONAL ATOMIC ENERGY AGENCY, ‘Operational Management for Radioactive Effluents and Wastes Arising in Nuclear Power Plants’, Safety Series No. 50-SG-O11, IAEA, Vienna (1986).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Remediation Process for Areas Affected by Past Activities and Accidents, Safety Guide, WS-G-3.1, IAEA, Vienna (2007).
* INTERNATIONAL ATOMIC ENERGY AGENCY, International Basic Safety Standards Radiation Protection and Safety of Radiation Sources, GRS Part 3, IAEA, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Safety of Nuclear Power Plants: Commissioning and Operation”, SSR-2/2, Rev.1, IAEA, Vienna (2016).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Operational Limits and Conditions and Operating Procedures for Nuclear Power Plants, Safety Standards Series No. NS-G-2.2, IAEA, Vienna (2000).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Quality Assurance for Safety in Nuclear Power Plants and other Nuclear Installations, Code and Safety Guides Q1–Q14, Safety Series No. 50-C/SG-Q, IAEA, Vienna (1996).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Maintenance, Surveillance and In-Service Inspection in Nuclear Power Plants“ NS-G-2.6, IAEA, Vienna (2002).
* INTERNATIONAL ATOMIC ENERGY AGENCY, “Improvement of in-service inspection in nuclear power plants”, IAEA-TECDOC-1400, Vienna (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Format and Content of the Safety Analysis Report for Nuclear Power Plants, GS-G-4.1, IAEA, Vienna (2004)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Predisposal Management of Radioactive Waste from Nuclear Power Plants and Research Reactors, SSG-40, IAEA, Vienna (2016)
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for the Processing, Handling and Storage of Radioactive Waste, GS-G-3.3, IAEA, Vienna (2008)
* INTERNATIONAL ATOMIC ENERGY AGENCY SSG-15, Storage of spent nuclear fuel, IAEA, Vienna, 2012.

### ANSI

* ANSI/ANS-55.1-1979: Solid Radioactive Waste Processing System for Light- Water-Cooled Reactor Plants.
* ANSI/ANS-55.4-1979: Gaseous Radioactive Waste Processing Systems for Light Water Reactor Plants.
* ANSI/ANS-55.6-1979: Liquid Radioactive Waste Processing System for Light Water Reactor Plants.
* ANSI/ANS-55.1-1992;R2000;R2009;R2017 (R=Reaffirmed): Solid Radioactive Waste Processing System for Light-Water-Cooled Reactor Plants.
* ANSI/ANS-55.4-1993; R1999; R2007 (R=Reaffirmed): Gaseous Radioactive Waste Processing Systems for Light Water Reactor Plants.
* ANSI/ANS-55.6-1993; R1999; R2007 (R=Reaffirmed): Liquid Radioactive Waste Processing System for Light Water Reactor Plants.
* ANSI N18.2 Nuclear Safety Criteria fort he Design of PWR PLants, ANS, 1973.
* ANSI/ANS 57.9-1992-R2000, Design Criteria for an Independent Spent Fuel Storage OInstallation (Dry Storage Type).
* ANSI/ANS 6.1.1. Neutron and Gamma Ray to Dose Factors.
* ANSI N45.2-1977 Quality Assurance Program Requirements for Nuclear Power Plants.

ASME

* ASME (B&PVC) Section XI, Article IWA-2200.
* ASME, Section III, Sub. NB Rules for Construction of Nuclear Facility Components Division 1-Subsection NB CLass 1 Components.

2.14.4 OECD/NEA

* [National Inventories and Management Strategies for Spent Nuclear Fuel and Radioactive Waste](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7323) (2016)
* [Management of Radioactive Waste after a Nuclear Power Plant Accident](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7305) (2016)
* [National Inventories and Management Strategies for Spent Nuclear Fuel and Radioactive Waste](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7371) (2017)
* [Preservation of Records, Knowledge and Memory across Generations: Developing a Key Information File for a Radioactive Waste Repository](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7377) (2019)
* Status Report on the Spent Fuel pool under Loss of Coolant and Loos of Cooling Accident Conditions, Final Report, CSNI (2015)
* Phenomena Identification and Ranking Table (PIRT) on Spent Fuel Pools under Loss-of-Cooling and Loss-of-Coolant Accident Conditions WGFS Report, 2018
* National Inventories and Management Strategies for Spent Nuclear Fuel and Radioactive Waste, 2018
* Radiological Impacts of Spent Nuclear Fuel Management Options,2013
* 8. SR 97: Post-closure Safety of a Deep Repository for Spent Nuclear Fuel in Sweden, 2000
* Management and Disposal of High-Level Radioactive Waste: Global Progress and Solutions, 2020
* Preservation of Records, Knowledge and Memory across Generations: Developing a Key Information File for a Radioactive Waste Repository, 2019
* Metadata for Radioactive Waste Management, 2018
* International Conference on Geological Repositories, 2017
* Safety of Disposal of Spent Fuel, HLW and Long-lived ILW in Switzerland, 2004
* Japan's Siting Process for the Geological Disposal of High-level Radioactive Waste, 2016
* Geological Disposal of Radioactive Waste, 2018

## Razgradnja jedrskih objektov

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY**,** Decommissioning of Facilities,  
  Series No. GSR Part 6, Vienna (2014).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Safety Assessement for the Decommissioning of Facilities Using Radioactive Material, Safety Guide, WS-G-5.2, IAEA, Vienna (2009).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Release of Sites form Regulatory Control on Termination of Practices, Safety Guide, WS-G-5.1, IAEA, Vienna (2006).
* INTERNATIONAL ATOMIC ENERGY AGENCY Format and Content of the Safety Analysis Report for Nuclear power Plants, GS-G-4.1, IAEA, Vienna, (2004).
* INTERNATIONAL ATOMIC ENERGY AGENCY Decommissioning of Medical, Industrial and Research Facilities, SSG-49, IAEA, Vienna, (2019).
* INTERNATIONAL ATOMIC ENERGY AGENCY Selection of decommissioning strategies: Issues and factors, IAEA-TECDOC-1478, International Atomic Energy Agency, Vienna, (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY Financial aspects of decommissioning, IAEA-TECDOC-1476, International Atomic Energy Agency, Vienna, (2005).
* INTERNATIONAL ATOMIC ENERGY AGENCY, Predisposal Management of Radioactive Waste from Nuclear Power Plants and Research Reactors, SSG-40, IAEA, Vienna (2016)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Decommissioning of Nuclear Power Plants, Research Reactors and Other Nuclear Fuel Cycle Facilities, SSG-47, IAEA, Vienna (2018)

### OECD/NEA

* [Addressing Uncertainties in Cost Estimates for Decommissioning Nuclear Facilities](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7344) (2017)
* [Financing the Decommissioning of Nuclear Facilities](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7326) (2016)
* [Preparing for Decommissioning during Operation and after Final Shutdown](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7374) (2018)
* [Recycling and Reuse of Materials Arising from the Decommissioning of Nuclear Facilities](http://www.oecd-nea.org/tools/publication?query=&sector=6&lang=English&period=5y&sort=title&filter=1#p7310) (2017)

## Občasni varnostni pregled

### [NRC dokumenti](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* NRC 10 CFR Part 54 Requirements for Renewal of Operating Licenses for Nuclear Power Plants
* 10 CFR Part 50 Safety Goals for the Operations of Nuclear Power Plants, 51 FR 30028, 1986
* NRC 10 CFR Part 830 Nuclear Safety Management
* NRC Individual Plant Examination of External Events (IPEEE) for Severe Accident Vulnerabilities – 10 CFR Part 50/54(f), Generic Letter 88-20, Supplement 4
* NRC Inspection Manual, Chapter 0609, Appendix A
* NRC Inspection Manual, Chapter 0308, Attachment 3 Technical Basis for Significance Determination Process 09/10/04
* NRC Inspection Manual, Chapter 0609, Significance Determination Process 03/21/03
* Recommendations for Reactor Oversight Process Improvements (Follow-up to SECY-99-007), SECY-99-007A
* NRC B.5.b –Mitigating Strategies Requirements from Order EA-02-026, Section B.5.b, the Subsequent License Conditions, and 10 CFR 50.54(hh)(2), 2001.
* Federal Register / Vol. 84, No. 154 Mitigation of Beyond-Design-Basis Events (2019).

[*NUREG*](http://www.nrc.gov/reading-rm/doc-collections/nuregs/)

* NUREG-0933 A Prioritization of Generic Safety Issues
* NUREG/CR-6490 Nuclear Power Plant Generic Aging Lessons Learned (GALL), ANL (1996).
* NUREG/CR-6679, BNL-NUREG-52587 Assessment of Age-Related Degradation of Structures and Passive Components for U.S. Nuclear Power Plants (2000).
* NUREG SR-1275 Causes and Significance of Design Basis Issues at U.S. Nuclear Power Plants (2000).
* NUREG/BR-0184 Regulatory Analysis Technical Evaluation Handbook (1997).
* NUREG/CR-3568, PNL-4646, A Handbook for Value/Impact Assessment (1983).
* NUREG-1800 Standard Review Plan for Review of License Renewal Applications for Nuclear Power Plants (2001).
* NUREG-1850 Frequently Asked Questions on License Renewal of Nuclear Power Reactors, Final Report, US NRC (2006).

*NRC Regulatory Guides*

* RG 1.200 An Approach for Determining the Technical Adequacy of Probabilistic Risk Assessment Results for Risk-Informed Activities
* RG 1.226 Flexible Mitigation Strategies for Beyond-Design-Basis Events, rev. 0 (2019)
* RG 1.227 Wide-Range Spent Fuel Pool Level Instrumentation, rev. 0 (2019)

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* SSG-25 Periodic Safety Review for Nuclear Power Plants (2013)
* SSR-1 Site Evaluation for Nuclear Installations (2019)
* SSR-2/1 (Rev. 1) Safety of Nuclear Power Plants: Design (2016)
* SSR-2/2 (Rev. 1) Safety of Nuclear Power Plants: Commissioning and Operation (2016)
* SSG-16 Establishing the Safety Infrastructure for a Nuclear Power Programme (2012)
* GS-G-3.5 The Management System for Nuclear Installations (2009)
* SSG-12 Licensing Process for Nuclear Installations (2010)
* GS-G-4.1 Format and Content of the Safety Analysis report for Nuclear Power Plants (2004)
* SSG-30 Safety Classification of Structures, Systems and Components in Nuclear Power Plants (2014)
* SSG-39 Design of Instrumentation and Control Systems for Nuclear Power Plants (2016)
* NS-G-1.4 Design of Fuel Handling and Storage Systems for Nuclear Power Plants (2003)
* NS-G-1.5 External Events Excluding Earthquakes in the Design of Nuclear Power Plants (2003)
* NS-G-1.6 Seismic Design and Qualification for Nuclear Power Plants (2003)
* NS-G-1.7 Protection against Internal Fires and Explosions in the Design of Nuclear Power Plants (2004)
* SSG-34 Design of Electrical Power Systems for Nuclear Power Plants (2016)
* SSG-56 Design of the Reactor Coolant System and Associated Systems for Nuclear Power Plants (2020)
* SSG-53 Design of the Reactor Containment and Associated Systems for Nuclear Power Plants (2019)
* NS-G-1.11 Protection against Internal Hazards other than Fires and Explosions in the Design of Nuclear Power Plants (2004)
* SSG-52 Design of the Reactor Core for Nuclear Power Plants (2019)
* NS-G-1.13 Radiation Protection Aspects of Design for Nuclear Power Plants (2005)
* NS-G-2.1 Fire Safety in the Operation of Nuclear Power Plants (2000)
* SSG-51 Human Factors Engineering in the Design of Nuclear Power Plants (2019)
* NS-G-2.2 Operational limits and Conditions and Operating Procedures for Nuclear Power Plants (2000)
* NS-G-2.3 Modifications to Nuclear Power Plants (2001)
* NS-G-2.4 The Operating Organization for Nuclear Power Plants (2001)
* NS-G-2.5 Core Management and Fuel Handling for Nuclear Power Plants (2002)
* NS-G-2.6 Maintenance, Surveillance and In-Service Inspection in Nuclear Power Plants (2002)
* SSG-40 Predisposal Management of Radioactive Waste from Nuclear Power Plants and Research Reactors (2016)
* SSG-41 Predisposal Management of Radioactive Waste from Nuclear Fuel Cycle Facilities (2016)
* NS-G-2.8 Recruitment, Qualification and Training of Personnel for Nuclear Power Plants (2002)
* SSG-38 Construction for Nuclear Installations (2015)
* SSG-28 Commissioning for Nuclear Power Plants (2014)
* SSG-50 Operating Experience Feedback for Nuclear Installations (2018)
* SSG-48 Ageing Management and Development of a Programme for Long Term Operation of Nuclear Power Plants (2018)
* NS-G-2.13 Evaluation of Seismic Safety for Existing Nuclear Installations (2009)
* NS-G-2.14 Conduct of Operations at Nuclear Power Plants (2008)
* SSG-54 Accident Management Programmes for Nuclear Power Plants (2019)
* SSG-13 Chemistry Programme for Water Cooled Nuclear Power Plants (2011)
* NS-G-3.1 External Human Induced Events in Site Evaluation for Nuclear Power Plants (2002)
* NS-G-3.2 Dispersion of Radioactive Material in Air and Water and Consideration of Population Distribution in Site Evaluation for Nuclear Power Plants (2002)
* SSG-9 Seismic Hazards in Site Evaluation for Nuclear Installations (2010)
* SSG-18 Meteorological and Hydrological Hazards in Site Evaluation for Nuclear Installations (2011)
* SSG-35 Site Survey and Site Selection for Nuclear Installations (2015)
* NS-G-3.6 Geotechnical Aspects of Site Evaluation and Foundations for Nuclear Power Plants (2005)
* SSG-2 (Rev. 1) Deterministic Safety Analysis for Nuclear Power Plants (2019)
* SSG-3 Development and Application of Level 1 Probabilistic Safety Assessment for Nuclear Power Plants (2010)
* SSG-4 Development and Application of Level 2 Probabilistic Safety Assessment for Nuclear Power Plants (2010)
* SSG-47 Decommissioning of Nuclear Power Plants, Research Reactors and Other Nuclear Fuel Cycle Facilities (2018)
* SSG-27 Criticality Safety in the Handling of Fissile Material (2014)
* IAEA GSR Part 4 (Rev. 1) Safety Assessment for Facilities and Activities (2016)
* NS-G-2.15 Severe Accident Management Programmes for Nuclear Power Plants (2009)
* GSG-2 Criteria for Use in Preparedness and Response for a Nuclear or Radiological Emergency, IAEA Safety Standards Series (2011)

Drugi IAEA dokumenti

* IAEA Safety Glossary: 2018 Edition
* IAEA Safety Report Series No. 82, Ageing Management for Nuclear Power Plants: International Generic Ageing Lessons Learned (IGALL) (2015)
* IAEA Safety Report Series No. 77, Safety Assessment for Decommissioning (2013)
* IAEA Safety Report Series No. 56, Approaches and Tools for Severe Accident Analysis for Nuclear Power Plants (2008)
* IAEA Safety Report Series No. 57, Safe Long Term Operation of Nuclear Power Plants (2008)
* IAEA Safety Reports Series No. 62, Proactive Management of Ageing for Nuclear Power Plants (2009)
* IAEA Safety Reports Series No. 65, Application of Configuration Management in Nuclear Power Plants (2010)
* IAEA Safety Reports Series No. 92, Consideration of External Hazards in Probabilistic Safety Assessment for Single Unit and Multi-unit Nuclear Power Plants (2018)
* IAEA Safety Reports Series No. 3, Equipment Qualification in Operational Nuclear Power Plants: Upgrading, Preserving and Reviewing (1998)
* IAEA TECDOC-1044 Generic safety issues for nuclear power plants with light water reactors and measures taken for their resolution (1998)
* IAEA-TECDOC-1643 Periodic Safety Review of Nuclear Power Plants: Experience of Member States (2010)
* IAEA-TECDOC-1736 Approaches to Ageing Management for Nuclear Power Plants (2014)
* IAEA-TECDOC-1668 Assessment and Management of Ageing of Major Nuclear Power Plant Components Important to Safety: Steam Generators (2011)
* International database on NPP life management. Database specification, Working Material, IWG-LMNPP 95/4, IAEA (1995)
* IAEA Safety Reports Series No.12, Evaluation of the Safety of Operating Nuclear Power Plants Built to Earlier Standards, A common basis for judgement (1998)
* A Defence in Depth Approach to Safety Assessment of Existing Nuclear Power Plant, Topical issues in nuclear, radiation and radioactive waste safety, International conference held in Vienna (1998)
* IAEA Safety Series No. 75-INSAG-6, Probabilistic Safety Assessment (1992)
* IAEA INSAG-12, Basic Safety Principles for Nuclear Power Plants, 75-INSAG-3 Rev. 1 (1999)
* IAEA INSAG-10, Defense in Depth in Nuclear Safety (1996)
* IAEA INSAG-23, Improving the International System for Operating Experience Feedback (2008)
* IAEA INSAG-4, Safety Culture (1991)
* IAEA INSAG-13, Management of Operational Safety in Nuclear Power Plants (1999)
* IAEA INSAG-14, Safe Management of the Operating Lifetimes of Nuclear Power Plants (1999)
* IAEA INSAG-15, Key Practical Issues in Strengthening Safety Culture (2002)

### [WENRA](http://www.wenra.org/)

* WENRA Reactor Safety Reference Levels, 2014.
* Position paper on Periodic Safety Reviews (PSRs) taking into account the lessons learnt from the TEPCO Fukushima Dai-ichi NPP accident, Study by WENRA Reactor Harmonization Working Group, March 2013

### Ostala dokumentacija

* NEI, Industry Guideline for Monitoring the Effectiveness of Maintenance at Nuclear Power Plants, NUMARC 93-01, Rev.2 (1996)
* HSE, Safety Assessment Principles for Nuclear Facilities, Revision 1, 2006 Edition
* Holloway, N. J.: A Method for Pilot Risk Studies. IAEA-SR-111/44P. Seminar on Implications of Probabilistic Risk Assessment, Blackpool, U.K., 18 - 22 March 1985.
* NEI 06-12 B.5.b Phase 2 & 3 Submittal Guideline, Revision 2, NEI, 2006
* STUK YVL A.1 Regulatory oversight of safety in the use of nuclear energy (2020)
* ANL-13/18 Technical Letter Report: Evaluation and Analysis of A Few International Periodic Safety Review Summary Reports, Argonne NL prepared for NRC (2013)

## Jedrska in sevalna varnost raziskovalnih reaktorjev

### IAEA standardi

* IAEA SSR-1 Site Evaluation for Nuclear Installations (2019)
* IAEA SSR-3 Safety of Research Reactors (2016)
* IAEA SSG-9 Seismic Hazards in Site Evaluation for Nuclear Installations (2010)
* IAEA SSG-18 Meteorological and Hydrological Hazards in Site Evaluation for Nuclear Installations (2011)
* IAEA SSG-21 Volcanic Hazards in Site Evaluation for Nuclear Installations (2012)
* IAEA SSG-35 Site Survey and Site Selection for Nuclear Installations (2015)
* IAEA GS-R-3 The Management System for Facilities and Activities (2006)
* IAEA GS-G-3.5 The Management System for Nuclear Installations (2009)
* IAEA GS-G-1.2 Review and Assessment of Nuclear Facilities by the Regulatory Body (2002)
* IAEA SSG-12 Licensing Process for Nuclear Installations (2010)
* IAEA SSG-50 Operating Experience Feedback for Nuclear Installations (2018)
* IAEA NS-G-2.13 Evaluation of Seismic Safety for Existing Nuclear Installations (2009)
* IAEA SSG-38 Construction for Nuclear Installations (2015)
* IAEA NS-G-4.1 Commissioning of Research Reactors (2006)
* IAEA NS-G-4.2 Maintenance, Periodic Testing and Inspection of Research Reactors (2006)
* IAEA NS-G-4.3 Core Management and Fuel Handling for Research Reactors (2008)
* IAEA NS-G-4.4 Operational Limits and Conditions and Operating Procedures for Research Reactors (2008)
* IAEA NS-G-4.5 The Operating Organization and the Recruitment, Training and Qualification of Personnel for Research Reactors (2008)
* IAEA NS-G-4.6 Radiation Protection and Radioactive Waste Management in the Design and Operation of Research Reactors (2008)
* IAEA SSG-40 Predisposal Management of Radioactive Waste from Nuclear Power Plants and Research Reactors (2016)
* IAEA SSG-47 Decommissioning of Nuclear Power Plants, Research Reactors and Other Nuclear Fuel Cycle Facilities (2018)
* IAEA WS-G-2.1 Decommissioning of Nuclear Power Plants and Research Reactors Safety Guide (1999)
* IAEA SSG-10 Ageing Management for Research Reactors (2010)
* IAEA SSG-22 Use of a Graded Approach in the Application of the Safety Requirements for Research Reactors (2012)
* IAEA SSG-24 Safety in the Utilization and Modification of Research Reactors (2012)
* IAEA SSG-20 Safety Assessment for Research Reactors and Preparation of the Safety Analysis Report (2012)
* IAEA SSG-27 Criticality Safety in the Handling of Fissile Material (2014)
* IAEA SSG-37 Instrument and Control Systems and Software Important to Safety for Research Reactors (2015)
* IAEA SSG-25 Periodic Safety Review for Nuclear Power Plants (2013)
* IAEA GSR Part 7 Preparedness and Response for a Nuclear or Radiological Emergency (2015)
* IAEA GSG-2 Criteria for Use in Preparedness and Response for a Nuclear or Radiological Emergency (2011)
* IAEA EPR-Research Reactor - Generic Procedures for Response to a Nuclear or Radiological Emergency at Research Reactors (2011)
* EPR-Research Reactor - Attachment 1 - Generic Procedures for Response to a Nuclear or Radiological Emergency at TRIGA Research Reactors (2011)
* IAEA GSR Part 3 Radiation Protection and Safety of Radiation Sources: International Basic Safety Standards (2014)
* IAEA GSR Part 6 Decommissioning of Facilities (2014)
* IAEA GSR Part 4 (Rev. 1) Safety Assessment for Facilities and Activities (2016)
* IAEA GSG-7 Occupational Radiation Protection (2018)
* IAEA GSR Part 5 Predisposal Management of Radioactive Waste (2009)

*IAEA dokumenti*

* IAEA Safety Report Series No. 80 Safety Reassessment of Research Reactors in the Light of the Accident at the Fukushima Daiichi Nuclear Power Plant (2014)
* IAEA Safety Report Series No. 94 Approaches to Safety Evaluation of New and Existing Research Reactor Facilities in Relation to External Events (2019)
* IAEA Safety Report Series No. 75 Implementation of a Management System for Operating Organizations of Research Reactors (2013)
* IAEA Safety Report Series No. 53 Derivation of the Source Term and Analysis of the Radiological Consequences of Research Reactor Accidents (2008)
* IAEA Safety Report Series No. 50 Safety Analysis for Research Reactors (2008)
* IAEA Safety Report Series No. 50 Safety Analysis for Research Reactors (2008)

### NRC smernice

* NUREG-1537, Part 1, "Guidelines for Preparing and Reviewing Applications for the Licensing of Non-Power Reactors, Format and Content"
* NUREG-1537, Part 2, "Guidelines for Preparing and Reviewing Applications for the Licensing of Non-Power Reactors, Standard Review Plan and Acceptance Criteria"
* Interim Staff Guidance Augmenting NUREG-1537, Part 1, For Application to Heterogeneous and Homogeneous Non-Power Reactors and Radioisotope Production Facilities
* Interim Staff Guidance Augmenting NUREG-1537, Part 2, For Application to Heterogeneous and Homogeneous Non-Power Reactors and Radioisotope Production Facilities
* Interim Staff Guidance on Non-Power Reactor License Renewal

## Neširjenje jedrskega orožja in jedrsko varovanje

### NRC dokumenti

10 CFR 73, »Physical Protection of Plants and Materials«

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* Legal Framework for IAEA Safeguards, IAEA/Laura Rockwood, (2013)
* Safeguards Techniques and Equipment, 2011 Edition, International Nuclear Verification Series No. 1 (Rev. 2)
* Nuclear Material Accounting Handbook, IAEA Services Series 15, (2008)
* IAEA TECDOC 1311; Prevention of the inadvertent movement and illicit trafficking of radioactive materials, 2002
* IAEA TECDOC 1312; Detection of radioactive materials at borders, IAEA, Vienna (2002)
* IAEA TECDOC 1313; Response to events involving the inadvertent movement or illicit trafficking of radioactive materials, IAEA, Vienna (2002)
* Strengthening Control Over Radioactive Sources in Authorized Use and Regaining Control Over Orphan Sources: National Strategies (IAEA TECDOC 1388, 2004)
* Control of Orphan Sources and Other Radioactive Material in the Metal Recycling and Production Industries, Specific Safety Guide (IAEA Safety Standards Series SSG-17, 2012)
* National Strategy for Regaining Control over Orphan Sources and Improving Control over Vulnerable Sources, Specific Safety Guide (IAEA Safety Standards Series SSG-19, 2011)
* IAEA TECDOC 1730; Application of Nuclear Forensics in Combating Illicit Trafficking of Nuclear and Other Radioactive Material, IAEA, Vienna (2014)
* International Physical Protection Advisory Service (IPPAS) Guidelines (IAEA Services Series 29, 2014)
* International Nuclear Security Advisory Service (INSServ) Guidelines (IAEA Services Series 39, 2019)
* The Interface Between Safety and Security at Nuclear Power Plants (IAEA, INSAG-24, 2010)
* Categorization of Radioactive Sources (Safety Guide, No. RS-G-1.9)
* IAEA NSS no. 1 (2006) Technical and Functional Specifications for Border Monitoring Equipment
* IAEA NSS no. 2-G (2015) Nuclear Forensics in Support of Investigation
* IAEA NSS no. 3 (2006) Monitoring for Radioactive Material in International Mail Transported by Public Postal Operators
* IAEA NSS no. 4 (2007) Engineering Safety Aspects of the Protection of Nuclear Power Against Sabotage
* IAEA NSS no. 5 (2007) Identification of Radioactive Sources and Devices
* IAEA NSS no. 6 (2007) Combating Illicit Trafficking in Nuclear and Other Radioactive Material
* IAEA NSS no. 7 (2008) Nuclear Security Culture
* IAEA NSS no. 8-G (2020) Preventive and Protective Measures Against Insider Threats
* IAEA NSS no. 9 (2008) Security in the Transport of Radioactive Material
* IAEA NSS no. 10 (2009) Development, Use and Maintenance of the Design Basis Threat
* IAEA NSS no. 11-G (2019) Security of Radioactive Material in Use and Storage and of Associated Facilities
* IAEA NSS no. 12 (2010) Educational Programme in Nuclear Security
* IAEA NSS no. 13 (2011) Nuclear Security Recommendations on Physical Protection of Nuclear Material and Nuclear Facilities (INFCIRC/225/Revision 5)
* IAEA NSS no. 14 (2011) Nuclear Security Recommendations on Radioactive Material and Associated Facilities
* IAEA NSS no. 15 (2011) Nuclear Security Recommendations on Nuclear and Other Radioactive Material out of Regulatory Control
* IAEA NSS no. 16 (2012) Identification of Vital Areas at Nuclear Facilities
* IAEA NSS no. 17 (2011) Computer Security at Nuclear Facilities
* IAEA NSS no. 18 (2012) Nuclear Security Systems and Measures for Major Public Events
* IAEA NSS no. 19 (2013) Establishing the Nuclear Security Infrastructure for a Nuclear Power
* IAEA NSS no. 20 (2013) Objective and Essential Elements of a State’s Nuclear Security Regime
* IAEA NSS no. 21 (2013) Detection of Nuclear and Other Radioactive Material out of Regulatory Control
* IAEA NSS no. 22-G (2014) Radiological Crime Scene Management
* IAEA NSS no. 23-G (2015) Security of Nuclear Information
* IAEA NSS no. 24-G (2015) Risk Informed Approach for Nuclear Security Measures for Nuclear and other Radioactive Material out of Regulatory Control
* IAEA NSS no. 25-G (2015) [Use of Nuclear Material Accounting and Control for Nuclear Security Purposes at Facilities](http://www-pub.iaea.org/books/IAEABooks/10763/Use-of-Nuclear-Material-Accounting-and-Control-for-Nuclear-Security-Purposes-at-Facilities)
* IAEA NSS no. 26-G (2015) Security of Nuclear Material in Transport
* IAEA NSS no. 27-G (2018) Physical Protection of Nuclear Material and Nuclear Facilities (Implementation of INFCIRC/225/Revision 5)
* IAEA NSS no. 28-T (2017) Self-assessment of Nuclear Security Culture in Facilities and Activities
* IAEA NSS no. 29-G (2018) Developing Regulations and Associated Administrative Measures for Nuclear Security
* IAEA NSS No. 30-G (2018) Sustaining a Nuclear Security Regime
* IAEA NSS No. 31-G (2018) Building Capacity for Nuclear Security
* IAEA NSS no. 32-T (2019) Establishing a System for Control of Nuclear Material for Nuclear Security Purposes at a Facility during Use, Storage and Movement
* IAEA NSS no. 33-T (2018) Computer Security of Instrumentation and Control Systems at Nuclear Facilities
* IAEA NSS no. 34-T (2019) Planning and Organizing Nuclear Security Systems and Measures for Nuclear and Other Radioactive Material out of Regulatory Control
* IAEA No. 35-G (2019) Security during the Lifetime of a Nuclear Facility
* IAEA No. 36-G (2019) Preventive Measures for Nuclear and Other Radioactive Material out of Regulatory Control
* IAEA No. 37-G (2020) Developing a National Framework for Managing the Response to Nuclear Security Events
* IAEA No. 39-T (2019) Developing a Nuclear Security Contingency Plan for Nuclear Facilities
* Guidance for States Implementing Comprehensive Safeguards Agreements and Additional Protocols (IAEA Services Series 21, 2014)
* Safeguards Implementation Practices Guide on Establishing and Maintaining State Safeguards Infrastructure (IAEA Services Series 31, 2015)
* Guidelines and Format for Preparation and Submission of Declaration Pursuant to Articles 2 & 3 of the Model Protocol Additional to Safeguards Agreements (IAEA Services Series 11, 2004)
* Safeguards Implementation Practices Guide on Facilitating IAEA Verification Activities (IAEA Services Series 30, 2014)
* Nuclear Material Accounting Handbook (IAEA Services Series 15, 2008)
* Safeguards Techniques and Equipment, 2011 Edition, International Nuclear Verification Series No. 1 (Rev. 2)
* NSG Guidelines for nuclear transfers ([INFCIRC/254, Part 1](http://www.iaea.org/sites/default/files/publications/documents/infcircs/1978/infcirc254r12p1.pdf))
* NSG Guidelines for transfers of nuclear-related dual-use equipment, materials, software, and related technology ([INFCIRC/254, Part 2](http://www.iaea.org/sites/default/files/publications/documents/infcircs/1978/infcirc254r9p2.pdf))
* IAEA INFCIRC 209/rev. 4 (Zangger Committee Understandings)
* IAEA INFCIRC/899 Statement of Principles of the Nuclear Security Contact Group (2016)
* Preparation, Conduct and Evaluation of Exercises to Test Security Contingency Plans at Nuclear Facilities (IAEA-TDL-008, 2018)
* Code of Conduct on the Safety and Security of Radioactive Sources and the Supplementary Guidance on the Import and Export of Radioactive Sources (IAEA INFCIRC/663), (2005)

### [Drugi dokumenti](https://www.iaea.org/Publications/index.html)

* Recommendations on Monitoring and Response Procedures for Radioactive Scrap Metal (UNECE, 2006)
* Report: Interfaces between Nuclear Safety and Nuclear Security (April 2019, WENRA)
* Report of the Ad-Hoc Group on Nuclear Security (10616/12)
* World Nuclear Transport Institute (WNTI) Good Practice Guide/Best Practices - Transport Principles (GPG1\_EN\_MAR13\_V1)

## Prevoz jedrskih in drugih radioaktivnih snovi

### NRC dokumenti

* U.S. NUCLEAR REGULATORY COMMISSION 10CFR71, »Packaging and Transportation of Radioactive Material«
* U.S. NUCLEAR REGULATORY COMMISSION, 10CFR71 Subpart H »Quality Assurance for Packaging and Transportation of Radioactive Material«

### [IAEA dokumenti](https://www.iaea.org/Publications/index.html)

* INTERNATIONAL ATOMIC ENERGY AGENCY, Regulations for the Safe Transport of Radioactive Material, IAEA Specific Safety Requirements, no. SSR-6 (Rev. 1, 2018 Edition), Vienna (2018)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Advisory Material for the IAEA Regulations for the Safe Transport of Radioactive Material, IAEA SSG-26, Vienna (2012)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Schedules of Provisions of the IAEA Regulations for the Safe Transport of Radioactive Material, IAEA SSG-33, Vienna (2012)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Planning and Preparing for Emergency Response to Transport Accidents Involving Radioactive Material, IAEA TS-G-1.2, Vienna (2002)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Radiation Protection Programmes for the Transport of Radioactive Material, IAEA, TS-G-1.3, Vienna (2007)
* INTERNATIONAL ATOMIC ENERGY AGENCY, The Management System for the Safe Transport of Radioactive Material, IAEA, TS-G-1.4, Vienna (2008)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Compliance Assurance for the Safe Transport of Radioactive of Radioactive Materials IAEA, TS-G-1.5, Vienna (2009)
* INTERNATIONAL ATOMIC ENERGY AGENCY, Advisory Material for the IAEA Regulations for the Safe Transport of Radioactive Material, IAEA, TS-G-1.1, (2002)

### [EACA dokumenti](https://www.iaea.org/Publications/index.html)

* Technical Guide, Compliance Inspections by the European Competent Authorities on the Transport of Radioactive Material (Issue 1 – February 2015)
* Technical Guide, Package Design Safety Reports for the Transport of Radioactive Material (Issue 3 – December 2014)